## DESC_PLC
TAGNAME | TERM | DESCA | DESCB
PS3_1_VFD1 | I0 | PS3_1_DISC | DISCONNECT AUX
PS3_1_VFD1 | I1 | PS3_1_ENW1 | WHEEL ENCODER
PS3_1_VFD1 | I2 | PS3_1_TPE3 | TRACKING PHOTOEYE
PS3_1_VFD1 | I3 | SPARE
PS3_1_VFD1 | IO0 | PS3_1_JR2_PB | JAM RESET PUSHBUTTON
PS3_1_VFD1 | IO1 | PS3_1_JR2_PB_LT | JAM RESET PUSHBUTTON LIGHT
PS3_1_VFD1 | SI0 | SPARE
PS3_1_VFD1 | SI1 | SPARE
PS3_1_VFD1 | SI2 | SPARE
PS3_1_VFD1 | SI3 | SPARE
PS3_1_VFD1 | SO0 | SPARE
PS3_2_VFD1 | I0 | PS3_2_DISC | DISCONNECT AUX
PS3_2_VFD1 | I1 | PS3_2_ENW1 | WHEEL ENCODER
PS3_2_VFD1 | I2 | PS3_2_TPE1 | TRACKING PHOTOEYE
PS3_2_VFD1 | I3 | SPARE
PS3_2_VFD1 | IO0 | PS3_2_JR1_PB | JAM RESET PUSHBUTTON
PS3_2_VFD1 | IO1 | PS3_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
PS3_2_VFD1 | SI0 | SPARE
PS3_2_VFD1 | SI1 | SPARE
PS3_2_VFD1 | SI2 | SPARE
PS3_2_VFD1 | SI3 | SPARE
PS3_2_VFD1 | SO0 | SPARE
PS3_3_VFD1 | I0 | PS3_3_DISC | DISCONNECT AUX
PS3_3_VFD1 | I1 | PS3_3_ENW1 | WHEEL ENCODER
PS3_3_VFD1 | I2 | SPARE
PS3_3_VFD1 | I3 | SPARE
PS3_3_VFD1 | IO0 | PS3_2_BCN1_A | AMBER BEACON LIGHT
PS3_3_VFD1 | IO1 | SPARE
PS3_3_VFD1 | SI0 | SPARE
PS3_3_VFD1 | SI1 | SPARE
PS3_3_VFD1 | SI2 | SPARE
PS3_3_VFD1 | SI3 | SPARE
PS3_3_VFD1 | SO0 | SPARE
PS3_5A_VFD1 | I0 | PS3_5A_DISC | DISCONNECT AUX
PS3_5A_VFD1 | I1 | SPARE
PS3_5A_VFD1 | I2 | PS3_5A_TPE1 | TRACKING PHOTOEYE
PS3_5A_VFD1 | I3 | SPARE
PS3_5A_VFD1 | IO0 | SPARE
PS3_5A_VFD1 | IO1 | SPARE
PS3_5A_VFD1 | SI0 | SPARE
PS3_5A_VFD1 | SI1 | SPARE
PS3_5A_VFD1 | SI2 | SPARE
PS3_5A_VFD1 | SI3 | SPARE
PS3_5A_VFD1 | SO0 | SPARE
PS3_5B_VFD1 | I0 | PS3_5B_DISC | DISCONNECT AUX
PS3_5B_VFD1 | I1 | SPARE
PS3_5B_VFD1 | I2 | SPARE
PS3_5B_VFD1 | I3 | SPARE
PS3_5B_VFD1 | IO0 | PS3_8_BCN2_R | RED BEACON LIGHT
PS3_5B_VFD1 | IO1 | SPARE
PS3_5B_VFD1 | SI0 | SPARE
PS3_5B_VFD1 | SI1 | SPARE
PS3_5B_VFD1 | SI2 | SPARE
PS3_5B_VFD1 | SI3 | SPARE
PS3_5B_VFD1 | SO0 | SPARE
PS3_6_VFD1 | I0 | PS3_6_DISC | DISCONNECT AUX
PS3_6_VFD1 | I1 | PS3_6_ENSH1 | SHAFT ENCODER
PS3_6_VFD1 | I2 | PS3_6_TPE1 | TRACKING PHOTOEYE
PS3_6_VFD1 | I3 | PS3_6_TPE2 | TRACKING PHOTOEYE
PS3_6_VFD1 | IO0 | PS3_8_S2_PB | START PUSHBUTTON
PS3_6_VFD1 | IO1 | PS3_8_S2_PB_LT | START PUSHBUTTON LIGHT
PS3_6_VFD1 | SI0 | SPARE
PS3_6_VFD1 | SI1 | SPARE
PS3_6_VFD1 | SI2 | SPARE
PS3_6_VFD1 | SI3 | SPARE
PS3_6_VFD1 | SO0 | SPARE
PS3_7_VFD1 | I0 | PS3_7_DISC | DISCONNECT AUX
PS3_7_VFD1 | I1 | PS3_7_ENSH1 | SHAFT ENCODER
PS3_7_VFD1 | I2 | PS3_7_TPE1 | TRACKING PHOTOEYE
PS3_7_VFD1 | I3 | SPARE
PS3_7_VFD1 | IO0 | PS3_8_BCN1_R | RED BEACON LIGHT
PS3_7_VFD1 | IO1 | SPARE
PS3_7_VFD1 | SI0 | SPARE
PS3_7_VFD1 | SI1 | SPARE
PS3_7_VFD1 | SI2 | SPARE
PS3_7_VFD1 | SI3 | SPARE
PS3_7_VFD1 | SO0 | SPARE
PS3_8_VFD1 | I0 | PS3_8_DISC | DISCONNECT AUX
PS3_8_VFD1 | I1 | PS3_8_ENSH1 | SHAFT ENCODER
PS3_8_VFD1 | I2 | PS3_8_TPE1 | TRACKING PHOTOEYE
PS3_8_VFD1 | I3 | SPARE
PS3_8_VFD1 | IO0 | PS3_8_S1_PB | START PUSHBUTTON
PS3_8_VFD1 | IO1 | PS3_8_S1_PB_LT | START PUSHBUTTON LIGHT
PS3_8_VFD1 | SI0 | PS3_8_EPC1 | E-STOP PULLCORD
PS3_8_VFD1 | SI1 | PS3_8_EPC1_2 | E-STOP PULLCORD
PS3_8_VFD1 | SI2 | PS3_8_EPC2 | E-STOP PULLCORD
PS3_8_VFD1 | SI3 | PS3_8_EPC2_2 | E-STOP PULLCORD
PS3_8_VFD1 | SO0 | SPARE
PS4_1_VFD1 | I0 | PS4_1_DISC | DISCONNECT AUX
PS4_1_VFD1 | I1 | PS4_1_ENW1 | WHEEL ENCODER
PS4_1_VFD1 | I2 | PS4_1_TPE3 | TRACKING PHOTOEYE
PS4_1_VFD1 | I3 | PS4_1_TPE4 | TRACKING PHOTOEYE
PS4_1_VFD1 | IO0 | SPARE
PS4_1_VFD1 | IO1 | SPARE
PS4_1_VFD1 | SI0 | SPARE
PS4_1_VFD1 | SI1 | SPARE
PS4_1_VFD1 | SI2 | SPARE
PS4_1_VFD1 | SI3 | SPARE
PS4_1_VFD1 | SO0 | SPARE
PS4_2_VFD1 | I0 | PS4_2_DISC | DISCONNECT AUX
PS4_2_VFD1 | I1 | PS4_2_ENW1 | WHEEL ENCODER
PS4_2_VFD1 | I2 | PS4_2_TPE1 | TRACKING PHOTOEYE
PS4_2_VFD1 | I3 | SPARE
PS4_2_VFD1 | IO0 | PS4_2_JR1_PB | JAM RESET PUSHBUTTON
PS4_2_VFD1 | IO1 | PS4_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
PS4_2_VFD1 | IO1 | PS4_2_JR1_LT
PS4_2_VFD1 | SI0 | SPARE
PS4_2_VFD1 | SI1 | SPARE
PS4_2_VFD1 | SI2 | SPARE
PS4_2_VFD1 | SI3 | SPARE
PS4_2_VFD1 | SO0 | SPARE
PS4_3_VFD1 | I0 | PS4_3_DISC | DISCONNECT AUX
PS4_3_VFD1 | I1 | PS4_3_ENSH1 | SHAFT ENCODER
PS4_3_VFD1 | I2 | PS4_2_TPE2 | TRACKING PHOTOEYE
PS4_3_VFD1 | I3 | SPARE
PS4_3_VFD1 | IO0 | PS4_2_BCN1_A | AMBER BEACON LIGHT
PS4_3_VFD1 | IO1 | SPARE
PS4_3_VFD1 | SI0 | SPARE
PS4_3_VFD1 | SI1 | SPARE
PS4_3_VFD1 | SI2 | SPARE
PS4_3_VFD1 | SI3 | SPARE
PS4_3_VFD1 | SO0 | SPARE
PS4_4_VFD1 | I0 | PS4_4_DISC | DISCONNECT AUX
PS4_4_VFD1 | I1 | PS4_4_ENW1 | WHEEL ENCODER
PS4_4_VFD1 | I2 | PS4_4_TPE1 | TRACKING PHOTOEYE
PS4_4_VFD1 | I3 | SPARE
PS4_4_VFD1 | IO0 | SPARE
PS4_4_VFD1 | IO1 | SPARE
PS4_4_VFD1 | SI0 | SPARE
PS4_4_VFD1 | SI1 | SPARE
PS4_4_VFD1 | SI2 | SPARE
PS4_4_VFD1 | SI3 | SPARE
PS4_4_VFD1 | SO0 | SPARE
PS4_5A_VFD1 | I0 | PS4_5A_DISC | DISCONNECT AUX
PS4_5A_VFD1 | I1 | SPARE
PS4_5A_VFD1 | I2 | PS4_5A_TPE1 | TRACKING PHOTOEYE
PS4_5A_VFD1 | I3 | SPARE
PS4_5A_VFD1 | IO0 | SPARE
PS4_5A_VFD1 | IO1 | SPARE
PS4_5A_VFD1 | SI0 | SPARE
PS4_5A_VFD1 | SI1 | SPARE
PS4_5A_VFD1 | SI2 | SPARE
PS4_5A_VFD1 | SI3 | SPARE
PS4_5A_VFD1 | SO0 | SPARE
PS4_5B_VFD1 | I0 | PS4_5B_DISC | DISCONNECT AUX
PS4_5B_VFD1 | I1 | SPARE
PS4_5B_VFD1 | I2 | SPARE
PS4_5B_VFD1 | I3 | SPARE
PS4_5B_VFD1 | IO0 | PS4_8_BCN2_R | RED BEACON LIGHT
PS4_5B_VFD1 | IO1 | SPARE
PS4_5B_VFD1 | SI0 | SPARE
PS4_5B_VFD1 | SI1 | SPARE
PS4_5B_VFD1 | SI2 | SPARE
PS4_5B_VFD1 | SI3 | SPARE
PS4_5B_VFD1 | SO0 | SPARE
PS4_6_VFD1 | I0 | PS4_6_DISC | DISCONNECT AUX
PS4_6_VFD1 | I1 | PS4_6_ENSH1 | SHAFT ENCODER
PS4_6_VFD1 | I2 | PS4_6_TPE1 | TRACKING PHOTOEYE
PS4_6_VFD1 | I3 | PS4_6_TPE2 | TRACKING PHOTOEYE
PS4_6_VFD1 | IO0 | PS4_8_S2_PB | START PUSHBUTTON
PS4_6_VFD1 | IO1 | PS4_8_S2_PB_LT | START PUSHBUTTON LIGHT
PS4_6_VFD1 | SI0 | SPARE
PS4_6_VFD1 | SI1 | SPARE
PS4_6_VFD1 | SI2 | SPARE
PS4_6_VFD1 | SI3 | SPARE
PS4_6_VFD1 | SO0 | SPARE
PS4_7_VFD1 | I0 | PS4_7_DISC | DISCONNECT AUX
PS4_7_VFD1 | I1 | PS4_7_ENSH1 | SHAFT ENCODER
PS4_7_VFD1 | I2 | PS4_7_TPE1 | TRACKING PHOTOEYE
PS4_7_VFD1 | I3 | SPARE
PS4_7_VFD1 | IO0 | PS4_8_BCN1_R | RED BEACON LIGHT
PS4_7_VFD1 | IO1 | SPARE
PS4_7_VFD1 | SI0 | SPARE
PS4_7_VFD1 | SI1 | SPARE
PS4_7_VFD1 | SI2 | SPARE
PS4_7_VFD1 | SI3 | SPARE
PS4_7_VFD1 | SO0 | SPARE
PS4_8_VFD1 | I0 | PS4_8_DISC | DISCONNECT AUX
PS4_8_VFD1 | I1 | PS4_8_ENSH1 | SHAFT ENCODER
PS4_8_VFD1 | I2 | PS4_8_TPE1 | TRACKING PHOTOEYE
PS4_8_VFD1 | I3 | SPARE
PS4_8_VFD1 | IO0 | PS4_8_S1
PS4_8_VFD1 | IO1 | PS4_8_S1_LT
PS4_8_VFD1 | SI0 | PS4_8_EPC1 | E-STOP PULLCORD
PS4_8_VFD1 | SI1 | PS4_8_EPC1_2 | E-STOP PULLCORD
PS4_8_VFD1 | SI2 | PS4_8_EPC2 | E-STOP PULLCORD
PS4_8_VFD1 | SI3 | PS4_8_EPC2_1 | E-STOP PULLCORD
PS4_8_VFD1 | SO0 | SPARE
UL10_3_VFD1 | I0 | UL10_3_DISC | DISCONNECT AUX
UL10_3_VFD1 | I1 | UL10_3_ENW1 | WHEEL ENCODER
UL10_3_VFD1 | I2 | UL10_3_TPE3 | TRACKING PHOTOEYE
UL10_3_VFD1 | I3 | SPARE
UL10_3_VFD1 | IO0 | UL10_3_JR1_PB | JAM RESET PUSHBUTTON
UL10_3_VFD1 | IO1 | UL10_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL10_3_VFD1 | SI0 | SPARE
UL10_3_VFD1 | SI1 | SPARE
UL10_3_VFD1 | SI2 | UL10_2_ESTOP1 | ESTOP OK
UL10_3_VFD1 | SI3 | SPARE
UL10_3_VFD1 | SO0 | UL10_2_STO1 | ESTOP OK
UL10_4_VFD1 | I0 | UL10_4_DISC | DISCONNECT AUX
UL10_4_VFD1 | I1 | UL10_4_ENSH1 | SHAFT ENCODER
UL10_4_VFD1 | I2 | SPARE
UL10_4_VFD1 | I3 | SPARE
UL10_4_VFD1 | IO0 | UL10_3_BCN1_A | AMBER BEACON LIGHT
UL10_4_VFD1 | IO1 | SPARE
UL10_4_VFD1 | SI0 | SPARE
UL10_4_VFD1 | SI1 | SPARE
UL10_4_VFD1 | SI2 | SPARE
UL10_4_VFD1 | SI3 | SPARE
UL10_4_VFD1 | SO0 | SPARE
UL10_5_VFD1 | I0 | UL10_5_DISC | DISCONNECT AUX
UL10_5_VFD1 | I1 | UL10_5_ENSH1 | SHAFT ENCODER
UL10_5_VFD1 | I2 | UL10_5_TPE1 | TRACKING PHOTOEYE
UL10_5_VFD1 | I3 | UL10_5_TPE2 | TRACKING PHOTOEYE
UL10_5_VFD1 | IO0 | SPARE
UL10_5_VFD1 | IO1 | SPARE
UL10_5_VFD1 | SI0 | SPARE
UL10_5_VFD1 | SI1 | SPARE
UL10_5_VFD1 | SI2 | SPARE
UL10_5_VFD1 | SI3 | SPARE
UL10_5_VFD1 | SO0 | SPARE
UL10_6_VFD1 | I0 | UL10_6_DISC | DISCONNECT AUX
UL10_6_VFD1 | I1 | UL10_6_ENSH1 | SHAFT ENCODER
UL10_6_VFD1 | I2 | UL10_6_TPE1 | TRACKING PHOTOEYE
UL10_6_VFD1 | I3 | SPARE
UL10_6_VFD1 | IO0 | SPARE
UL10_6_VFD1 | IO1 | SPARE
UL10_6_VFD1 | SI0 | SPARE
UL10_6_VFD1 | SI1 | SPARE
UL10_6_VFD1 | SI2 | SPARE
UL10_6_VFD1 | SI3 | SPARE
UL10_6_VFD1 | SO0 | SPARE
UL10_7_VFD1 | I0 | UL10_7_DISC | DISCONNECT AUX
UL10_7_VFD1 | I1 | UL10_7_ENSH1 | SHAFT ENCODER
UL10_7_VFD1 | I2 | UL10_7_TPE1 | TRACKING PHOTOEYE
UL10_7_VFD1 | I3 | SPARE
UL10_7_VFD1 | IO0 | SPARE
UL10_7_VFD1 | IO1 | SPARE
UL10_7_VFD1 | SI0 | SPARE
UL10_7_VFD1 | SI1 | SPARE
UL10_7_VFD1 | SI2 | SPARE
UL10_7_VFD1 | SI3 | SPARE
UL10_7_VFD1 | SO0 | SPARE
UL10_8_VFD1 | I0 | UL10_8_DISC | DISCONNECT AUX
UL10_8_VFD1 | I1 | UL10_8_ENSH1 | SHAFT ENCODER
UL10_8_VFD1 | I2 | PS4_1_TPE1 | TRACKING PHOTOEYE
UL10_8_VFD1 | I3 | SPARE
UL10_8_VFD1 | IO0 | SPARE
UL10_8_VFD1 | IO1 | SPARE
UL10_8_VFD1 | SI0 | SPARE
UL10_8_VFD1 | SI1 | SPARE
UL10_8_VFD1 | SI2 | SPARE
UL10_8_VFD1 | SI3 | SPARE
UL10_8_VFD1 | SO0 | SPARE
UL11_3_VFD1 | I0 | UL11_3_DISC | DISCONNECT AUX
UL11_3_VFD1 | I1 | UL11_3_ENW1 | WHEEL ENCODER
UL11_3_VFD1 | I2 | UL11_3_TPE3 | TRACKING PHOTOEYE
UL11_3_VFD1 | I3 | SPARE
UL11_3_VFD1 | IO0 | UL11_3_JR1_PB | JAM RESET PUSHBUTTON
UL11_3_VFD1 | IO1 | UL11_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL11_3_VFD1 | SI0 | SPARE
UL11_3_VFD1 | SI1 | SPARE
UL11_3_VFD1 | SI2 | UL11_3_ESTOP1 | ESTOP OK
UL11_3_VFD1 | SI3 | SPARE
UL11_3_VFD1 | SO0 | UL11_2_STO1 | ESTOP OK
UL11_4_VFD1 | I0 | UL11_4_DISC | DISCONNECT AUX
UL11_4_VFD1 | I1 | UL11_4_ENSH1 | SHAFT ENCODER
UL11_4_VFD1 | I2 | SPARE
UL11_4_VFD1 | I3 | SPARE
UL11_4_VFD1 | IO0 | UL11_3_BCN1_A | AMBER BEACON LIGHT
UL11_4_VFD1 | IO1 | SPARE
UL11_4_VFD1 | SI0 | SPARE
UL11_4_VFD1 | SI1 | SPARE
UL11_4_VFD1 | SI2 | SPARE
UL11_4_VFD1 | SI3 | SPARE
UL11_4_VFD1 | SO0 | SPARE
UL11_5_VFD1 | I0 | UL11_5_DISC | DISCONNECT AUX
UL11_5_VFD1 | I1 | UL11_5_ENSH1 | SHAFT ENCODER
UL11_5_VFD1 | I2 | UL11_5_TPE1 | TRACKING PHOTOEYE
UL11_5_VFD1 | I3 | UL11_5_TPE2 | TRACKING PHOTOEYE
UL11_5_VFD1 | IO0 | SPARE
UL11_5_VFD1 | IO1 | SPARE
UL11_5_VFD1 | SI0 | SPARE
UL11_5_VFD1 | SI1 | SPARE
UL11_5_VFD1 | SI2 | SPARE
UL11_5_VFD1 | SI3 | SPARE
UL11_5_VFD1 | SO0 | SPARE
UL11_6_VFD1 | I0 | UL11_6_DISC | DISCONNECT AUX
UL11_6_VFD1 | I1 | UL11_6_ENSH1 | SHAFT ENCODER
UL11_6_VFD1 | I2 | UL11_6_TPE1 | TRACKING PHOTOEYE
UL11_6_VFD1 | I3 | SPARE
UL11_6_VFD1 | IO0 | SPARE
UL11_6_VFD1 | IO1 | SPARE
UL11_6_VFD1 | SI0 | SPARE
UL11_6_VFD1 | SI1 | SPARE
UL11_6_VFD1 | SI2 | SPARE
UL11_6_VFD1 | SI3 | SPARE
UL11_6_VFD1 | SO0 | SPARE
UL11_7_VFD1 | I0 | UL11_7_DISC | DISCONNECT AUX
UL11_7_VFD1 | I1 | UL11_7_ENSH1 | SHAFT ENCODER
UL11_7_VFD1 | I2 | UL11_7_TPE1 | TRACKING PHOTOEYE
UL11_7_VFD1 | I3 | SPARE
UL11_7_VFD1 | IO0 | PS4_1_BCN1_A | AMBER BEACON LIGHT
UL11_7_VFD1 | IO1 | SPARE
UL11_7_VFD1 | SI0 | SPARE
UL11_7_VFD1 | SI1 | SPARE
UL11_7_VFD1 | SI2 | SPARE
UL11_7_VFD1 | SI3 | SPARE
UL11_7_VFD1 | SO0 | SPARE
UL11_8_VFD1 | I0 | UL11_8_DISC | DISCONNECT AUX
UL11_8_VFD1 | I1 | UL11_8_ENSH1 | SHAFT ENCODER
UL11_8_VFD1 | I2 | PS4_1_TPE2 | TRACKING PHOTOEYE
UL11_8_VFD1 | I3 | SPARE
UL11_8_VFD1 | IO1 | PS4_1_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL11_8_VFD1 | IO0 | PS4_1_JR1_PB | JAM RESET PUSHBUTTON
UL11_8_VFD1 | IO1 | PS4_1_JR1_LT
UL11_8_VFD1 | SI0 | SPARE
UL11_8_VFD1 | SI1 | SPARE
UL11_8_VFD1 | SI2 | SPARE
UL11_8_VFD1 | SI3 | SPARE
UL11_8_VFD1 | SO0 | SPARE
UL12_1_VFD1 | I0 | UL12_1_DISC | DISCONNECT AUX
UL12_1_VFD1 | I1 | SPARE
UL12_1_VFD1 | I2 | UL12_1_TPE1 | TRACKING PHOTOEYE
UL12_1_VFD1 | I3 | SPARE
UL12_1_VFD1 | IO0 | SPARE
UL12_1_VFD1 | IO1 | SPARE
UL12_1_VFD1 | SI0 | UL12_1_EPC1 | E-STOP PULLCORD
UL12_1_VFD1 | SI1 | UL12_1_EPC1_2 | E-STOP PULLCORD
UL12_1_VFD1 | SI2 | UL12_1_EPC2 | E-STOP PULLCORD
UL12_1_VFD1 | SI3 | UL12_1_EPC2_2 | E-STOP PULLCORD
UL12_1_VFD1 | SO0 | SPARE
UL12_2_VFD1 | I0 | UL12_2_DISC | DISCONNECT AUX
UL12_2_VFD1 | I1 | UL12_2_ENW1 | WHEEL ENCODER
UL12_2_VFD1 | I2 | UL12_2_TPE1 | TRACKING PHOTOEYE
UL12_2_VFD1 | I3 | SPARE
UL12_2_VFD1 | IO0 | SPARE
UL12_2_VFD1 | IO1 | SPARE
UL12_2_VFD1 | SI0 | SPARE
UL12_2_VFD1 | SI1 | SPARE
UL12_2_VFD1 | SI2 | SPARE
UL12_2_VFD1 | SI3 | SPARE
UL12_2_VFD1 | SO0 | SPARE
UL12_3_VFD1 | I0 | UL12_3_DISC | DISCONNECT AUX
UL12_3_VFD1 | I1 | UL12_3_ENSH1 | SHAFT ENCODER
UL12_3_VFD1 | I2 | UL12_2_TPE2 | TRACKING PHOTOEYE
UL12_3_VFD1 | I3 | SPARE
UL12_3_VFD1 | IO0 | UL12_2_JR1_PB | JAM RESET PUSHBUTTON
UL12_3_VFD1 | IO1 | UL12_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL12_3_VFD1 | SI0 | SPARE
UL12_3_VFD1 | SI1 | SPARE
UL12_3_VFD1 | SI2 | SPARE
UL12_3_VFD1 | SI3 | SPARE
UL12_3_VFD1 | SO0 | SPARE
UL12_4_VFD1 | I0 | UL12_4_DISC | DISCONNECT AUX
UL12_4_VFD1 | I1 | UL12_4_ENSH1 | SHAFT ENCODER
UL12_4_VFD1 | I2 | UL12_4_TPE1 | TRACKING PHOTOEYE
UL12_4_VFD1 | I3 | UL12_4_TPE2 | TRACKING PHOTOEYE
UL12_4_VFD1 | IO0 | UL12_2_BCN3_A | AMBER BEACON LIGHT
UL12_4_VFD1 | IO1 | SPARE
UL12_4_VFD1 | SI0 | SPARE
UL12_4_VFD1 | SI1 | SPARE
UL12_4_VFD1 | SI2 | SPARE
UL12_4_VFD1 | SI3 | SPARE
UL12_4_VFD1 | SO0 | SPARE
UL12_5_VFD1 | I0 | UL12_5_DISC | DISCONNECT AUX
UL12_5_VFD1 | I1 | UL12_5_ENSH1 | SHAFT ENCODER
UL12_5_VFD1 | I2 | UL12_5_TPE1 | TRACKING PHOTOEYE
UL12_5_VFD1 | I3 | SPARE
UL12_5_VFD1 | IO0 | SPARE
UL12_5_VFD1 | IO1 | SPARE
UL12_5_VFD1 | SI0 | SPARE
UL12_5_VFD1 | SI1 | SPARE
UL12_5_VFD1 | SI2 | SPARE
UL12_5_VFD1 | SI3 | SPARE
UL12_5_VFD1 | SO0 | SPARE
UL12_6_VFD1 | I0 | UL12_6_DISC | DISCONNECT AUX
UL12_6_VFD1 | I1 | UL12_6_ENSH1 | SHAFT ENCODER
UL12_6_VFD1 | I2 | UL12_6_TPE1 | TRACKING PHOTOEYE
UL12_6_VFD1 | I3 | SPARE
UL12_6_VFD1 | IO0 | SPARE
UL12_6_VFD1 | IO1 | SPARE
UL12_6_VFD1 | SI0 | SPARE
UL12_6_VFD1 | SI1 | SPARE
UL12_6_VFD1 | SI2 | SPARE
UL12_6_VFD1 | SI3 | SPARE
UL12_6_VFD1 | SO0 | SPARE
UL12_7_VFD1 | I0 | UL12_7_DISC | DISCONNECT AUX
UL12_7_VFD1 | I1 | UL12_7_ENSH1 | SHAFT ENCODER
UL12_7_VFD1 | I2 | UL12_7_TPE1 | TRACKING PHOTOEYE
UL12_7_VFD1 | I3 | SPARE
UL12_7_VFD1 | IO0 | SPARE
UL12_7_VFD1 | IO1 | SPARE
UL12_7_VFD1 | SI0 | SPARE
UL12_7_VFD1 | SI1 | SPARE
UL12_7_VFD1 | SI2 | SPARE
UL12_7_VFD1 | SI3 | SPARE
UL12_7_VFD1 | SO0 | SPARE
UL7_1_VFD1 | I0 | UL7_1_DISC | DISCONNECT AUX
UL7_1_VFD1 | I1 | SPARE
UL7_1_VFD1 | I2 | UL7_1_TPE1 | TRACKING PHOTOEYE
UL7_1_VFD1 | I3 | SPARE
UL7_1_VFD1 | IO0 | SPARE
UL7_1_VFD1 | IO1 | SPARE
UL7_1_VFD1 | SI0 | UL7_1_EPC1 | E-STOP PULLCORD
UL7_1_VFD1 | SI1 | UL7_1_EPC1_2 | E-STOP PULLCORD
UL7_1_VFD1 | SI2 | UL7_1_EPC2 | E-STOP PULLCORD
UL7_1_VFD1 | SI3 | UL7_1_EPC2_2 | E-STOP PULLCORD
UL7_1_VFD1 | SO0 | SPARE
UL7_2_VFD1 | I0 | UL7_2_DISC | DISCONNECT AUX
UL7_2_VFD1 | I1 | SPARE
UL7_2_VFD1 | I2 | UL7_2_TPE1 | TRACKING PHOTOEYE
UL7_2_VFD1 | I3 | SPARE
UL7_2_VFD1 | IO0 | SPARE
UL7_2_VFD1 | IO1 | SPARE
UL7_2_VFD1 | SI0 | SPARE
UL7_2_VFD1 | SI1 | SPARE
UL7_2_VFD1 | SI2 | SPARE
UL7_2_VFD1 | SI3 | SPARE
UL7_2_VFD1 | SO0 | SPARE
UL7_3_VFD1 | I0 | UL7_3_DISC | DISCONNECT AUX
UL7_3_VFD1 | I1 | UL7_3_ENSH1 | SHAFT ENCODER
UL7_3_VFD1 | I2 | UL7_2_TPE2 | TRACKING PHOTOEYE
UL7_3_VFD1 | I3 | SPARE
UL7_3_VFD1 | IO0 | UL7_2_JR1_PB | JAM RESET PUSHBUTTON
UL7_3_VFD1 | IO1 | UL7_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL7_3_VFD1 | SI0 | SPARE
UL7_3_VFD1 | SI1 | SPARE
UL7_3_VFD1 | SI2 | SPARE
UL7_3_VFD1 | SI3 | SPARE
UL7_3_VFD1 | SO0 | SPARE
UL7_4_VFD1 | I0 | UL7_4_DISC | DISCONNECT AUX
UL7_4_VFD1 | I1 | UL7_4_ENSH1 | SHAFT ENCODER
UL7_4_VFD1 | I2 | UL7_4_TPE1 | TRACKING PHOTOEYE
UL7_4_VFD1 | I3 | UL7_4_TPE2 | TRACKING PHOTOEYE
UL7_4_VFD1 | IO0 | UL7_2_BCN3_A | AMBER BEACON LIGHT
UL7_4_VFD1 | IO1 | UL7_2_BCN3_H | HORN BEACON
UL7_4_VFD1 | SI0 | SPARE
UL7_4_VFD1 | SI1 | SPARE
UL7_4_VFD1 | SI2 | SPARE
UL7_4_VFD1 | SI3 | SPARE
UL7_4_VFD1 | SO0 | SPARE
UL7_5_VFD1 | I0 | UL7_5_DISC | DISCONNECT AUX
UL7_5_VFD1 | I1 | UL7_5_ENSH1 | SHAFT ENCODER
UL7_5_VFD1 | I2 | UL7_5_TPE1 | TRACKING PHOTOEYE
UL7_5_VFD1 | I3 | SPARE
UL7_5_VFD1 | IO0 | SPARE
UL7_5_VFD1 | IO1 | SPARE
UL7_5_VFD1 | SI0 | SPARE
UL7_5_VFD1 | SI1 | SPARE
UL7_5_VFD1 | SI2 | SPARE
UL7_5_VFD1 | SI3 | SPARE
UL7_5_VFD1 | SO0 | SPARE
UL7_6_VFD1 | I0 | UL7_6_DISC | DISCONNECT AUX
UL7_6_VFD1 | I1 | UL7_6_ENSH1 | SHAFT ENCODER
UL7_6_VFD1 | I2 | UL7_6_TPE1 | TRACKING PHOTOEYE
UL7_6_VFD1 | I3 | SPARE
UL7_6_VFD1 | IO0 | SPARE
UL7_6_VFD1 | IO1 | SPARE
UL7_6_VFD1 | SI0 | SPARE
UL7_6_VFD1 | SI1 | SPARE
UL7_6_VFD1 | SI2 | SPARE
UL7_6_VFD1 | SI3 | SPARE
UL7_6_VFD1 | SO0 | SPARE
UL7_7_VFD1 | I0 | UL7_7_DISC | DISCONNECT AUX
UL7_7_VFD1 | I1 | UL7_7_ENSH1 | SHAFT ENCODER
UL7_7_VFD1 | I2 | PS3_1_TPE1 | TRACKING PHOTOEYE
UL7_7_VFD1 | I3 | SPARE
UL7_7_VFD1 | IO0 | PS3_1_JR1_PB | JAM RESET PUSHBUTTON
UL7_7_VFD1 | IO1 | PS3_1_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL7_7_VFD1 | SI0 | SPARE
UL7_7_VFD1 | SI1 | SPARE
UL7_7_VFD1 | SI2 | SPARE
UL7_7_VFD1 | SI3 | SPARE
UL7_7_VFD1 | SO0 | SPARE
UL8_3_VFD1 | I0 | UL8_3_DISC | DISCONNECT AUX
UL8_3_VFD1 | I1 | SPARE
UL8_3_VFD1 | I2 | UL8_3_TPE3 | TRACKING PHOTOEYE
UL8_3_VFD1 | I3 | SPARE
UL8_3_VFD1 | IO0 | UL8_3_JR1_PB | JAM RESET PUSHBUTTON
UL8_3_VFD1 | IO1 | UL8_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL8_3_VFD1 | SI0 | SPARE
UL8_3_VFD1 | SI1 | SPARE
UL8_3_VFD1 | SI2 | UL8_2_ESTOP1 | ESTOP OK
UL8_3_VFD1 | SI3 | SPARE
UL8_3_VFD1 | SO0 | UL8_2_STO1 | ESTOP OK
UL8_4_VFD1 | I0 | UL8_4_DISC | DISCONNECT AUX
UL8_4_VFD1 | I1 | UL8_4_ENSH1 | SHAFT ENCODER
UL8_4_VFD1 | I2 | SPARE
UL8_4_VFD1 | I3 | SPARE
UL8_4_VFD1 | IO0 | UL8_3_BCN1_A | AMBER BEACON LIGHT
UL8_4_VFD1 | IO1 | SPARE
UL8_4_VFD1 | SI0 | SPARE
UL8_4_VFD1 | SI1 | SPARE
UL8_4_VFD1 | SI2 | SPARE
UL8_4_VFD1 | SI3 | SPARE
UL8_4_VFD1 | SO0 | SPARE
UL8_5_VFD1 | I0 | UL8_5_DISC | DISCONNECT AUX
UL8_5_VFD1 | I1 | UL8_5_ENSH1 | SHAFT ENCODER
UL8_5_VFD1 | I2 | UL8_5_TPE1 | TRACKING PHOTOEYE
UL8_5_VFD1 | I3 | UL8_5_TPE2 | TRACKING PHOTOEYE
UL8_5_VFD1 | IO0 | SPARE
UL8_5_VFD1 | IO1 | SPARE
UL8_5_VFD1 | SI0 | SPARE
UL8_5_VFD1 | SI1 | SPARE
UL8_5_VFD1 | SI2 | SPARE
UL8_5_VFD1 | SI3 | SPARE
UL8_5_VFD1 | SO0 | SPARE
UL8_6_VFD1 | I0 | UL8_6_DISC | DISCONNECT AUX
UL8_6_VFD1 | I1 | UL8_6_ENSH1 | SHAFT ENCODER
UL8_6_VFD1 | I2 | UL8_6_TPE1 | TRACKING PHOTOEYE
UL8_6_VFD1 | I3 | SPARE
UL8_6_VFD1 | IO0 | SPARE
UL8_6_VFD1 | IO1 | SPARE
UL8_6_VFD1 | SI0 | SPARE
UL8_6_VFD1 | SI1 | SPARE
UL8_6_VFD1 | SI2 | SPARE
UL8_6_VFD1 | SI3 | SPARE
UL8_6_VFD1 | SO0 | SPARE
UL8_7_VFD1 | I0 | UL8_7_DISC | DISCONNECT AUX
UL8_7_VFD1 | I1 | UL8_7_ENSH1 | SHAFT ENCODER
UL8_7_VFD1 | I2 | UL8_7_TPE1 | TRACKING PHOTOEYE
UL8_7_VFD1 | I3 | SPARE
UL8_7_VFD1 | IO0 | SPARE
UL8_7_VFD1 | IO1 | SPARE
UL8_7_VFD1 | SI0 | SPARE
UL8_7_VFD1 | SI1 | SPARE
UL8_7_VFD1 | SI2 | SPARE
UL8_7_VFD1 | SI3 | SPARE
UL8_7_VFD1 | SO0 | SPARE
UL8_8_VFD1 | I0 | UL8_8_DISC | DISCONNECT AUX
UL8_8_VFD1 | I1 | UL8_8_ENSH1 | SHAFT ENCODER
UL8_8_VFD1 | I2 | PS3_1_TPE2 | TRACKING PHOTOEYE
UL8_8_VFD1 | I3 | SPARE
UL8_8_VFD1 | IO0 | PS3_1_BCN1_A | AMBER BEACON LIGHT
UL8_8_VFD1 | IO1 | SPARE
UL8_8_VFD1 | SI0 | SPARE
UL8_8_VFD1 | SI1 | SPARE
UL8_8_VFD1 | SI2 | SPARE
UL8_8_VFD1 | SI3 | SPARE
UL8_8_VFD1 | SO0 | SPARE
UL9_3_VFD1 | I0 | UL9_3_DISC | DISCONNECT AUX
UL9_3_VFD1 | I1 | SPARE
UL9_3_VFD1 | I2 | UL9_3_TPE3 | TRACKING PHOTOEYE
UL9_3_VFD1 | I3 | SPARE
UL9_3_VFD1 | IO0 | UL9_3_JR1_PB | JAM RESET PUSHBUTTON
UL9_3_VFD1 | IO1 | UL9_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL9_3_VFD1 | SI0 | SPARE
UL9_3_VFD1 | SI1 | SPARE
UL9_3_VFD1 | SI2 | UL9_2_ESTOP1 | ESTOP OK
UL9_3_VFD1 | SI3 | SPARE
UL9_3_VFD1 | SO0 | UL9_2_STO1 | ESTOP OK
UL9_4_VFD1 | I0 | UL9_4_DISC | DISCONNECT AUX
UL9_4_VFD1 | I1 | UL9_4_ENSH1 | SHAFT ENCODER
UL9_4_VFD1 | I2 | SPARE
UL9_4_VFD1 | I3 | SPARE
UL9_4_VFD1 | IO0 | UL9_3_BCN1_A | AMBER BEACON LIGHT
UL9_4_VFD1 | IO1 | SPARE
UL9_4_VFD1 | SI0 | SPARE
UL9_4_VFD1 | SI1 | SPARE
UL9_4_VFD1 | SI2 | SPARE
UL9_4_VFD1 | SI3 | SPARE
UL9_4_VFD1 | SO0 | SPARE
UL9_5_VFD1 | I0 | UL9_5_DISC | DISCONNECT AUX
UL9_5_VFD1 | I1 | UL9_5_ENSH1 | SHAFT ENCODER
UL9_5_VFD1 | I2 | UL9_5_TPE1 | TRACKING PHOTOEYE
UL9_5_VFD1 | I3 | UL9_5_TPE2 | TRACKING PHOTOEYE
UL9_5_VFD1 | IO0 | SPARE
UL9_5_VFD1 | IO1 | SPARE
UL9_5_VFD1 | SI0 | SPARE
UL9_5_VFD1 | SI1 | SPARE
UL9_5_VFD1 | SI2 | SPARE
UL9_5_VFD1 | SI3 | SPARE
UL9_5_VFD1 | SO0 | SPARE
UL9_6_VFD1 | I0 | UL9_6_DISC | DISCONNECT AUX
UL9_6_VFD1 | I1 | UL9_6_ENSH1 | SHAFT ENCODER
UL9_6_VFD1 | I2 | UL9_6_TPE1 | TRACKING PHOTOEYE
UL9_6_VFD1 | I3 | SPARE
UL9_6_VFD1 | IO0 | SPARE
UL9_6_VFD1 | IO1 | SPARE
UL9_6_VFD1 | SI0 | SPARE
UL9_6_VFD1 | SI1 | SPARE
UL9_6_VFD1 | SI2 | SPARE
UL9_6_VFD1 | SI3 | SPARE
UL9_6_VFD1 | SO0 | SPARE
UL9_7_VFD1 | I0 | UL9_7_DISC | DISCONNECT AUX
UL9_7_VFD1 | I1 | UL9_7_ENSH1 | SHAFT ENCODER
UL9_7_VFD1 | I2 | UL9_7_TPE1 | TRACKING PHOTOEYE
UL9_7_VFD1 | I3 | SPARE
UL9_7_VFD1 | IO0 | SPARE
UL9_7_VFD1 | IO1 | SPARE
UL9_7_VFD1 | SI0 | SPARE
UL9_7_VFD1 | SI1 | SPARE
UL9_7_VFD1 | SI2 | SPARE
UL9_7_VFD1 | SI3 | SPARE
UL9_7_VFD1 | SO0 | SPARE
UL9_8_VFD1 | I0 | UL9_8_DISC | DISCONNECT AUX
UL9_8_VFD1 | I1 | UL9_8_ENSH1 | SHAFT ENCODER
UL9_8_VFD1 | I2 | UL9_8_TPE1 | TRACKING PHOTOEYE
UL9_8_VFD1 | I3 | SPARE
UL9_8_VFD1 | IO0 | PS3_1_BCN2_A | AMBER BEACON LIGHT
UL9_8_VFD1 | IO1 | SPARE
UL9_8_VFD1 | SI0 | SPARE
UL9_8_VFD1 | SI1 | SPARE
UL9_8_VFD1 | SI2 | SPARE
UL9_8_VFD1 | SI3 | SPARE
UL9_8_VFD1 | SO0 | SPARE
UL10_3_FIO1 | IO00 | UL10_3_LPE1 | LASER PHOTOEYE
UL10_3_FIO1 | IO01 | SPARE
UL10_3_FIO1 | IO02 | UL10_3_LPE2 | LASER PHOTOEYE
UL10_3_FIO1 | IO03 | SPARE
UL10_3_FIO1 | IO04 | UL10_3_TPE1 | TRACKING PHOTOEYE
UL10_3_FIO1 | IO05 | SPARE
UL10_3_FIO1 | IO06 | UL10_3_TPE2 | TRACKING PHOTOEYE
UL10_3_FIO1 | IO07 | SPARE
UL10_3_FIO1 | IO08 | SPARE
UL10_3_FIO1 | IO09 | SPARE
UL10_3_FIO1 | IO10 | SPARE
UL10_3_FIO1 | IO11 | SPARE
UL10_3_FIO1 | IO12 | SPARE
UL10_3_FIO1 | IO13 | SPARE
UL10_3_FIO1 | IO14 | SPARE
UL10_3_FIO1 | IO15 | SPARE
UL11_3_FIO1 | IO00 | UL11_3_LPE1 | LASER PHOTOEYE
UL11_3_FIO1 | IO01 | SPARE
UL11_3_FIO1 | IO02 | UL11_3_LPE2 | LASER PHOTOEYE
UL11_3_FIO1 | IO03 | SPARE
UL11_3_FIO1 | IO04 | UL11_3_TPE1 | TRACKING PHOTOEYE
UL11_3_FIO1 | IO05 | SPARE
UL11_3_FIO1 | IO06 | UL11_3_TPE2 | TRACKING PHOTOEYE
UL11_3_FIO1 | IO07 | SPARE
UL11_3_FIO1 | IO08 | SPARE
UL11_3_FIO1 | IO09 | SPARE
UL11_3_FIO1 | IO10 | SPARE
UL11_3_FIO1 | IO11 | SPARE
UL11_3_FIO1 | IO12 | SPARE
UL11_3_FIO1 | IO13 | SPARE
UL11_3_FIO1 | IO14 | SPARE
UL11_3_FIO1 | IO15 | SPARE
UL12_2_FIO1 | IO00 | UL12_1_SS1_STPB | SS STATION STOP PUSH BUTTON
UL12_2_FIO1 | IO01 | SPARE
UL12_2_FIO1 | IO02 | UL12_1_SS1_SPB | SS STATION START PUSHBUTTON
UL12_2_FIO1 | IO03 | UL12_1_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
UL12_2_FIO1 | IO04 | UL12_2_BCN1_R | RED BEACON LIGHT
UL12_2_FIO1 | IO05 | SPARE
UL12_2_FIO1 | IO06 | UL12_2_BCN2_R | RED BEACON LIGHT
UL12_2_FIO1 | IO07 | SPARE
UL12_2_FIO1 | IO08 | UL12_2_LPE1 | LASER PHOTOEYE
UL12_2_FIO1 | IO09 | SPARE
UL12_2_FIO1 | IO10 | UL12_2_LPE2 | LASER PHOTOEYE
UL12_2_FIO1 | IO11 | SPARE
UL12_2_FIO1 | IO12 | SPARE
UL12_2_FIO1 | IO13 | SPARE
UL12_2_FIO1 | IO14 | SPARE
UL12_2_FIO1 | IO15 | SPARE
UL7_2_FIO1 | IO00 | UL7_1_SS1_STPB | SS STATION STOP PUSH BUTTON
UL7_2_FIO1 | IO01 | SPARE
UL7_2_FIO1 | IO02 | UL7_1_SS1_SPB | SS STATION START PUSHBUTTON
UL7_2_FIO1 | IO03 | UL7_1_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
UL7_2_FIO1 | IO04 | UL7_2_BCN1_R | RED BEACON LIGHT
UL7_2_FIO1 | IO05 | SPARE
UL7_2_FIO1 | IO06 | UL7_2_BCN2_R | RED BEACON LIGHT
UL7_2_FIO1 | IO07 | SPARE
UL7_2_FIO1 | IO08 | UL7_2_LPE1 | LASER PHOTOEYE
UL7_2_FIO1 | IO09 | SPARE
UL7_2_FIO1 | IO10 | UL7_2_LPE2 | LASER PHOTOEYE
UL7_2_FIO1 | IO11 | SPARE
UL7_2_FIO1 | IO12 | SPARE
UL7_2_FIO1 | IO13 | SPARE
UL7_2_FIO1 | IO14 | SPARE
UL7_2_FIO1 | IO15 | SPARE
UL8_3_FIO1 | IO00 | UL8_3_LPE1 | LASER PHOTOEYE
UL8_3_FIO1 | IO01 | SPARE
UL8_3_FIO1 | IO02 | UL8_3_LPE2 | LASER PHOTOEYE
UL8_3_FIO1 | IO03 | SPARE
UL8_3_FIO1 | IO04 | UL8_3_TPE1 | TRACKING PHOTOEYE
UL8_3_FIO1 | IO05 | SPARE
UL8_3_FIO1 | IO06 | UL8_3_TPE2 | TRACKING PHOTOEYE
UL8_3_FIO1 | IO07 | SPARE
UL8_3_FIO1 | IO08 | SPARE
UL8_3_FIO1 | IO09 | SPARE
UL8_3_FIO1 | IO10 | SPARE
UL8_3_FIO1 | IO11 | SPARE
UL8_3_FIO1 | IO12 | SPARE
UL8_3_FIO1 | IO13 | SPARE
UL8_3_FIO1 | IO14 | SPARE
UL8_3_FIO1 | IO15 | SPARE
UL9_3_FIO1 | IO00 | UL9_3_LPE1 | LASER PHOTOEYE
UL9_3_FIO1 | IO01 | SPARE
UL9_3_FIO1 | IO02 | UL9_3_LPE2 | LASER PHOTOEYE
UL9_3_FIO1 | IO03 | SPARE
UL9_3_FIO1 | IO04 | UL9_3_TPE1 | TRACKING PHOTOEYE
UL9_3_FIO1 | IO05 | SPARE
UL9_3_FIO1 | IO06 | UL9_3_TPE2 | TRACKING PHOTOEYE
UL9_3_FIO1 | IO07 | SPARE
UL9_3_FIO1 | IO08 | SPARE
UL9_3_FIO1 | IO09 | SPARE
UL9_3_FIO1 | IO10 | SPARE
UL9_3_FIO1 | IO11 | SPARE
UL9_3_FIO1 | IO12 | SPARE
UL9_3_FIO1 | IO13 | SPARE
UL9_3_FIO1 | IO14 | SPARE
UL9_3_FIO1 | IO15 | SPARE
PDP3_FIO1 | IO00 | PDP3_CB1 | CIRCUIT BREAKER
PDP3_FIO1 | IO01 | PDP3_CB2 | CIRCUIT BREAKER
PDP3_FIO1 | IO02 | PDP3_CB3 | CIRCUIT BREAKER
PDP3_FIO1 | IO03 | PDP3_CB4 | CIRCUIT BREAKER
PDP3_FIO1 | IO04 | PDP3_CB5 | CIRCUIT BREAKER
PDP3_FIO1 | IO05 | SPARE
PDP3_FIO1 | IO06 | PDP3_CB6 | CIRCUIT BREAKER
PDP3_FIO1 | IO07 | SPARE
PDP3_FIO1 | IO08 | PDP3_CB7 | CIRCUIT BREAKER
PDP3_FIO1 | IO09 | PDP3_CB8 | CIRCUIT BREAKER
PDP3_FIO1 | IO10 | PDP3_CB9 | CIRCUIT BREAKER
PDP3_FIO1 | IO11 | PDP3_CB10 | CIRCUIT BREAKER
PDP3_FIO1 | IO12 | PDP3_PWM1 | PHASE MONITOR
PDP3_FIO1 | IO13 | SPARE
PDP3_FIO1 | IO14 | PDP3_FIOH1 | FIO HUB
PDP3_FIO1 | IO15 | SPARE
PDP3_FIOH1 | IO00 | PDP3_CB11 | CIRCUIT BREAKER
PDP3_FIOH1 | IO01 | PDP3_CB12 | CIRCUIT BREAKER
PDP3_FIOH1 | IO02 | PDP3_CB13 | CIRCUIT BREAKER
PDP3_FIOH1 | IO03 | PDP3_CB14 | CIRCUIT BREAKER
PDP3_FIOH1 | IO04 | PDP3_CB15 | CIRCUIT BREAKER
PDP3_FIOH1 | IO05 | PDP3_CB16 | CIRCUIT BREAKER
PDP3_FIOH1 | IO06 | PDP3_CB17 | CIRCUIT BREAKER
PDP3_FIOH1 | IO07 | PDP3_CB18 | CIRCUIT BREAKER
PDP3_FIOH1 | IO08 | PDP3_CB19 | CIRCUIT BREAKER
PDP3_FIOH1 | IO09 | PDP3_CB20 | CIRCUIT BREAKER
PDP3_FIOH1 | IO10 | PDP3_CB21 | CIRCUIT BREAKER
PDP3_FIOH1 | IO11 | PDP3_CB22 | CIRCUIT BREAKER
PDP3_FIOH1 | IO12 | PDP3_CB23 | CIRCUIT BREAKER
PDP3_FIOH1 | IO13 | PDP3_CB24 | CIRCUIT BREAKER
PDP3_FIOH1 | IO14 | PDP3_CB25 | CIRCUIT BREAKER
PDP3_FIOH1 | IO15 | PDP3_CB26 | CIRCUIT BREAKER
SLOT5_IB16 | I0 | MCM03 | S_PBLT START
SLOT5_IB16 | I1 | MCM03 | ST_PB STOP
SLOT5_IB16 | I2 | MCM03 | MF_PBLT MOTOR FAULT RESET
SLOT5_IB16 | I3 | MCM03 | JR_PBLT JAM RESET
SLOT5_IB16 | I4 | MCM03 | LAP_PBLT LOW AIR PRESSURE
SLOT5_IB16 | I5 | MCM03 | PBFR_PBLT POWER BRANCH FAULT RESET
SLOT5_IB16 | I6 | MCM03 | BATTERY_FAULT_UPS BATTERY FAULT
SLOT5_IB16 | I7 | MCM03 | ON_BATTERY ON BATTERY
SLOT5_IB16 | I8 | MCM03 | UPS_BATTERY_LOW UPS BATTERY LOW
SLOT5_IB16 | I9 | MCM03 | NAT_SWITCH ALARM NAT SWITCH
SLOT5_IB16 | I10 | SPARE
SLOT5_IB16 | I11 | SPARE
SLOT5_IB16 | I12 | SPARE
SLOT5_IB16 | I13 | SPARE
SLOT5_IB16 | I14 | SPARE
SLOT5_IB16 | I15 | SPARE
SLOT6_OB16E | O0 | MCM03 | ES_LT EMERGENCY STOP ACTUATED
SLOT6_OB16E | O1 | MCM03 | S_PBLT START LIGHT
SLOT6_OB16E | O2 | MCM03 | MF_PBLT MOTOR FAULT LIGHT
SLOT6_OB16E | O3 | MCM03 | JR_PBLT JAM RESTART LIGHT
SLOT6_OB16E | O4 | MCM03 | LAP_PBLT LOW AIR PRESSURE LIGHT
SLOT6_OB16E | O5 | MCM03 | PBFR_PBLT POWER BRANCH FAULT RESET LIGHT
SLOT6_OB16E | O6 | SPARE
SLOT6_OB16E | O7 | SPARE
SLOT6_OB16E | O8 | SPARE
SLOT6_OB16E | O9 | SPARE
SLOT6_OB16E | O10 | SPARE
SLOT6_OB16E | O11 | SPARE
SLOT6_OB16E | O12 | SPARE
SLOT6_OB16E | O13 | SPARE
SLOT6_OB16E | O14 | SPARE
SLOT6_OB16E | O15 | SPARE
SLOT7_IB16S | I0 | MCM03 | FIRE_ALARM FIRE ALARM
SLOT7_IB16S | I1 | SPARE
SLOT7_IB16S | I2 | MCM03 | ES_PB ES_PB_CH1
SLOT7_IB16S | I3 | MCM03 | ES_PB ES_PB_CH2
SLOT7_IB16S | I4 | SPARE
SLOT7_IB16S | I5 | SPARE
SLOT7_IB16S | I6 | SPARE
SLOT7_IB16S | I7 | SPARE
SLOT7_IB16S | I8 | SPARE
SLOT7_IB16S | I9 | SPARE
SLOT7_IB16S | I10 | SPARE
SLOT7_IB16S | I11 | SPARE
SLOT7_IB16S | I12 | SPARE
SLOT7_IB16S | I13 | SPARE
SLOT7_IB16S | I14 | SPARE
SLOT7_IB16S | I15 | SPARE

## NETWORK_PLC
DPM | DPM_IP | Name | PartNumber | IP
DPM1_PS3_1 | 11.200.1.2 | UL7_1_VFD1 | 35S-6D2-P101 | 11.200.1.30
DPM1_PS3_1 | 11.200.1.2 | UL7_2_VFD1 | 35S-6D4-P111 | 11.200.1.31
DPM1_PS3_1 | 11.200.1.2 | UL7_3_VFD1 | 35S-6D3-P101 | 11.200.1.32
DPM1_PS3_1 | 11.200.1.2 | UL7_4_VFD1 | 35S-6D2-P101 | 11.200.1.33
DPM1_PS3_1 | 11.200.1.2 | UL7_5_VFD1 | 35S-6D2-P101 | 11.200.1.34
DPM1_PS3_1 | 11.200.1.2 | UL7_6_VFD1 | 35S-6D2-P101 | 11.200.1.35
DPM1_PS3_1 | 11.200.1.2 | UL7_7_VFD1 | 35S-6D2-P101 | 11.200.1.36
DPM1_PS3_1 | 11.200.1.2 | UL8_3_VFD1 | 35S-6D4-P111 | 11.200.1.37
DPM1_PS3_1 | 11.200.1.2 | UL8_4_VFD1 | 35S-6D3-P101 | 11.200.1.38
DPM1_PS3_1 | 11.200.1.2 | UL8_5_VFD1 | 35S-6D2-P101 | 11.200.1.39
DPM1_PS3_1 | 11.200.1.2 | UL8_6_VFD1 | 35S-6D2-P101 | 11.200.1.40
DPM1_PS3_1 | 11.200.1.2 | UL8_7_VFD1 | 35S-6D2-P101 | 11.200.1.41
DPM1_PS3_1 | 11.200.1.2 | UL8_8_VFD1 | 35S-6D2-P101 | 11.200.1.42
DPM1_PS3_1 | 11.200.1.2 | UL7_2_FIO1 | 5032-8IOLM12DR | 11.200.1.43
DPM1_PS3_1 | 11.200.1.2 | UL8_3_FIO1 | 5032-8IOLM12DR | 11.200.1.44
DPM2_PS3_1 | 11.200.1.3 | UL9_3_VFD1 | 35S-6D4-P111 | 11.200.1.50
DPM2_PS3_1 | 11.200.1.3 | UL9_4_VFD1 | 35S-6D3-P101 | 11.200.1.51
DPM2_PS3_1 | 11.200.1.3 | UL9_5_VFD1 | 35S-6D2-P101 | 11.200.1.52
DPM2_PS3_1 | 11.200.1.3 | UL9_6_VFD1 | 35S-6D2-P101 | 11.200.1.53
DPM2_PS3_1 | 11.200.1.3 | UL9_7_VFD1 | 35S-6D2-P101 | 11.200.1.54
DPM2_PS3_1 | 11.200.1.3 | UL9_8_VFD1 | 35S-6D2-P101 | 11.200.1.55
DPM2_PS3_1 | 11.200.1.3 | PS3_1_VFD1 | 35S-6D4-P111 | 11.200.1.56
DPM2_PS3_1 | 11.200.1.3 | PS3_2_VFD1 | 35S-6D3-P101 | 11.200.1.57
DPM2_PS3_1 | 11.200.1.3 | PS3_3_VFD1 | 35S-6D2-P101 | 11.200.1.58
DPM2_PS3_1 | 11.200.1.3 | PS3_5A_VFD1 | 35S-6D2-P101 | 11.200.1.59
DPM2_PS3_1 | 11.200.1.3 | PS3_5B_VFD1 | 35S-6D2-P101 | 11.200.1.60
DPM2_PS3_1 | 11.200.1.3 | PS3_6_VFD1 | 35S-6D2-P101 | 11.200.1.61
DPM2_PS3_1 | 11.200.1.3 | PS3_7_VFD1 | 35S-6D2-P101 | 11.200.1.62
DPM2_PS3_1 | 11.200.1.3 | PS3_8_VFD1 | 35S-6D2-P101 | 11.200.1.63
DPM2_PS3_1 | 11.200.1.3 | UL9_3_FIO1 | 5032-8IOLM12DR | 11.200.1.64
DPM1_PS4_1 | 11.200.1.4 | UL10_3_VFD1 | 35S-6D3-P101 | 11.200.1.70
DPM1_PS4_1 | 11.200.1.4 | UL10_4_VFD1 | 35S-6D3-P101 | 11.200.1.71
DPM1_PS4_1 | 11.200.1.4 | UL10_5_VFD1 | 35S-6D2-P101 | 11.200.1.72
DPM1_PS4_1 | 11.200.1.4 | UL10_6_VFD1 | 35S-6D2-P101 | 11.200.1.73
DPM1_PS4_1 | 11.200.1.4 | UL10_7_VFD1 | 35S-6D2-P101 | 11.200.1.74
DPM1_PS4_1 | 11.200.1.4 | UL10_8_VFD1 | 35S-6D2-P101 | 11.200.1.75
DPM1_PS4_1 | 11.200.1.4 | UL11_3_VFD1 | 35S-6D3-P101 | 11.200.1.76
DPM1_PS4_1 | 11.200.1.4 | UL11_4_VFD1 | 35S-6D3-P101 | 11.200.1.77
DPM1_PS4_1 | 11.200.1.4 | UL11_5_VFD1 | 35S-6D2-P101 | 11.200.1.78
DPM1_PS4_1 | 11.200.1.4 | UL11_6_VFD1 | 35S-6D2-P101 | 11.200.1.79
DPM1_PS4_1 | 11.200.1.4 | UL11_7_VFD1 | 35S-6D2-P101 | 11.200.1.80
DPM1_PS4_1 | 11.200.1.4 | UL11_8_VFD1 | 35S-6D2-P101 | 11.200.1.81
DPM1_PS4_1 | 11.200.1.4 | UL10_3_FIO1 | 5032-8IOLM12DR | 11.200.1.82
DPM1_PS4_1 | 11.200.1.4 | UL11_3_FIO1 | 5032-8IOLM12DR | 11.200.1.83
DPM2_PS4_1 | 11.200.1.5 | UL12_1_VFD1 | 35S-6D2-P101 | 11.200.1.90
DPM2_PS4_1 | 11.200.1.5 | UL12_2_VFD1 | 35S-6D4-P111 | 11.200.1.91
DPM2_PS4_1 | 11.200.1.5 | UL12_3_VFD1 | 35S-6D3-P101 | 11.200.1.92
DPM2_PS4_1 | 11.200.1.5 | UL12_4_VFD1 | 35S-6D2-P101 | 11.200.1.93
DPM2_PS4_1 | 11.200.1.5 | UL12_5_VFD1 | 35S-6D2-P101 | 11.200.1.94
DPM2_PS4_1 | 11.200.1.5 | UL12_6_VFD1 | 35S-6D2-P101 | 11.200.1.95
DPM2_PS4_1 | 11.200.1.5 | UL12_7_VFD1 | 35S-6D2-P101 | 11.200.1.96
DPM2_PS4_1 | 11.200.1.5 | PS4_1_VFD1 | 35S-6D4-P111 | 11.200.1.97
DPM2_PS4_1 | 11.200.1.5 | PS4_2_VFD1 | 35S-6D3-P101 | 11.200.1.98
DPM2_PS4_1 | 11.200.1.5 | PS4_3_VFD1 | 35S-6D2-P101 | 11.200.1.99
DPM2_PS4_1 | 11.200.1.5 | PS4_4_VFD1 | 35S-6D2-P101 | 11.200.1.100
DPM2_PS4_1 | 11.200.1.5 | PS4_5A_VFD1 | 35S-6D2-P101 | 11.200.1.101
DPM2_PS4_1 | 11.200.1.5 | PS4_5B_VFD1 | 35S-6D2-P101 | 11.200.1.102
DPM2_PS4_1 | 11.200.1.5 | PS4_6_VFD1 | 35S-6D2-P101 | 11.200.1.103
DPM2_PS4_1 | 11.200.1.5 | PS4_7_VFD1 | 35S-6D2-P101 | 11.200.1.104
DPM2_PS4_1 | 11.200.1.5 | PS4_8_VFD1 | 35S-6D2-P101 | 11.200.1.105
DPM2_PS4_1 | 11.200.1.5 | UL12_2_FIO1 | 5032-8IOLM12DR | 11.200.1.106
DPM2_PS4_1 | 11.200.1.5 | PDP3_PMM1 | 1420-V2-ENT | 11.200.1.107
DPM2_PS4_1 | 11.200.1.5 | PDP3_FIO1 | 5032-8IOLM12DR | 11.200.1.108