## NETWORK_PLC
DPM | DPM_IP | Name | PartNumber | IP
DPM1_PS1_1 | 11.200.1.2 | UL1_1_VFD1 | 35S-6D2-P101 | 11.200.1.30
DPM1_PS1_1 | 11.200.1.2 | UL1_2_VFD1 | 35S-6D4-P111 | 11.200.1.31
DPM1_PS1_1 | 11.200.1.2 | UL1_3_VFD1 | 35S-6D3-P101 | 11.200.1.32
DPM1_PS1_1 | 11.200.1.2 | UL1_4_VFD1 | 35S-6D2-P101 | 11.200.1.33
DPM1_PS1_1 | 11.200.1.2 | UL1_5_VFD1 | 35S-6D2-P101 | 11.200.1.34
DPM1_PS1_1 | 11.200.1.2 | UL1_6_VFD1 | 35S-6D2-P101 | 11.200.1.35
DPM1_PS1_1 | 11.200.1.2 | UL1_7_VFD1 | 35S-6D2-P101 | 11.200.1.36
DPM1_PS1_1 | 11.200.1.2 | UL2_2_EX1 | FMH | 11.200.1.37
DPM1_PS1_1 | 11.200.1.2 | UL2_3_VFD1 | 35S-6D4-P111 | 11.200.1.38
DPM1_PS1_1 | 11.200.1.2 | UL2_4_VFD1 | 35S-6D3-P101 | 11.200.1.39
DPM1_PS1_1 | 11.200.1.2 | UL2_5_VFD1 | 35S-6D2-P101 | 11.200.1.40
DPM1_PS1_1 | 11.200.1.2 | UL2_6_VFD1 | 35S-6D2-P101 | 11.200.1.41
DPM1_PS1_1 | 11.200.1.2 | UL2_7_VFD1 | 35S-6D2-P101 | 11.200.1.42
DPM1_PS1_1 | 11.200.1.2 | UL2_8_VFD1 | 35S-6D2-P101 | 11.200.1.43
DPM1_PS1_1 | 11.200.1.2 | UL2_9_VFD1 | 35S-6D2-P101 | 11.200.1.44
DPM1_PS1_1 | 11.200.1.2 | UL1_2_FIO1 | 5032-8IOLM12DR | 11.200.1.45
DPM1_PS1_1 | 11.200.1.2 | UL2_3_FIO1 | 5032-8IOLM12DR | 11.200.1.46
DPM2_PS1_1 | 11.200.1.3 | UL3_2_EX1 | CALJAN | 11.200.1.50
DPM2_PS1_1 | 11.200.1.3 | UL3_3_VFD1 | 35S-6D4-P111 | 11.200.1.51
DPM2_PS1_1 | 11.200.1.3 | UL3_4_VFD1 | 35S-6D3-P101 | 11.200.1.52
DPM2_PS1_1 | 11.200.1.3 | UL3_5_VFD1 | 35S-6D2-P101 | 11.200.1.53
DPM2_PS1_1 | 11.200.1.3 | UL3_6_VFD1 | 35S-6D2-P101 | 11.200.1.54
DPM2_PS1_1 | 11.200.1.3 | UL3_7_VFD1 | 35S-6D2-P101 | 11.200.1.55
DPM2_PS1_1 | 11.200.1.3 | UL3_8_VFD1 | 35S-6D2-P101 | 11.200.1.56
DPM2_PS1_1 | 11.200.1.3 | UL3_9_VFD1 | 35S-6D2-P101 | 11.200.1.57
DPM2_PS1_1 | 11.200.1.3 | PS1_1_VFD1 | 35S-6D5-P111 | 11.200.1.58
DPM2_PS1_1 | 11.200.1.3 | PS1_2_VFD1 | 35S-6D3-P101 | 11.200.1.59
DPM2_PS1_1 | 11.200.1.3 | UL3_3_FIO1 | 5032-8IOLM12DR | 11.200.1.60
DPM1_PS2_1 | 11.200.1.4 | UL4_2_EX1 | CALJAN | 11.200.1.70
DPM1_PS2_1 | 11.200.1.4 | UL4_3_VFD1 | 35S-6D4-P111 | 11.200.1.71
DPM1_PS2_1 | 11.200.1.4 | UL4_4_VFD1 | 35S-6D3-P101 | 11.200.1.72
DPM1_PS2_1 | 11.200.1.4 | UL4_5_VFD1 | 35S-6D2-P101 | 11.200.1.73
DPM1_PS2_1 | 11.200.1.4 | UL4_6_VFD1 | 35S-6D2-P101 | 11.200.1.74
DPM1_PS2_1 | 11.200.1.4 | UL4_7_VFD1 | 35S-6D2-P101 | 11.200.1.75
DPM1_PS2_1 | 11.200.1.4 | UL4_8_VFD1 | 35S-6D2-P101 | 11.200.1.76
DPM1_PS2_1 | 11.200.1.4 | UL5_2_EX1 | CALJAN | 11.200.1.77
DPM1_PS2_1 | 11.200.1.4 | UL5_3_VFD1 | 35S-6D4-P111 | 11.200.1.78
DPM1_PS2_1 | 11.200.1.4 | UL5_4_VFD1 | 35S-6D3-P101 | 11.200.1.79
DPM1_PS2_1 | 11.200.1.4 | UL5_5_VFD1 | 35S-6D2-P101 | 11.200.1.80
DPM1_PS2_1 | 11.200.1.4 | UL5_6_VFD1 | 35S-6D2-P101 | 11.200.1.81
DPM1_PS2_1 | 11.200.1.4 | UL5_7_VFD1 | 35S-6D2-P101 | 11.200.1.82
DPM1_PS2_1 | 11.200.1.4 | UL5_8_VFD1 | 35S-6D2-P101 | 11.200.1.83
DPM1_PS2_1 | 11.200.1.4 | UL5_9_VFD1 | 35S-6D2-P101 | 11.200.1.84
DPM1_PS2_1 | 11.200.1.4 | UL4_3_FIO1 | 5032-8IOLM12DR | 11.200.1.85
DPM1_PS2_1 | 11.200.1.4 | UL5_3_FIO1 | 5032-8IOLM12DR | 11.200.1.86
DPM2_PS2_1 | 11.200.1.5 | UL6_1_VFD1 | 35S-6D2-P101 | 11.200.1.90
DPM2_PS2_1 | 11.200.1.5 | UL6_2_VFD1 | 35S-6D4-P111 | 11.200.1.91
DPM2_PS2_1 | 11.200.1.5 | UL6_3_VFD1 | 35S-6D3-P101 | 11.200.1.92
DPM2_PS2_1 | 11.200.1.5 | UL6_4_VFD1 | 35S-6D2-P101 | 11.200.1.93
DPM2_PS2_1 | 11.200.1.5 | UL6_5_VFD1 | 35S-6D2-P101 | 11.200.1.94
DPM2_PS2_1 | 11.200.1.5 | UL6_6_VFD1 | 35S-6D2-P101 | 11.200.1.95
DPM2_PS2_1 | 11.200.1.5 | UL6_7_VFD1 | 35S-6D2-P101 | 11.200.1.96
DPM2_PS2_1 | 11.200.1.5 | UL6_8_VFD1 | 35S-6D2-P101 | 11.200.1.97
DPM2_PS2_1 | 11.200.1.5 | PS2_1_VFD1 | 35S-6D5-P111 | 11.200.1.98
DPM2_PS2_1 | 11.200.1.5 | PS2_2_VFD1 | 35S-6D3-P101 | 11.200.1.99
DPM2_PS2_1 | 11.200.1.5 | PS2_3_VFD1 | 35S-6D2-P101 | 11.200.1.100
DPM2_PS2_1 | 11.200.1.5 | PS2_4A_VFD1 | 35S-6D2-P101 | 11.200.1.101
DPM2_PS2_1 | 11.200.1.5 | PS2_4B_VFD1 | 35S-6D2-P101 | 11.200.1.102
DPM2_PS2_1 | 11.200.1.5 | PS2_5_VFD1 | 35S-6D2-P101 | 11.200.1.103
DPM2_PS2_1 | 11.200.1.5 | PS2_6_VFD1 | 35S-6D2-P101 | 11.200.1.104
DPM2_PS2_1 | 11.200.1.5 | PS2_7_VFD1 | 35S-6D2-P101 | 11.200.1.105
DPM2_PS2_1 | 11.200.1.5 | UL6_2_FIO1 | 5032-8IOLM12DR | 11.200.1.106
DPM2_PS2_1 | 11.200.1.5 | PDP2_FIOM1 | 5032-8IOLM12DR | 11.200.1.107
DPM2_PS2_1 | 11.200.1.5 | PDP2_PMM | 1420-V2-ENT | 11.200.1.108
DPM1_PS1_4 | 11.200.1.6 | PS1_3_VFD1 | 35S-6D4-P111 | 11.200.1.110
DPM1_PS1_4 | 11.200.1.6 | PS1_4_VFD1 | 35S-6D3-P101 | 11.200.1.111
DPM1_PS1_4 | 11.200.1.6 | PS1_5A_VFD1 | 35S-6D2-P101 | 11.200.1.112
DPM1_PS1_4 | 11.200.1.6 | PS1_5B_VFD1 | 35S-6D2-P101 | 11.200.1.113
DPM1_PS1_4 | 11.200.1.6 | PS1_6_VFD1 | 35S-6D2-P101 | 11.200.1.114
DPM1_PS1_4 | 11.200.1.6 | PS1_7_VFD1 | 35S-6D2-P101 | 11.200.1.115
DPM1_PS1_4 | 11.200.1.6 | PS1_8_VFD1 | 35S-6D2-P101 | 11.200.1.116

## DESC_PLC
TAGNAME | TERM | DESCA | DESCB
PDP2_FIOH1 | IO00 | PDP2_CB11 | CIRCUIT BREAKER
PDP2_FIOH1 | IO01 | PDP2_CB12 | CIRCUIT BREAKER
PDP2_FIOH1 | IO02 | PDP2_CB13 | CIRCUIT BREAKER
PDP2_FIOH1 | IO03 | PDP2_CB14 | CIRCUIT BREAKER
PDP2_FIOH1 | IO04 | PDP2_CB15 | CIRCUIT BREAKER
PDP2_FIOH1 | IO05 | PDP2_CB16 | CIRCUIT BREAKER
PDP2_FIOH1 | IO06 | PDP2_CB17 | CIRCUIT BREAKER
PDP2_FIOH1 | IO07 | PDP2_CB18 | CIRCUIT BREAKER
PDP2_FIOH1 | IO08 | PDP2_CB19 | CIRCUIT BREAKER
PDP2_FIOH1 | IO09 | PDP2_CB20 | CIRCUIT BREAKER
PDP2_FIOH1 | IO10 | PDP2_CB21 | CIRCUIT BREAKER
PDP2_FIOH1 | IO11 | PDP2_CB22 | CIRCUIT BREAKER
PDP2_FIOH1 | IO12 | PDP2_CB23 | CIRCUIT BREAKER
PDP2_FIOH1 | IO13 | PDP2_CB24 | CIRCUIT BREAKER
PDP2_FIOH1 | IO14 | PDP2_CB25 | CIRCUIT BREAKER
PDP2_FIOH1 | IO15 | PDP2_CB26 | CIRCUIT BREAKER
PDP2_FIOM1 | IO00 | PDP2_CB1 | CIRCUIT BREAKER
PDP2_FIOM1 | IO01 | PDP2_CB2 | CIRCUIT BREAKER
PDP2_FIOM1 | IO02 | PDP2_CB3 | CIRCUIT BREAKER
PDP2_FIOM1 | IO03 | PDP2_CB4 | CIRCUIT BREAKER
PDP2_FIOM1 | IO04 | PDP2_CB5 | CIRCUIT BREAKER
PDP2_FIOM1 | IO05 | SPARE
PDP2_FIOM1 | IO06 | PDP2_CB6 | CIRCUIT BREAKER
PDP2_FIOM1 | IO07 | SPARE
PDP2_FIOM1 | IO08 | PDP2_CB7 | CIRCUIT BREAKER
PDP2_FIOM1 | IO09 | PDP2_CB8 | CIRCUIT BREAKER
PDP2_FIOM1 | IO10 | PDP2_CB9 | CIRCUIT BREAKER
PDP2_FIOM1 | IO11 | PDP2_CB10 | CIRCUIT BREAKER
PDP2_FIOM1 | IO12 | PDP2_PWM1 | PHASE MONITOR
PDP2_FIOM1 | IO13 | SPARE
PDP2_FIOM1 | IO14 | PDP2_FIOH1 | FIO HUB
PDP2_FIOM1 | IO15 | SPARE
PS1_1_VFD1 | I0 | PS1_1_DISC | DISCONNECT AUX
PS1_1_VFD1 | I1 | PS1_1_ENW1 | WHEEL ENCODER
PS1_1_VFD1 | I2 | PS1_1_TPE4 | TRACKING PHOTOEYE
PS1_1_VFD1 | I3 | SPARE
PS1_1_VFD1 | IO0 | PS1_1_JR2_PB | JAM RESET PUSHBUTTON
PS1_1_VFD1 | IO1 | PS1_1_JR2_PB_LT | JAM RESET PUSHBUTTON LIGHT
PS1_1_VFD1 | SI0 | SPARE
PS1_1_VFD1 | SI1 | SPARE
PS1_1_VFD1 | SI2 | SPARE
PS1_1_VFD1 | SI3 | SPARE
PS1_1_VFD1 | SO0 | SPARE
PS1_2_VFD1 | I0 | PS1_2_DISC | DISCONNECT AUX
PS1_2_VFD1 | I1 | PS1_2_ENSH1 | SHAFT ENCODER
PS1_2_VFD1 | I2 | PS1_3_TPE1 | TRACKING PHOTOEYE
PS1_2_VFD1 | I3 | SPARE
PS1_2_VFD1 | IO0 | PS1_1_BCN2_A | AMBER BEACON LIGHT
PS1_2_VFD1 | IO1 | SPARE
PS1_2_VFD1 | SI0 | SPARE
PS1_2_VFD1 | SI1 | SPARE
PS1_2_VFD1 | SI2 | SPARE
PS1_2_VFD1 | SI3 | SPARE
PS1_2_VFD1 | SO0 | SPARE
PS1_2_VFD1 | I0 | PS1_2A_DISC | DISCONNECT AUX
PS1_2_VFD1 | I1 | PS1_2A_ENW | WHEEL ENCODER
PS1_2_VFD1 | I2 | PS2_1A_TPE1 | TRACKING PHOTOEYE
PS1_2_VFD1 | I3 | SPARE
PS1_2_VFD1 | IO0 | SPARE
PS1_2_VFD1 | IO1 | SPARE
PS1_2_VFD1 | SI0 | SPARE
PS1_2_VFD1 | SI1 | SPARE
PS1_2_VFD1 | SI2 | SPARE
PS1_2_VFD1 | SI3 | SPARE
PS1_2_VFD1 | SO0 | SPARE
PS1_3_VFD1 | I0 | PS1_3_DISC | DISCONNECT AUX
PS1_3_VFD1 | I1 | PS1_3_ENW1 | WHEEL ENCODER
PS1_3_VFD1 | I2 | PS1_3_TPE2 | TRACKING PHOTOEYE
PS1_3_VFD1 | I3 | SPARE
PS1_3_VFD1 | IO0 | SPARE
PS1_3_VFD1 | IO1 | SPARE
PS1_3_VFD1 | SI0 | SPARE
PS1_3_VFD1 | SI1 | SPARE
PS1_3_VFD1 | SI2 | SPARE
PS1_3_VFD1 | SI3 | SPARE
PS1_3_VFD1 | SO0 | SPARE
PS1_4_VFD1 | I0 | PS1_4_DISC | DISCONNECT AUX
PS1_4_VFD1 | I1 | SPARE
PS1_4_VFD1 | I2 | SPARE
PS1_4_VFD1 | I3 | SPARE
PS1_4_VFD1 | IO0 | PS1_4_BCN1_H | HORN BEACON
PS1_4_VFD1 | IO1 | SPARE
PS1_4_VFD1 | SI0 | SPARE
PS1_4_VFD1 | SI1 | SPARE
PS1_4_VFD1 | SI2 | SPARE
PS1_4_VFD1 | SI3 | SPARE
PS1_4_VFD1 | SO0 | SPARE
PS1_5A_VFD1 | I0 | PS1_5A_DISC | DISCONNECT AUX
PS1_5A_VFD1 | I1 | SPARE
PS1_5A_VFD1 | I2 | PS1_4_TPE1 | TRACKING PHOTOEYE
PS1_5A_VFD1 | I3 | SPARE
PS1_5A_VFD1 | IO0 | SPARE
PS1_5A_VFD1 | IO1 | SPARE
PS1_5A_VFD1 | SI0 | SPARE
PS1_5A_VFD1 | SI1 | SPARE
PS1_5A_VFD1 | SI2 | SPARE
PS1_5A_VFD1 | SI3 | SPARE
PS1_5A_VFD1 | SO0 | SPARE
PS1_5B_VFD1 | I0 | PS1_5B_DISC | DISCONNECT AUX
PS1_5B_VFD1 | I1 | SPARE
PS1_5B_VFD1 | I2 | SPARE
PS1_5B_VFD1 | I3 | SPARE
PS1_5B_VFD1 | IO0 | PS1_8_BCN2_R | RED BEACON LIGHT
PS1_5B_VFD1 | IO1 | SPARE
PS1_5B_VFD1 | SI0 | SPARE
PS1_5B_VFD1 | SI1 | SPARE
PS1_5B_VFD1 | SI2 | SPARE
PS1_5B_VFD1 | SI3 | SPARE
PS1_5B_VFD1 | SO0 | SPARE
PS1_6_VFD1 | I0 | PS1_6_DISC | DISCONNECT AUX
PS1_6_VFD1 | I1 | PS1_6_ENSH1 | SHAFT ENCODER
PS1_6_VFD1 | I2 | PS1_6_TPE1 | TRACKING PHOTOEYE
PS1_6_VFD1 | I3 | PS1_6_TPE2 | TRACKING PHOTOEYE
PS1_6_VFD1 | IO0 | PS1_8_S2_PB | START PUSHBUTTON
PS1_6_VFD1 | IO1 | PS1_8_S2_PB_LT | START PUSHBUTTON LIGHT
PS1_6_VFD1 | SI0 | SPARE
PS1_6_VFD1 | SI1 | SPARE
PS1_6_VFD1 | SI2 | SPARE
PS1_6_VFD1 | SI3 | SPARE
PS1_6_VFD1 | SO0 | SPARE
PS1_7_VFD1 | I0 | PS1_7_DISC | DISCONNECT AUX
PS1_7_VFD1 | I1 | PS1_7_ENSH1 | SHAFT ENCODER
PS1_7_VFD1 | I2 | PS1_7_TPE1 | TRACKING PHOTOEYE
PS1_7_VFD1 | I3 | SPARE
PS1_7_VFD1 | IO0 | PS1_8_BCN1_R | RED BEACON LIGHT
PS1_7_VFD1 | IO1 | SPARE
PS1_7_VFD1 | SI0 | SPARE
PS1_7_VFD1 | SI1 | SPARE
PS1_7_VFD1 | SI2 | SPARE
PS1_7_VFD1 | SI3 | SPARE
PS1_7_VFD1 | SO0 | SPARE
PS1_8_VFD1 | I0 | PS1_8_DISC | DISCONNECT AUX
PS1_8_VFD1 | I1 | PS1_8_ENSH1 | SHAFT ENCODER
PS1_8_VFD1 | I2 | PS1_8_TPE1 | TRACKING PHOTOEYE
PS1_8_VFD1 | I3 | SPARE
PS1_8_VFD1 | IO0 | PS1_8_S1_PB | START PUSHBUTTON
PS1_8_VFD1 | IO1 | PS1_8_S1_PB_LT | START PUSHBUTTON LIGHT
PS1_8_VFD1 | SI0 | PS1_8_EPC1 | E-STOP PULLCORD
PS1_8_VFD1 | SI1 | PS1_8_EPC1_2 | E-STOP PULLCORD
PS1_8_VFD1 | SI2 | PS1_8_EPC2 | E-STOP PULLCORD
PS1_8_VFD1 | SI3 | PS1_8_EPC2_2 | E-STOP PULLCORD
PS1_8_VFD1 | SO0 | SPARE
PS2_1_VFD1 | I0 | PS2_1_DISC | DISCONNECT AUX
PS2_1_VFD1 | I1 | PS2_1_ENW1 | WHEEL ENCODER
PS2_1_VFD1 | I2 | PS2_1_TPE4 | TRACKING PHOTOEYE
PS2_1_VFD1 | I3 | SPARE
PS2_1_VFD1 | IO0 | PS2_1_JR3_PB | JAM RESET PUSHBUTTON
PS2_1_VFD1 | IO1 | PS2_1_JR3_PB_LT | JAM RESET PUSHBUTTON LIGHT
PS2_1_VFD1 | SI0 | SPARE
PS2_1_VFD1 | SI1 | SPARE
PS2_1_VFD1 | SI2 | SPARE
PS2_1_VFD1 | SI3 | SPARE
PS2_1_VFD1 | SO0 | SPARE
PS2_2_VFD1 | I0 | PS2_2_DISC | DISCONNECT AUX
PS2_2_VFD1 | I1 | PS2_2_ENSH1 | SHAFT ENCODER
PS2_2_VFD1 | I2 | SPARE
PS2_2_VFD1 | I3 | SPARE
PS2_2_VFD1 | IO0 | PS2_1_BCN3_A | AMBER BEACON LIGHT
PS2_2_VFD1 | IO1 | PS2_1_BCN3_A | AMBER BEACON LIGHT
PS2_2_VFD1 | SI0 | SPARE
PS2_2_VFD1 | SI1 | SPARE
PS2_2_VFD1 | SI2 | SPARE
PS2_2_VFD1 | SI3 | SPARE
PS2_2_VFD1 | SO0 | SPARE
PS2_3_VFD1 | I0 | PS2_3_DISC | DISCONNECT AUX
PS2_3_VFD1 | I1 | SPARE
PS2_3_VFD1 | I2 | PS2_3_TPE1 | TRACKING PHOTOEYE
PS2_3_VFD1 | I3 | PS2_3_TPE2 | TRACKING PHOTOEYE
PS2_3_VFD1 | IO0 | SPARE
PS2_3_VFD1 | IO1 | SPARE
PS2_3_VFD1 | SI0 | SPARE
PS2_3_VFD1 | SI1 | SPARE
PS2_3_VFD1 | SI2 | SPARE
PS2_3_VFD1 | SI3 | SPARE
PS2_3_VFD1 | SO0 | SPARE
PS2_4A_VFD1 | I0 | PS2_4A_DISC | DISCONNECT AUX
PS2_4A_VFD1 | I1 | SPARE
PS2_4A_VFD1 | I2 | SPARE
PS2_4A_VFD1 | I3 | SPARE
PS2_4A_VFD1 | IO0 | SPARE
PS2_4A_VFD1 | IO1 | SPARE
PS2_4A_VFD1 | SI0 | SPARE
PS2_4A_VFD1 | SI1 | SPARE
PS2_4A_VFD1 | SI2 | SPARE
PS2_4A_VFD1 | SI3 | SPARE
PS2_4A_VFD1 | SO0 | SPARE
PS2_4B_VFD1 | I0 | PS2_4B_DISC | DISCONNECT AUX
PS2_4B_VFD1 | I1 | SPARE
PS2_4B_VFD1 | I2 | SPARE
PS2_4B_VFD1 | I3 | SPARE
PS2_4B_VFD1 | IO0 | PS2_7_BCN2_R | RED BEACON LIGHT
PS2_4B_VFD1 | IO1 | SPARE
PS2_4B_VFD1 | SI0 | SPARE
PS2_4B_VFD1 | SI1 | SPARE
PS2_4B_VFD1 | SI2 | SPARE
PS2_4B_VFD1 | SI3 | SPARE
PS2_4B_VFD1 | SO0 | SPARE
PS2_5_VFD1 | I0 | PS2_5_DISC | DISCONNECT AUX
PS2_5_VFD1 | I1 | PS2_5_ENSH1 | SHAFT ENCODER
PS2_5_VFD1 | I2 | PS2_5_TPE1 | TRACKING PHOTOEYE
PS2_5_VFD1 | I3 | PS2_5_TPE2 | TRACKING PHOTOEYE
PS2_5_VFD1 | IO0 | PS2_7_S2_PB | START PUSHBUTTON
PS2_5_VFD1 | IO1 | PS2_7_S2_PB_LT | START PUSHBUTTON LIGHT
PS2_5_VFD1 | SI0 | SPARE
PS2_5_VFD1 | SI1 | SPARE
PS2_5_VFD1 | SI2 | SPARE
PS2_5_VFD1 | SI3 | SPARE
PS2_5_VFD1 | SO0 | SPARE
PS2_6_VFD1 | I0 | PS2_6_DISC | DISCONNECT AUX
PS2_6_VFD1 | I1 | PS2_6_ENSH1 | SHAFT ENCODER
PS2_6_VFD1 | I2 | PS2_6_TPE1 | TRACKING PHOTOEYE
PS2_6_VFD1 | I3 | SPARE
PS2_6_VFD1 | IO0 | PS2_7_BCN1_R | RED BEACON LIGHT
PS2_6_VFD1 | IO1 | SPARE
PS2_6_VFD1 | SI0 | SPARE
PS2_6_VFD1 | SI1 | SPARE
PS2_6_VFD1 | SI2 | SPARE
PS2_6_VFD1 | SI3 | SPARE
PS2_6_VFD1 | SO0 | SPARE
PS2_7_VFD1 | I0 | PS2_7_DISC | DISCONNECT AUX
PS2_7_VFD1 | I1 | PS2_7_ENSH1 | SHAFT ENCODER
PS2_7_VFD1 | I2 | PS2_7_TPE1 | TRACKING PHOTOEYE
PS2_7_VFD1 | I3 | SPARE
PS2_7_VFD1 | IO0 | PS2_7_S1_PB | START PUSHBUTTON
PS2_7_VFD1 | IO1 | PS2_7_S1_PB_LT | START PUSHBUTTON LIGHT
PS2_7_VFD1 | SI0 | PS2_7_EPC1 | E-STOP PULLCORD
PS2_7_VFD1 | SI1 | PS2_7_EPC1_2 | E-STOP PULLCORD
PS2_7_VFD1 | SI2 | PS2_7_EPC2 | E-STOP PULLCORD
PS2_7_VFD1 | SI3 | PS2_7_EPC2_2 | E-STOP PULLCORD
PS2_7_VFD1 | SO0 | SPARE
UL1_1_VFD1 | I0 | UL1_1_DISC | DISCONNECT AUX
UL1_1_VFD1 | I1 | SPARE
UL1_1_VFD1 | I2 | UL1_1_TPE1 | TRACKING PHOTOEYE
UL1_1_VFD1 | I3 | SPARE
UL1_1_VFD1 | IO0 | SPARE
UL1_1_VFD1 | IO1 | SPARE
UL1_1_VFD1 | SI0 | UL1_1_EPC1 | E-STOP PULLCORD
UL1_1_VFD1 | SI1 | UL1_1_EPC1_2 | E-STOP PULLCORD
UL1_1_VFD1 | SI2 | UL1_1_EPC2 | E-STOP PULLCORD
UL1_1_VFD1 | SI3 | UL1_1_EPC2_2 | E-STOP PULLCORD
UL1_1_VFD1 | SO0 | SPARE
UL1_2_FIO1 | IO00 | UL1_1_SS1_STPB | SS STATION START PUSHBUTTON
UL1_2_FIO1 | IO01 | UL1_1_SS1_STPB_LT | SS STATION START PUSHBUTTON LIGHT
UL1_2_FIO1 | IO02 | UL1_1_SS1_SPB | SS STATION STOP PUSHBUTTON
UL1_2_FIO1 | IO03 | SPARE
UL1_2_FIO1 | IO04 | UL1_2_BCN1_R | RED BEACON LIGHT
UL1_2_FIO1 | IO05 | SPARE
UL1_2_FIO1 | IO06 | UL1_2_BCN2_R | RED BEACON LIGHT
UL1_2_FIO1 | IO07 | SPARE
UL1_2_FIO1 | IO08 | UL1_2_LPE1 | LASER PHOTOEYE
UL1_2_FIO1 | IO09 | SPARE
UL1_2_FIO1 | IO10 | UL1_2_LPE2 | LASER PHOTOEYE
UL1_2_FIO1 | IO11 | SPARE
UL1_2_FIO1 | IO12 | SPARE
UL1_2_FIO1 | IO13 | SPARE
UL1_2_FIO1 | IO14 | SPARE
UL1_2_FIO1 | IO15 | SPARE
UL1_2_VFD1 | I0 | UL1_2_DISC | DISCONNECT AUX
UL1_2_VFD1 | I1 | UL1_2_ENW1 | WHEEL ENCODER
UL1_2_VFD1 | I2 | UL1_2_TPE1 | TRACKING PHOTOEYE
UL1_2_VFD1 | I3 | SPARE
UL1_2_VFD1 | IO0 | SPARE
UL1_2_VFD1 | IO1 | SPARE
UL1_2_VFD1 | SI0 | SPARE
UL1_2_VFD1 | SI1 | SPARE
UL1_2_VFD1 | SI2 | SPARE
UL1_2_VFD1 | SI3 | SPARE
UL1_2_VFD1 | SO0 | SPARE
UL1_3_VFD1 | I0 | UL1_3_DISC | DISCONNECT AUX
UL1_3_VFD1 | I1 | UL1_3_ENSH1 | SHAFT ENCODER
UL1_3_VFD1 | I2 | UL1_2_TPE2 | TRACKING PHOTOEYE
UL1_3_VFD1 | I3 | SPARE
UL1_3_VFD1 | IO0 | UL1_2_JR1_PB | JAM RESET PUSHBUTTON
UL1_3_VFD1 | IO1 | UL1_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL1_3_VFD1 | SI0 | SPARE
UL1_3_VFD1 | SI1 | SPARE
UL1_3_VFD1 | SI2 | SPARE
UL1_3_VFD1 | SI3 | SPARE
UL1_3_VFD1 | SO0 | SPARE
UL1_4_VFD1 | I0 | UL1_4_DISC | DISCONNECT AUX
UL1_4_VFD1 | I1 | UL1_4_ENSH1 | SHAFT ENCODER
UL1_4_VFD1 | I2 | UL1_4_TPE1 | TRACKING PHOTOEYE
UL1_4_VFD1 | I3 | UL1_4_TPE2 | TRACKING PHOTOEYE
UL1_4_VFD1 | IO0 | UL1_2_BCN3_A | AMBER BEACON LIGHT
UL1_4_VFD1 | IO1 | UL1_2_BCN3_H | HORN BEACON
UL1_4_VFD1 | SI0 | SPARE
UL1_4_VFD1 | SI1 | SPARE
UL1_4_VFD1 | SI2 | SPARE
UL1_4_VFD1 | SI3 | SPARE
UL1_4_VFD1 | SO0 | SPARE
UL1_5_VFD1 | I0 | UL1_5_DISC | DISCONNECT AUX
UL1_5_VFD1 | I1 | UL1_5_ENSH1 | SHAFT ENCODER
UL1_5_VFD1 | I2 | UL1_5_TPE1 | TRACKING PHOTOEYE
UL1_5_VFD1 | I3 | SPARE
UL1_5_VFD1 | IO0 | SPARE
UL1_5_VFD1 | IO1 | SPARE
UL1_5_VFD1 | SI0 | SPARE
UL1_5_VFD1 | SI1 | SPARE
UL1_5_VFD1 | SI2 | SPARE
UL1_5_VFD1 | SI3 | SPARE
UL1_5_VFD1 | SO0 | SPARE
UL1_6_VFD1 | I0 | UL1_6_DISC | DISCONNECT AUX
UL1_6_VFD1 | I1 | UL1_6_ENSH1 | SHAFT ENCODER
UL1_6_VFD1 | I2 | UL1_6_TPE1 | TRACKING PHOTOEYE
UL1_6_VFD1 | I3 | SPARE
UL1_6_VFD1 | IO0 | SPARE
UL1_6_VFD1 | IO1 | SPARE
UL1_6_VFD1 | SI0 | SPARE
UL1_6_VFD1 | SI1 | SPARE
UL1_6_VFD1 | SI2 | SPARE
UL1_6_VFD1 | SI3 | SPARE
UL1_6_VFD1 | SO0 | SPARE
UL1_7_VFD1 | I0 | UL1_7_DISC | DISCONNECT AUX
UL1_7_VFD1 | I1 | UL1_7_ENSH1 | SHAFT ENCODER
UL1_7_VFD1 | I2 | PS1_1_TPE1 | TRACKING PHOTOEYE
UL1_7_VFD1 | I3 | SPARE
UL1_7_VFD1 | IO0 | SPARE
UL1_7_VFD1 | IO1 | SPARE
UL1_7_VFD1 | SI0 | SPARE
UL1_7_VFD1 | SI1 | SPARE
UL1_7_VFD1 | SI2 | SPARE
UL1_7_VFD1 | SI3 | SPARE
UL1_7_VFD1 | SO0 | SPARE
UL2_3_FIO1 | IO00 | UL2_3_TPE1 | TRACKING PHOTOEYE
UL2_3_FIO1 | IO01 | SPARE
UL2_3_FIO1 | IO02 | UL2_3_TPE2 | TRACKING PHOTOEYE
UL2_3_FIO1 | IO03 | SPARE
UL2_3_FIO1 | IO04 | UL2_3_LPE1 | LASER PHOTOEYE
UL2_3_FIO1 | IO05 | SPARE
UL2_3_FIO1 | IO06 | UL2_3_LPE2 | LASER PHOTOEYE
UL2_3_FIO1 | IO07 | SPARE
UL2_3_FIO1 | IO08 | SPARE
UL2_3_FIO1 | IO09 | SPARE
UL2_3_FIO1 | IO10 | SPARE
UL2_3_FIO1 | IO11 | SPARE
UL2_3_FIO1 | IO12 | SPARE
UL2_3_FIO1 | IO13 | SPARE
UL2_3_FIO1 | IO14 | SPARE
UL2_3_FIO1 | IO15 | SPARE
UL2_3_VFD1 | I0 | UL2_3_DISC | DISCONNECT AUX
UL2_3_VFD1 | I1 | UL2_3_ENW1 | WHEEL ENCODER
UL2_3_VFD1 | I2 | SPARE
UL2_3_VFD1 | I3 | SPARE
UL2_3_VFD1 | IO0 | SPARE
UL2_3_VFD1 | IO1 | SPARE
UL2_3_VFD1 | SI0 | SPARE
UL2_3_VFD1 | SI1 | SPARE
UL2_3_VFD1 | SI2 | UL2_2_ESTOP | ESTOP OK
UL2_3_VFD1 | SI3 | SPARE
UL2_3_VFD1 | SO0 | UL2_2_STO1 | ESTOP OK
UL2_4_VFD1 | I0 | UL2_4_DISC | DISCONNECT AUX
UL2_4_VFD1 | I1 | UL2_4_ENSH1 | SHAFT ENCODER
UL2_4_VFD1 | I2 | UL2_3_TPE3 | TRACKING PHOTOEYE
UL2_4_VFD1 | I3 | SPARE
UL2_4_VFD1 | IO0 | UL2_3_JR1_PB | JAM RESET PUSHBUTTON
UL2_4_VFD1 | IO1 | UL2_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL2_4_VFD1 | SI0 | SPARE
UL2_4_VFD1 | SI1 | SPARE
UL2_4_VFD1 | SI2 | SPARE
UL2_4_VFD1 | SI3 | SPARE
UL2_4_VFD1 | SO0 | SPARE
UL2_5_VFD1 | I0 | UL2_5_DISC | DISCONNECT AUX
UL2_5_VFD1 | I1 | UL2_5_ENW1 | WHEEL ENCODER
UL2_5_VFD1 | I2 | UL2_5_TPE1 | TRACKING PHOTOEYE
UL2_5_VFD1 | I3 | UL2_5_TPE2 | TRACKING PHOTOEYE
UL2_5_VFD1 | IO0 | UL2_3_BCN1_A | AMBER BEACON LIGHT
UL2_5_VFD1 | IO1 | SPARE
UL2_5_VFD1 | SI0 | SPARE
UL2_5_VFD1 | SI1 | SPARE
UL2_5_VFD1 | SI2 | SPARE
UL2_5_VFD1 | SI3 | SPARE
UL2_5_VFD1 | SO0 | SPARE
UL2_6_VFD1 | I0 | UL2_6_DISC | DISCONNECT AUX
UL2_6_VFD1 | I1 | UL2_6_ENSH1 | SHAFT ENCODER
UL2_6_VFD1 | I2 | UL2_6_TPE1 | TRACKING PHOTOEYE
UL2_6_VFD1 | I3 | SPARE
UL2_6_VFD1 | IO0 | SPARE
UL2_6_VFD1 | IO1 | SPARE
UL2_6_VFD1 | SI0 | SPARE
UL2_6_VFD1 | SI1 | SPARE
UL2_6_VFD1 | SI2 | SPARE
UL2_6_VFD1 | SI3 | SPARE
UL2_6_VFD1 | SO0 | SPARE
UL2_7_VFD1 | I0 | UL2_7_DISC | DISCONNECT AUX
UL2_7_VFD1 | I1 | UL2_7_ENSH1 | SHAFT ENCODER
UL2_7_VFD1 | I2 | UL2_7_TPE1 | TRACKING PHOTOEYE
UL2_7_VFD1 | I3 | SPARE
UL2_7_VFD1 | IO0 | SPARE
UL2_7_VFD1 | IO1 | SPARE
UL2_7_VFD1 | SI0 | SPARE
UL2_7_VFD1 | SI1 | SPARE
UL2_7_VFD1 | SI2 | SPARE
UL2_7_VFD1 | SI3 | SPARE
UL2_7_VFD1 | SO0 | SPARE
UL2_8_VFD1 | I0 | UL2_8_DISC | DISCONNECT AUX
UL2_8_VFD1 | I1 | UL2_8_ENSH1 | SHAFT ENCODER
UL2_8_VFD1 | I2 | UL2_8_TPE1 | TRACKING PHOTOEYE
UL2_8_VFD1 | I3 | SPARE
UL2_8_VFD1 | IO0 | PS1_1_BCN1_A | AMBER BEACON LIGHT
UL2_8_VFD1 | IO1 | SPARE
UL2_8_VFD1 | SI0 | SPARE
UL2_8_VFD1 | SI1 | SPARE
UL2_8_VFD1 | SI2 | SPARE
UL2_8_VFD1 | SI3 | SPARE
UL2_8_VFD1 | SO0 | SPARE
UL2_9_VFD1 | I0 | UL2_9_DISC | DISCONNECT AUX
UL2_9_VFD1 | I1 | UL2_9_ENSH1 | SHAFT ENCODER
UL2_9_VFD1 | I2 | PS1_1_TPE2 | TRACKING PHOTOEYE
UL2_9_VFD1 | I3 | SPARE
UL2_9_VFD1 | IO0 | PS1_1_JR1_PB | JAM RESET PUSHBUTTON
UL2_9_VFD1 | IO1 | PS1_1_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL2_9_VFD1 | SI0 | SPARE
UL2_9_VFD1 | SI1 | SPARE
UL2_9_VFD1 | SI2 | SPARE
UL2_9_VFD1 | SI3 | SPARE
UL2_9_VFD1 | SO0 | SPARE
UL3_3_FIO1 | IO00 | UL3_3_LPE1 | LASER PHOTOEYE
UL3_3_FIO1 | IO01 | SPARE
UL3_3_FIO1 | IO02 | UL3_3_LPE2 | LASER PHOTOEYE
UL3_3_FIO1 | IO03 | SPARE
UL3_3_FIO1 | IO04 | UL3_3_TPE1 | TRACKING PHOTOEYE
UL3_3_FIO1 | IO05 | SPARE
UL3_3_FIO1 | IO06 | UL3_3_TPE2 | TRACKING PHOTOEYE
UL3_3_FIO1 | IO07 | SPARE
UL3_3_FIO1 | IO08 | SPARE
UL3_3_FIO1 | IO09 | SPARE
UL3_3_FIO1 | IO10 | SPARE
UL3_3_FIO1 | IO11 | SPARE
UL3_3_FIO1 | IO12 | SPARE
UL3_3_FIO1 | IO13 | SPARE
UL3_3_FIO1 | IO14 | SPARE
UL3_3_FIO1 | IO15 | SPARE
UL3_3_VFD1 | I0 | UL3_3_DISC | DISCONNECT AUX
UL3_3_VFD1 | I1 | UL3_3_ENW1 | WHEEL ENCODER
UL3_3_VFD1 | I2 | SPARE
UL3_3_VFD1 | I3 | SPARE
UL3_3_VFD1 | IO0 | SPARE
UL3_3_VFD1 | IO1 | SPARE
UL3_3_VFD1 | SI0 | SPARE
UL3_3_VFD1 | SI1 | SPARE
UL3_3_VFD1 | SI2 | UL3_2_ESTOP | ESTOP OK
UL3_3_VFD1 | SI3 | SPARE
UL3_3_VFD1 | SO0 | UL3_2_STO1 | ESTOP OK
UL3_4_VFD1 | I0 | UL3_4_DISC | DISCONNECT AUX
UL3_4_VFD1 | I1 | UL3_4_ENSH1 | SHAFT ENCODER
UL3_4_VFD1 | I2 | UL3_3_TPE3 | TRACKING PHOTOEYE
UL3_4_VFD1 | I3 | SPARE
UL3_4_VFD1 | IO0 | UL3_3_JR1_PB | JAM RESET PUSHBUTTON
UL3_4_VFD1 | IO1 | UL3_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL3_4_VFD1 | SI0 | SPARE
UL3_4_VFD1 | SI1 | SPARE
UL3_4_VFD1 | SI2 | SPARE
UL3_4_VFD1 | SI3 | SPARE
UL3_4_VFD1 | SO0 | SPARE
UL3_5_VFD1 | I0 | UL3_5_DISC | DISCONNECT AUX
UL3_5_VFD1 | I1 | UL3_5_ENW1 | WHEEL ENCODER
UL3_5_VFD1 | I2 | UL3_5_TPE1 | TRACKING PHOTOEYE
UL3_5_VFD1 | I3 | UL3_5_TPE2 | TRACKING PHOTOEYE
UL3_5_VFD1 | IO0 | UL3_3_BCN1_A | AMBER BEACON LIGHT
UL3_5_VFD1 | IO1 | SPARE
UL3_5_VFD1 | SI0 | SPARE
UL3_5_VFD1 | SI1 | SPARE
UL3_5_VFD1 | SI2 | SPARE
UL3_5_VFD1 | SI3 | SPARE
UL3_5_VFD1 | SO0 | SPARE
UL3_6_VFD1 | I0 | UL3_6_DISC | DISCONNECT AUX
UL3_6_VFD1 | I1 | UL3_6_ENSH1 | SHAFT ENCODER
UL3_6_VFD1 | I2 | UL3_6_TPE1 | TRACKING PHOTOEYE
UL3_6_VFD1 | I3 | SPARE
UL3_6_VFD1 | IO0 | SPARE
UL3_6_VFD1 | IO1 | SPARE
UL3_6_VFD1 | SI0 | SPARE
UL3_6_VFD1 | SI1 | SPARE
UL3_6_VFD1 | SI2 | SPARE
UL3_6_VFD1 | SI3 | SPARE
UL3_6_VFD1 | SO0 | SPARE
UL3_7_VFD1 | I0 | UL3_7_DISC | DISCONNECT AUX
UL3_7_VFD1 | I1 | UL3_7_ENSH1 | SHAFT ENCODER
UL3_7_VFD1 | I2 | UL3_7_TPE1 | TRACKING PHOTOEYE
UL3_7_VFD1 | I3 | SPARE
UL3_7_VFD1 | IO0 | SPARE
UL3_7_VFD1 | IO1 | SPARE
UL3_7_VFD1 | SI0 | SPARE
UL3_7_VFD1 | SI1 | SPARE
UL3_7_VFD1 | SI2 | SPARE
UL3_7_VFD1 | SI3 | SPARE
UL3_7_VFD1 | SO0 | SPARE
UL3_8_VFD1 | I0 | UL3_8_DISC | DISCONNECT AUX
UL3_8_VFD1 | I1 | UL3_8_ENSH1 | SHAFT ENCODER
UL3_8_VFD1 | I2 | UL3_8_TPE1 | TRACKING PHOTOEYE
UL3_8_VFD1 | I3 | SPARE
UL3_8_VFD1 | IO0 | SPARE
UL3_8_VFD1 | IO1 | SPARE
UL3_8_VFD1 | SI0 | SPARE
UL3_8_VFD1 | SI1 | SPARE
UL3_8_VFD1 | SI2 | SPARE
UL3_8_VFD1 | SI3 | SPARE
UL3_8_VFD1 | SO0 | SPARE
UL3_9_VFD1 | I0 | UL3_9_DISC | DISCONNECT AUX
UL3_9_VFD1 | I1 | UL3_9_ENSH1 | SHAFT ENCODER
UL3_9_VFD1 | I2 | PS1_1_TPE3 | TRACKING PHOTOEYE
UL3_9_VFD1 | I3 | SPARE
UL3_9_VFD1 | IO0 | SPARE
UL3_9_VFD1 | IO1 | SPARE
UL3_9_VFD1 | SI0 | SPARE
UL3_9_VFD1 | SI1 | SPARE
UL3_9_VFD1 | SI2 | SPARE
UL3_9_VFD1 | SI3 | SPARE
UL3_9_VFD1 | SO0 | SPARE
UL4_3_FIO1 | IO00 | UL4_3_LPE1 | LASER PHOTOEYE
UL4_3_FIO1 | IO01 | SPARE
UL4_3_FIO1 | IO02 | UL4_3_LPE2 | LASER PHOTOEYE
UL4_3_FIO1 | IO03 | SPARE
UL4_3_FIO1 | IO04 | UL4_3_TPE1 | TRACKING PHOTOEYE
UL4_3_FIO1 | IO05 | SPARE
UL4_3_FIO1 | IO06 | UL4_3_TPE2 | TRACKING PHOTOEYE
UL4_3_FIO1 | IO07 | SPARE
UL4_3_FIO1 | IO08 | SPARE
UL4_3_FIO1 | IO09 | SPARE
UL4_3_FIO1 | IO10 | SPARE
UL4_3_FIO1 | IO11 | SPARE
UL4_3_FIO1 | IO12 | SPARE
UL4_3_FIO1 | IO13 | SPARE
UL4_3_FIO1 | IO14 | SPARE
UL4_3_FIO1 | IO15 | SPARE
UL4_3_VFD1 | I0 | UL4_3_DISC | DISCONNECT AUX
UL4_3_VFD1 | I1 | UL4_3_ENW1 | WHEEL ENCODER
UL4_3_VFD1 | I2 | SPARE
UL4_3_VFD1 | I3 | SPARE
UL4_3_VFD1 | IO0 | SPARE
UL4_3_VFD1 | IO1 | SPARE
UL4_3_VFD1 | SI0 | SPARE
UL4_3_VFD1 | SI1 | SPARE
UL4_3_VFD1 | SI2 | UL4_2_ESTOP | ESTOP OK
UL4_3_VFD1 | SI3 | SPARE
UL4_3_VFD1 | SO0 | UL4_2_STO1 | ESTOP OK
UL4_4_VFD1 | I0 | UL4_4_DISC | DISCONNECT AUX
UL4_4_VFD1 | I1 | UL4_4_ENSH1 | SHAFT ENCODER
UL4_4_VFD1 | I2 | UL4_3_TPE3 | TRACKING PHOTOEYE
UL4_4_VFD1 | I3 | SPARE
UL4_4_VFD1 | IO0 | UL4_3_JR1_PB | JAM RESET PUSHBUTTON
UL4_4_VFD1 | IO1 | UL4_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL4_4_VFD1 | SI0 | SPARE
UL4_4_VFD1 | SI1 | SPARE
UL4_4_VFD1 | SI2 | SPARE
UL4_4_VFD1 | SI3 | SPARE
UL4_4_VFD1 | SO0 | SPARE
UL4_5_VFD1 | I0 | UL4_5_DISC | DISCONNECT AUX
UL4_5_VFD1 | I1 | UL4_5_ENSH1 | SHAFT ENCODER
UL4_5_VFD1 | I2 | UL4_5_TPE1 | TRACKING PHOTOEYE
UL4_5_VFD1 | I3 | UL4_5_TPE2 | TRACKING PHOTOEYE
UL4_5_VFD1 | IO0 | UL4_3_BCN1_A | AMBER BEACON LIGHT
UL4_5_VFD1 | IO1 | SPARE
UL4_5_VFD1 | SI0 | SPARE
UL4_5_VFD1 | SI1 | SPARE
UL4_5_VFD1 | SI2 | SPARE
UL4_5_VFD1 | SI3 | SPARE
UL4_5_VFD1 | SO0 | SPARE
UL4_6_VFD1 | I0 | UL4_6_DISC | DISCONNECT AUX
UL4_6_VFD1 | I1 | UL4_6_ENSH1 | SHAFT ENCODER
UL4_6_VFD1 | I2 | UL4_6_TPE1 | TRACKING PHOTOEYE
UL4_6_VFD1 | I3 | SPARE
UL4_6_VFD1 | IO0 | SPARE
UL4_6_VFD1 | IO1 | SPARE
UL4_6_VFD1 | SI0 | SPARE
UL4_6_VFD1 | SI1 | SPARE
UL4_6_VFD1 | SI2 | SPARE
UL4_6_VFD1 | SI3 | SPARE
UL4_6_VFD1 | SO0 | SPARE
UL4_7_VFD1 | I0 | UL4_7_DISC | DISCONNECT AUX
UL4_7_VFD1 | I1 | UL4_7_ENSH1 | SHAFT ENCODER
UL4_7_VFD1 | I2 | UL4_7_TPE1 | TRACKING PHOTOEYE
UL4_7_VFD1 | I3 | SPARE
UL4_7_VFD1 | IO0 | SPARE
UL4_7_VFD1 | IO1 | SPARE
UL4_7_VFD1 | SI0 | SPARE
UL4_7_VFD1 | SI1 | SPARE
UL4_7_VFD1 | SI2 | SPARE
UL4_7_VFD1 | SI3 | SPARE
UL4_7_VFD1 | SO0 | SPARE
UL4_8_VFD1 | I0 | UL4_8_DISC | DISCONNECT AUX
UL4_8_VFD1 | I1 | UL4_8_ENSH1 | SHAFT ENCODER
UL4_8_VFD1 | I2 | PS2_1_TPE1 | TRACKING PHOTOEYE
UL4_8_VFD1 | I3 | SPARE
UL4_8_VFD1 | IO0 | SPARE
UL4_8_VFD1 | IO1 | SPARE
UL4_8_VFD1 | SI0 | SPARE
UL4_8_VFD1 | SI1 | SPARE
UL4_8_VFD1 | SI2 | SPARE
UL4_8_VFD1 | SI3 | SPARE
UL4_8_VFD1 | SO0 | SPARE
UL5_3_FIO1 | IO00 | UL5_3_LPE1 | LASER PHOTOEYE
UL5_3_FIO1 | IO01 | SPARE
UL5_3_FIO1 | IO02 | UL5_3_LPE2 | LASER PHOTOEYE
UL5_3_FIO1 | IO03 | SPARE
UL5_3_FIO1 | IO04 | UL5_3_TPE1 | TRACKING PHOTOEYE
UL5_3_FIO1 | IO05 | SPARE
UL5_3_FIO1 | IO06 | UL5_3_TPE2 | TRACKING PHOTOEYE
UL5_3_FIO1 | IO07 | SPARE
UL5_3_FIO1 | IO08 | SPARE
UL5_3_FIO1 | IO09 | SPARE
UL5_3_FIO1 | IO10 | SPARE
UL5_3_FIO1 | IO11 | SPARE
UL5_3_FIO1 | IO12 | SPARE
UL5_3_FIO1 | IO13 | SPARE
UL5_3_FIO1 | IO14 | SPARE
UL5_3_FIO1 | IO15 | SPARE
UL5_3_VFD1 | I0 | UL5_3_DISC | DISCONNECT AUX
UL5_3_VFD1 | I1 | UL5_3_ENW1 | WHEEL ENCODER
UL5_3_VFD1 | I2 | UL5_3_TPE3 | TRACKING PHOTOEYE
UL5_3_VFD1 | I3 | SPARE
UL5_3_VFD1 | IO0 | UL5_3_JR1_PB | JAM RESET PUSHBUTTON
UL5_3_VFD1 | IO1 | UL5_3_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL5_3_VFD1 | SI0 | SPARE
UL5_3_VFD1 | SI1 | SPARE
UL5_3_VFD1 | SI2 | UL5_2_ESTOP | ESTOP OK
UL5_3_VFD1 | SI3 | SPARE
UL5_3_VFD1 | SO0 | UL5_3_STO1 | ESTOP OK
UL5_4_VFD1 | I0 | UL5_4_DISC | DISCONNECT AUX
UL5_4_VFD1 | I1 | UL5_4_ENSH1 | SHAFT ENCODER
UL5_4_VFD1 | I2 | SPARE
UL5_4_VFD1 | I3 | SPARE
UL5_4_VFD1 | IO0 | SPARE
UL5_4_VFD1 | IO1 | SPARE
UL5_4_VFD1 | SI0 | SPARE
UL5_4_VFD1 | SI1 | SPARE
UL5_4_VFD1 | SI2 | SPARE
UL5_4_VFD1 | SI3 | SPARE
UL5_4_VFD1 | SO0 | SPARE
UL5_5_VFD1 | I0 | UL5_5_DISC | DISCONNECT AUX
UL5_5_VFD1 | I1 | UL5_5_ENSH1 | SHAFT ENCODER
UL5_5_VFD1 | I2 | UL5_5_TPE1 | TRACKING PHOTOEYE
UL5_5_VFD1 | I3 | UL5_5_TPE2 | TRACKING PHOTOEYE
UL5_5_VFD1 | IO0 | SPARE
UL5_5_VFD1 | IO1 | SPARE
UL5_5_VFD1 | SI0 | SPARE
UL5_5_VFD1 | SI1 | SPARE
UL5_5_VFD1 | SI2 | SPARE
UL5_5_VFD1 | SI3 | SPARE
UL5_5_VFD1 | SO0 | SPARE
UL5_6_VFD1 | I0 | UL5_6_DISC | DISCONNECT AUX
UL5_6_VFD1 | I1 | UL5_6_ENSH1 | SHAFT ENCODER
UL5_6_VFD1 | I2 | UL5_6_TPE1 | TRACKING PHOTOEYE
UL5_6_VFD1 | I3 | SPARE
UL5_6_VFD1 | IO0 | SPARE
UL5_6_VFD1 | IO1 | SPARE
UL5_6_VFD1 | SI0 | SPARE
UL5_6_VFD1 | SI1 | SPARE
UL5_6_VFD1 | SI2 | SPARE
UL5_6_VFD1 | SI3 | SPARE
UL5_6_VFD1 | SO0 | SPARE
UL5_7_VFD1 | I0 | UL5_7_DISC | DISCONNECT AUX
UL5_7_VFD1 | I1 | UL5_7_ENSH1 | SHAFT ENCODER
UL5_7_VFD1 | I2 | UL5_7_TPE1 | TRACKING PHOTOEYE
UL5_7_VFD1 | I3 | SPARE
UL5_7_VFD1 | IO0 | SPARE
UL5_7_VFD1 | IO1 | SPARE
UL5_7_VFD1 | SI0 | SPARE
UL5_7_VFD1 | SI1 | SPARE
UL5_7_VFD1 | SI2 | SPARE
UL5_7_VFD1 | SI3 | SPARE
UL5_7_VFD1 | SO0 | SPARE
UL5_8_VFD1 | I0 | UL5_8_DISC | DISCONNECT AUX
UL5_8_VFD1 | I1 | UL5_8_ENSH1 | SHAFT ENCODER
UL5_8_VFD1 | I2 | UL5_8_TPE1 | TRACKING PHOTOEYE
UL5_8_VFD1 | I3 | SPARE
UL5_8_VFD1 | IO0 | PS2_1_BCN1_A | AMBER BEACON LIGHT
UL5_8_VFD1 | IO1 | SPARE
UL5_8_VFD1 | SI0 | SPARE
UL5_8_VFD1 | SI1 | SPARE
UL5_8_VFD1 | SI2 | SPARE
UL5_8_VFD1 | SI3 | SPARE
UL5_8_VFD1 | SO0 | SPARE
UL5_9_VFD1 | I0 | UL5_9_DISC | DISCONNECT AUX
UL5_9_VFD1 | I1 | UL5_9_ENSH1 | SHAFT ENCODER
UL5_9_VFD1 | I2 | PS2_1_TPE2 | TRACKING PHOTOEYE
UL5_9_VFD1 | I3 | SPARE
UL5_9_VFD1 | IO0 | PS2_1_JR1_PB | JAM RESET PUSHBUTTON
UL5_9_VFD1 | IO1 | PS2_1_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL5_9_VFD1 | SI0 | SPARE
UL5_9_VFD1 | SI1 | SPARE
UL5_9_VFD1 | SI2 | SPARE
UL5_9_VFD1 | SI3 | SPARE
UL5_9_VFD1 | SO0 | SPARE
UL6_1_VFD1 | I0 | UL6_1_DISC | DISCONNECT AUX
UL6_1_VFD1 | I1 | SPARE
UL6_1_VFD1 | I2 | UL6_1_TPE1 | TRACKING PHOTOEYE
UL6_1_VFD1 | I3 | SPARE
UL6_1_VFD1 | IO0 | SPARE
UL6_1_VFD1 | IO1 | SPARE
UL6_1_VFD1 | SI0 | UL6_1_EPC1 | E-STOP PULLCORD
UL6_1_VFD1 | SI1 | UL6_1_EPC1_2 | E-STOP PULLCORD
UL6_1_VFD1 | SI2 | UL6_1_EPC2 | E-STOP PULLCORD
UL6_1_VFD1 | SI3 | UL6_1_EPC2_2 | E-STOP PULLCORD
UL6_1_VFD1 | SO0 | SPARE
UL6_2_FIO1 | IO00 | UL6_1_SS1_STPB | SS STATION START PUSHBUTTON
UL6_2_FIO1 | IO01 | UL6_1_SS1_STPB_LT | SS STATION START PUSHBUTTON LIGHT
UL6_2_FIO1 | IO02 | UL6_1_SS1_SPB | SS STATION STOP PUSHBUTTON
UL6_2_FIO1 | IO03 | SPARE
UL6_2_FIO1 | IO04 | UL6_2_BCN1_R | RED BEACON LIGHT
UL6_2_FIO1 | IO05 | SPARE
UL6_2_FIO1 | IO06 | UL6_2_BCN2_R | RED BEACON LIGHT
UL6_2_FIO1 | IO07 | SPARE
UL6_2_FIO1 | IO08 | UL6_2_LPE1 | LASER PHOTOEYE
UL6_2_FIO1 | IO09 | SPARE
UL6_2_FIO1 | IO10 | UL6_2_LPE2 | LASER PHOTOEYE
UL6_2_FIO1 | IO11 | SPARE
UL6_2_FIO1 | IO12 | SPARE
UL6_2_FIO1 | IO13 | SPARE
UL6_2_FIO1 | IO14 | SPARE
UL6_2_FIO1 | IO15 | SPARE
UL6_2_VFD1 | I0 | UL6_2_DISC | DISCONNECT AUX
UL6_2_VFD1 | I1 | UL6_2_ENW1 | WHEEL ENCODER
UL6_2_VFD1 | I2 | UL6_2_TPE1 | TRACKING PHOTOEYE
UL6_2_VFD1 | I3 | SPARE
UL6_2_VFD1 | IO0 | SPARE
UL6_2_VFD1 | IO1 | SPARE
UL6_2_VFD1 | SI0 | SPARE
UL6_2_VFD1 | SI1 | SPARE
UL6_2_VFD1 | SI2 | SPARE
UL6_2_VFD1 | SI3 | SPARE
UL6_2_VFD1 | SO0 | SPARE
UL6_3_VFD1 | I0 | UL6_3_DISC | DISCONNECT AUX
UL6_3_VFD1 | I1 | UL6_3_ENSH1 | SHAFT ENCODER
UL6_3_VFD1 | I2 | UL6_2_TPE2 | TRACKING PHOTOEYE
UL6_3_VFD1 | I3 | SPARE
UL6_3_VFD1 | IO0 | UL6_2_JR1_PB | JAM RESET PUSHBUTTON
UL6_3_VFD1 | IO1 | UL6_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL6_3_VFD1 | SI0 | SPARE
UL6_3_VFD1 | SI1 | SPARE
UL6_3_VFD1 | SI2 | SPARE
UL6_3_VFD1 | SI3 | SPARE
UL6_3_VFD1 | SO0 | SPARE
UL6_4_VFD1 | I0 | UL6_4_DISC | DISCONNECT AUX
UL6_4_VFD1 | I1 | UL6_4_ENW1 | WHEEL ENCODER
UL6_4_VFD1 | I2 | UL6_4_TPE1 | TRACKING PHOTOEYE
UL6_4_VFD1 | I3 | UL6_4_TPE2 | TRACKING PHOTOEYE
UL6_4_VFD1 | IO0 | UL6_2_BCN3_A | AMBER BEACON LIGHT
UL6_4_VFD1 | IO1 | SPARE
UL6_4_VFD1 | SI0 | SPARE
UL6_4_VFD1 | SI1 | SPARE
UL6_4_VFD1 | SI2 | SPARE
UL6_4_VFD1 | SI3 | SPARE
UL6_4_VFD1 | SO0 | SPARE
UL6_5_VFD1 | I0 | UL6_5_DISC | DISCONNECT AUX
UL6_5_VFD1 | I1 | UL6_5_ENSH1 | SHAFT ENCODER
UL6_5_VFD1 | I2 | UL6_5_TPE1 | TRACKING PHOTOEYE
UL6_5_VFD1 | I3 | SPARE
UL6_5_VFD1 | IO0 | SPARE
UL6_5_VFD1 | IO1 | SPARE
UL6_5_VFD1 | SI0 | SPARE
UL6_5_VFD1 | SI1 | SPARE
UL6_5_VFD1 | SI2 | SPARE
UL6_5_VFD1 | SI3 | SPARE
UL6_5_VFD1 | SO0 | SPARE
UL6_6_VFD1 | I0 | UL6_6_DISC | DISCONNECT AUX
UL6_6_VFD1 | I1 | UL6_6_ENSH1 | SHAFT ENCODER
UL6_6_VFD1 | I2 | UL6_6_TPE1 | TRACKING PHOTOEYE
UL6_6_VFD1 | I3 | SPARE
UL6_6_VFD1 | IO0 | SPARE
UL6_6_VFD1 | IO1 | SPARE
UL6_6_VFD1 | SI0 | SPARE
UL6_6_VFD1 | SI1 | SPARE
UL6_6_VFD1 | SI2 | SPARE
UL6_6_VFD1 | SI3 | SPARE
UL6_6_VFD1 | SO0 | SPARE
UL6_7_VFD1 | I0 | UL6_7_DISC | DISCONNECT AUX
UL6_7_VFD1 | I1 | UL6_7_ENSH1 | SHAFT ENCODER
UL6_7_VFD1 | I2 | UL6_7_TPE1 | TRACKING PHOTOEYE
UL6_7_VFD1 | I3 | SPARE
UL6_7_VFD1 | IO0 | PS2_1_BCN2_A | AMBER BEACON LIGHT
UL6_7_VFD1 | IO1 | SPARE
UL6_7_VFD1 | SI0 | SPARE
UL6_7_VFD1 | SI1 | SPARE
UL6_7_VFD1 | SI2 | SPARE
UL6_7_VFD1 | SI3 | SPARE
UL6_7_VFD1 | SO0 | SPARE
UL6_8_VFD1 | I0 | UL6_8_DISC | DISCONNECT AUX
UL6_8_VFD1 | I1 | UL6_8_ENSH1 | SHAFT ENCODER
UL6_8_VFD1 | I2 | PS2_1_TPE3 | TRACKING PHOTOEYE
UL6_8_VFD1 | I3 | SPARE
UL6_8_VFD1 | IO0 | PS2_1_JR2_PB | JAM RESET PUSHBUTTON
UL6_8_VFD1 | IO1 | PS2_1_JR2_PB_LT | JAM RESET PUSHBUTTON LIGHT
UL6_8_VFD1 | SI0 | SPARE
UL6_8_VFD1 | SI1 | SPARE
UL6_8_VFD1 | SI2 | SPARE
UL6_8_VFD1 | SI3 | SPARE
UL6_8_VFD1 | SO0 | SPARE
SLOT5_IB16 | I0 | MCM02 | S_PBLT START
SLOT5_IB16 | I1 | MCM02 | ST_PB STOP
SLOT5_IB16 | I2 | MCM02 | MF_PBLT MOTOR FAULT RESET
SLOT5_IB16 | I3 | MCM02 | JR_PBLT JAM RESET
SLOT5_IB16 | I4 | MCM02 | LAP_PBLT LOW AIR PRESSURE
SLOT5_IB16 | I5 | MCM02 | PBFR_PBLT POWER BRANCH FAULT RESET
SLOT5_IB16 | I6 | MCM02 | BATTERY_FAULT_UPS BATTERY FAULT
SLOT5_IB16 | I7 | MCM02 | ON_BATTERY ON BATTERY
SLOT5_IB16 | I8 | MCM02 | UPS_BATTERY_LOW UPS BATTERY LOW
SLOT5_IB16 | I9 | MCM02 | NAT_SWITCH ALARM NAT SWITCH
SLOT5_IB16 | I10 | SPARE
SLOT5_IB16 | I11 | SPARE
SLOT5_IB16 | I12 | SPARE
SLOT5_IB16 | I13 | SPARE
SLOT5_IB16 | I14 | SPARE
SLOT5_IB16 | I15 | SPARE
SLOT6_OB16E | O0 | MCM02 | ES_LT EMERGENCY STOP ACTUATED
SLOT6_OB16E | O1 | MCM02 | S_PBLT START LIGHT
SLOT6_OB16E | O2 | MCM02 | MF_PBLT MOTOR FAULT LIGHT
SLOT6_OB16E | O3 | MCM02 | JR_PBLT JAM RESTART LIGHT
SLOT6_OB16E | O4 | MCM02 | LAP_PBLT LOW AIR PRESSURE LIGHT
SLOT6_OB16E | O5 | MCM02 | PBFR_PBLT POWER BRANCH FAULT RESET LIGHT
SLOT6_OB16E | O6 | SPARE
SLOT6_OB16E | O7 | SPARE
SLOT6_OB16E | O8 | SPARE
SLOT6_OB16E | O9 | SPARE
SLOT6_OB16E | O10 | SPARE
SLOT6_OB16E | O11 | SPARE
SLOT6_OB16E | O12 | SPARE
SLOT6_OB16E | O13 | SPARE
SLOT6_OB16E | O14 | SPARE
SLOT6_OB16E | O15 | SPARE
SLOT7_IB16S | I0 | MCM02 | FIRE_ALARM FIRE ALARM
SLOT7_IB16S | I1 | SPARE
SLOT7_IB16S | I2 | MCM02 | ES_PB ES_PB_CH1
SLOT7_IB16S | I3 | MCM02 | ES_PB ES_PB_CH2
SLOT7_IB16S | I4 | SPARE
SLOT7_IB16S | I5 | SPARE
SLOT7_IB16S | I6 | SPARE
SLOT7_IB16S | I7 | SPARE
SLOT7_IB16S | I8 | SPARE
SLOT7_IB16S | I9 | SPARE
SLOT7_IB16S | I10 | SPARE
SLOT7_IB16S | I11 | SPARE
SLOT7_IB16S | I12 | SPARE
SLOT7_IB16S | I13 | SPARE
SLOT7_IB16S | I14 | SPARE
SLOT7_IB16S | I15 | SPARE