## NETWORK_PLC
DPM | DPM_IP | Name | PartNumber | IP
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM1 | 5032-8IOLM12DR | 11.200.1.101
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM2 | 5032-8IOLM12DR | 11.200.1.102
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM3 | 5032-8IOLM12DR | 11.200.1.103
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM4 | 5032-8IOLM12DR | 11.200.1.104
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM5 | 5032-8IOLM12DR | 11.200.1.105
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM6 | 5032-8IOLM12DR | 11.200.1.106
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM7 | 5032-8IOLM12DR | 11.200.1.107
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM8 | 5032-8IOLM12DR | 11.200.1.108
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM9 | 5032-8IOLM12DR | 11.200.1.109
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM10 | 5032-8IOLM12DR | 11.200.1.110
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM11 | 5032-8IOLM12DR | 11.200.1.111
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM12 | 5032-8IOLM12DR | 11.200.1.112
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM13 | 5032-8IOLM12DR | 11.200.1.113
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM14 | 5032-8IOLM12DR | 11.200.1.114
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM15 | 5032-8IOLM12DR | 11.200.1.115
DPM01_VS01C | 11.200.1.2 | VS01C_FIOM16 | 5032-8IOLM12DR | 11.200.1.116
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM1 | 5032-8IOLM12DR | 11.200.1.121
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM2 | 5032-8IOLM12DR | 11.200.1.122
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM3 | 5032-8IOLM12DR | 11.200.1.123
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM4 | 5032-8IOLM12DR | 11.200.1.124
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM5 | 5032-8IOLM12DR | 11.200.1.125
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM6 | 5032-8IOLM12DR | 11.200.1.126
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM7 | 5032-8IOLM12DR | 11.200.1.127
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM8 | 5032-8IOLM12DR | 11.200.1.128
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM10 | 5032-8IOLM12DR | 11.200.1.129
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM11 | 5032-8IOLM12DR | 11.200.1.130
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM12 | 5032-8IOLM12DR | 11.200.1.131
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM13 | 5032-8IOLM12DR | 11.200.1.132
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM14 | 5032-8IOLM12DR | 11.200.1.133
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM15 | 5032-8IOLM12DR | 11.200.1.134
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM16 | 5032-8IOLM12DR | 11.200.1.135
DPM01_VS01B | 11.200.1.3 | VS01B_FIOM17 | 5032-8IOLM12DR | 11.200.1.136

## DESC_PLC
TAGNAME | TERM | DESCA | DESCB
VS01B_FIOH1 | IO00 | S012005_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH1 | IO01 | SPARE
VS01B_FIOH1 | IO14 | S012001_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH1 | IO03 | S012005_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH1 | IO04 | S012007_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH2 | IO14 | S012002_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH1 | IO07 | S012007_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH1 | IO08 | S012003_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH1 | IO09 | SPARE
VS01B_FIOH1 | IO10 | S012003_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH1 | IO11 | S012003_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH1 | IO12 | S012001_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH2 | IO10 | S012004_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH1 | IO15 | S012001_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH10 | IO00 | S012043_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH10 | IO01 | SPARE
VS01B_FIOH1 | IO02 | S012005_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH10 | IO03 | S012043_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH10 | IO04 | S012045_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH2 | IO02 | S012006_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH10 | IO07 | S012045_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH10 | IO08 | S012041_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH10 | IO09 | SPARE
VS01B_FIOH1 | IO06 | S012007_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH10 | IO11 | S012041_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH10 | IO12 | S012039_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH2 | IO06 | S012008_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH10 | IO15 | S012039_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH11 | IO00 | S012044_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH11 | IO01 | SPARE
VS01B_FIOH3 | IO14 | S012014_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH11 | IO03 | S012044_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH11 | IO04 | S012046_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH3 | IO10 | S012016_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH11 | IO07 | S012046_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH11 | IO08 | S012042_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH11 | IO09 | SPARE
VS01B_FIOH3 | IO02 | S012018_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH11 | IO11 | S012042_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH11 | IO12 | SPARE
VS01B_FIOH11 | IO14 | SPARE
VS01B_FIOH11 | IO15 | SPARE
VS01B_FIOH12 | IO00 | S012051_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH12 | IO01 | SPARE
VS01B_FIOH3 | IO06 | S012020_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH12 | IO03 | S012051_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH12 | IO04 | S012053_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH4 | IO14 | S012022_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH12 | IO07 | S012053_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH12 | IO08 | S012049_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH12 | IO09 | SPARE
VS01B_FIOH5 | IO14 | S012023_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH12 | IO11 | S012049_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH12 | IO12 | S012047_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH6 | IO14 | S012024_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH12 | IO15 | S012047_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH13 | IO00 | S012052_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH13 | IO01 | SPARE
VS01B_FIOH13 | IO02 | SPARE
VS01B_FIOH13 | IO03 | S012052_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH13 | IO04 | SPARE
VS01B_FIOH5 | IO10 | S012025_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH13 | IO07 | SPARE
VS01B_FIOH13 | IO08 | S012050_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH13 | IO09 | SPARE
VS01B_FIOH6 | IO10 | S012026_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH13 | IO11 | S012050_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH13 | IO12 | S012048_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH13 | IO13 | SPARE
VS01B_FIOH5 | IO02 | S012027_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH13 | IO15 | S012048_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH14 | IO00 | S012059_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO00 | S012059_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO01 | SPARE
VS01B_FIOH14 | IO01 | SPARE
VS01B_FIOH14 | IO02 | S012057_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH6 | IO02 | S012028_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH14 | IO03 | S012059_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH14 | IO03 | SPARE
VS01B_FIOH5 | IO06 | S012029_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH14 | IO04 | S012061_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH6 | IO06 | S012030_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH7 | IO14 | S012031_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH14 | IO07 | S012057_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH14 | IO07 | S012061_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH14 | IO08 | S012061_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO08 | S012057_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO09 | SPARE
VS01B_FIOH14 | IO09 | SPARE
VS01B_FIOH14 | IO10 | S012055_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH8 | IO14 | S012032_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH14 | IO11 | S012057_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH14 | IO11 | SPARE
VS01B_FIOH7 | IO10 | S012033_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH14 | IO12 | S012055_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH8 | IO10 | S012034_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH7 | IO02 | S012035_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH14 | IO15 | S012055_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH14 | IO15 | S012055_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH15 | IO00 | S012060_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH15 | IO01 | SPARE
VS01B_FIOH8 | IO02 | S012036_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH15 | IO03 | S012060_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH15 | IO04 | S012062_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH7 | IO06 | S012037_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH15 | IO07 | S012062_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH15 | IO08 | S012058_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH15 | IO09 | SPARE
VS01B_FIOH8 | IO06 | S012038_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH15 | IO11 | S012058_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH15 | IO12 | S012056_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH10 | IO14 | S012039_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH15 | IO15 | S012056_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH16 | IO00 | S012067_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH16 | IO01 | SPARE
VS01B_FIOH10 | IO10 | S012041_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH16 | IO03 | S012067_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH16 | IO04 | S012069_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH11 | IO10 | S012042_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH16 | IO07 | S012069_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH16 | IO08 | S012065_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH16 | IO09 | SPARE
VS01B_FIOH10 | IO02 | S012043_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH16 | IO11 | S012065_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH16 | IO12 | S012063_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH11 | IO02 | S012044_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH16 | IO15 | S012063_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH17 | IO00 | S012068_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH17 | IO01 | SPARE
VS01B_FIOH17 | IO02 | SPARE
VS01B_FIOH17 | IO03 | S012068_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH17 | IO04 | SPARE
VS01B_FIOH10 | IO06 | S012045_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH17 | IO07 | SPARE
VS01B_FIOH17 | IO08 | S012066_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH17 | IO09 | SPARE
VS01B_FIOH11 | IO06 | S012046_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH17 | IO11 | S012066_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH17 | IO12 | S012064_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH17 | IO13 | SPARE
VS01B_FIOH12 | IO14 | S012047_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH17 | IO15 | S012064_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH2 | IO00 | S012006_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH2 | IO01 | SPARE
VS01B_FIOH13 | IO14 | S012048_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH2 | IO03 | S012006_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH2 | IO04 | S012008_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH12 | IO10 | S012049_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH2 | IO07 | S012008_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH2 | IO08 | S012004_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH2 | IO09 | SPARE
VS01B_FIOH13 | IO10 | S012050_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH2 | IO11 | S012004_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH2 | IO12 | S012002_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH12 | IO02 | S012051_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH2 | IO15 | S012002_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH3 | IO00 | S012018_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH3 | IO01 | SPARE
VS01B_FIOH13 | IO06 | S012052_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH3 | IO03 | S012018_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH3 | IO04 | S012020_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH12 | IO06 | S012053_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH3 | IO07 | S012020_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH3 | IO08 | S012016_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH3 | IO09 | SPARE
VS01B_FIOH14 | IO14 | S012055_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH3 | IO11 | S012016_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH3 | IO12 | S012014_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO14 | S012055_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH3 | IO15 | S012014_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH4 | IO00 | SPARE
VS01B_FIOH4 | IO01 | SPARE
VS01B_FIOH4 | IO02 | SPARE
VS01B_FIOH4 | IO03 | SPARE
VS01B_FIOH4 | IO04 | SPARE
VS01B_FIOH4 | IO05 | SPARE
VS01B_FIOH4 | IO06 | SPARE
VS01B_FIOH4 | IO07 | SPARE
VS01B_FIOH4 | IO08 | SPARE
VS01B_FIOH4 | IO09 | SPARE
VS01B_FIOH4 | IO10 | SPARE
VS01B_FIOH4 | IO11 | SPARE
VS01B_FIOH4 | IO12 | S012022_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH4 | IO13 | SPARE
VS01B_FIOH15 | IO14 | S012056_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH4 | IO15 | S012022_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH5 | IO00 | S012027_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH5 | IO01 | SPARE
VS01B_FIOH14 | IO06 | S012057_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH5 | IO03 | S012027_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH5 | IO04 | S012029_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO10 | S012057_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH5 | IO07 | S012029_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH5 | IO08 | S012025_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH5 | IO09 | SPARE
VS01B_FIOH15 | IO10 | S012058_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH5 | IO11 | S012025_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH5 | IO12 | S012023_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO04 | S012059_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH5 | IO15 | S012023_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH6 | IO00 | S012028_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH6 | IO01 | SPARE
VS01B_FIOH14 | IO06 | S012059_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH6 | IO03 | S012028_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH6 | IO04 | S012030_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH15 | IO02 | S012060_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH6 | IO07 | S012030_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH6 | IO08 | S012026_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH6 | IO09 | SPARE
VS01B_FIOH14 | IO02 | S012061_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH6 | IO11 | S012026_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH6 | IO12 | S012024_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH14 | IO12 | S012061_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH6 | IO15 | S012024_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH7 | IO00 | S012035_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH7 | IO01 | SPARE
VS01B_FIOH15 | IO06 | S012062_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH7 | IO03 | S012035_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH7 | IO04 | S012037_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH16 | IO14 | S012063_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH7 | IO07 | S012037_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH7 | IO08 | S012033_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH7 | IO09 | SPARE
VS01B_FIOH17 | IO14 | S012064_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH7 | IO11 | S012033_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH7 | IO12 | S012031_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH16 | IO10 | S012065_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH7 | IO15 | S012031_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH8 | IO00 | S012036_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH8 | IO01 | SPARE
VS01B_FIOH17 | IO10 | S012066_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH8 | IO03 | S012036_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH8 | IO04 | S012038_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH16 | IO02 | S012067_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH8 | IO07 | S012038_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH8 | IO08 | S012034_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH8 | IO09 | SPARE
VS01B_FIOH17 | IO06 | S012068_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH8 | IO11 | S012034_PE3 | FULL PHOTOEYE 50%
VS01B_FIOH8 | IO12 | S012032_PE1 | FULL PHOTOEYE 100%
VS01B_FIOH16 | IO06 | S012069_PE2 | FULL PHOTOEYE 75%
VS01B_FIOH8 | IO15 | S012032_PE3 | FULL PHOTOEYE 50%
VS01B_FIOM1 | IO00 | S012003_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM1 | IO01 | SPARE
VS01B_FIOM1 | IO02 | S012001_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM1 | IO03 | SPARE
VS01B_FIOM1 | IO04 | S012001_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM1 | IO05 | S012001_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM1 | IO06 | SPARE
VS01B_FIOM1 | IO07 | SPARE
VS01B_FIOM1 | IO08 | S012005_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM1 | IO09 | SPARE
VS01B_FIOM1 | IO10 | S012007_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM1 | IO11 | SPARE
VS01B_FIOM1 | IO12 | VS01B_FIOH1 | FIO HUB
VS01B_FIOM1 | IO13 | SPARE
VS01B_FIOM1 | IO14 | SPARE
VS01B_FIOM1 | IO15 | SPARE
VS01B_FIOM10 | IO00 | S012041_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM10 | IO01 | SPARE
VS01B_FIOM10 | IO02 | S012039_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM10 | IO03 | SPARE
VS01B_FIOM10 | IO04 | S012039_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM10 | IO05 | S012039_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM10 | IO06 | SPARE
VS01B_FIOM10 | IO07 | SPARE
VS01B_FIOM10 | IO08 | S012043_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM10 | IO09 | SPARE
VS01B_FIOM10 | IO10 | S012045_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM10 | IO11 | SPARE
VS01B_FIOM10 | IO12 | VS01B_FIOH10 | FIO HUB
VS01B_FIOM10 | IO13 | SPARE
VS01B_FIOM10 | IO14 | SPARE
VS01B_FIOM10 | IO15 | SPARE
VS01B_FIOM11 | IO00 | S012044_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM11 | IO01 | SPARE
VS01B_FIOM11 | IO02 | S012046_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM11 | IO03 | SPARE
VS01B_FIOM11 | IO04 | SPARE
VS01B_FIOM11 | IO05 | SPARE
VS01B_FIOM11 | IO06 | SPARE
VS01B_FIOM11 | IO07 | SPARE
VS01B_FIOM11 | IO08 | S012042_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM11 | IO09 | SPARE
VS01B_FIOM11 | IO10 | SPARE
VS01B_FIOM11 | IO11 | SPARE
VS01B_FIOM11 | IO12 | VS01B_FIOH11 | FIO HUB
VS01B_FIOM11 | IO13 | SPARE
VS01B_FIOM11 | IO14 | SPARE
VS01B_FIOM11 | IO15 | SPARE
VS01B_FIOM12 | IO00 | S012049_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM12 | IO01 | SPARE
VS01B_FIOM12 | IO02 | S012047_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM12 | IO03 | SPARE
VS01B_FIOM12 | IO04 | S012047_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM12 | IO05 | S012047_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM12 | IO06 | SPARE
VS01B_FIOM12 | IO07 | SPARE
VS01B_FIOM12 | IO08 | S012051_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM12 | IO09 | SPARE
VS01B_FIOM12 | IO10 | S012053_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM12 | IO11 | SPARE
VS01B_FIOM12 | IO12 | VS01B_FIOH12 | FIO HUB
VS01B_FIOM12 | IO13 | SPARE
VS01B_FIOM12 | IO14 | SPARE
VS01B_FIOM12 | IO15 | SPARE
VS01B_FIOM13 | IO00 | S012052_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM13 | IO01 | SPARE
VS01B_FIOM13 | IO02 | SPARE
VS01B_FIOM13 | IO03 | SPARE
VS01B_FIOM13 | IO04 | S012048_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM13 | IO05 | S012048_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM13 | IO06 | SPARE
VS01B_FIOM13 | IO07 | SPARE
VS01B_FIOM13 | IO08 | S012050_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM13 | IO09 | SPARE
VS01B_FIOM13 | IO10 | S012048_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM13 | IO11 | SPARE
VS01B_FIOM13 | IO12 | VS01B_FIOH13 | FIO HUB
VS01B_FIOM13 | IO13 | SPARE
VS01B_FIOM13 | IO14 | SPARE
VS01B_FIOM13 | IO15 | SPARE
VS01B_FIOM14 | IO00 | S012057_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM14 | IO01 | SPARE
VS01B_FIOM14 | IO02 | S012055_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM14 | IO03 | SPARE
VS01B_FIOM14 | IO04 | S012055_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM14 | IO05 | S012055_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM14 | IO06 | SPARE
VS01B_FIOM14 | IO07 | SPARE
VS01B_FIOM14 | IO08 | S012059_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM14 | IO09 | SPARE
VS01B_FIOM14 | IO10 | S012061_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM14 | IO11 | SPARE
VS01B_FIOM14 | IO12 | VS01B_FIOH14 | FIO HUB
VS01B_FIOM14 | IO13 | SPARE
VS01B_FIOM14 | IO14 | SPARE
VS01B_FIOM14 | IO15 | SPARE
VS01B_FIOM15 | IO00 | S012060_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM15 | IO01 | SPARE
VS01B_FIOM15 | IO02 | S012062_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM15 | IO03 | SPARE
VS01B_FIOM15 | IO04 | S012056_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM15 | IO05 | S012056_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM15 | IO06 | SPARE
VS01B_FIOM15 | IO07 | SPARE
VS01B_FIOM15 | IO08 | S012058_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM15 | IO09 | SPARE
VS01B_FIOM15 | IO10 | S012056_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM15 | IO11 | SPARE
VS01B_FIOM15 | IO12 | VS01B_FIOH15 | FIO HUB
VS01B_FIOM15 | IO13 | SPARE
VS01B_FIOM15 | IO14 | SPARE
VS01B_FIOM15 | IO15 | SPARE
VS01B_FIOM16 | IO00 | S012065_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM16 | IO01 | SPARE
VS01B_FIOM16 | IO02 | S012063_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM16 | IO03 | SPARE
VS01B_FIOM16 | IO04 | S012063_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM16 | IO05 | S012063_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM16 | IO06 | SPARE
VS01B_FIOM16 | IO07 | SPARE
VS01B_FIOM16 | IO08 | S012067_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM16 | IO09 | SPARE
VS01B_FIOM16 | IO10 | S012069_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM16 | IO11 | SPARE
VS01B_FIOM16 | IO12 | VS01B_FIOH16 | FIO HUB
VS01B_FIOM16 | IO13 | SPARE
VS01B_FIOM16 | IO14 | SPARE
VS01B_FIOM16 | IO15 | SPARE
VS01B_FIOM17 | IO00 | S012068_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM17 | IO01 | SPARE
VS01B_FIOM17 | IO02 | SPARE
VS01B_FIOM17 | IO03 | SPARE
VS01B_FIOM17 | IO04 | S012064_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM17 | IO05 | S012064_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM17 | IO06 | SPARE
VS01B_FIOM17 | IO07 | SPARE
VS01B_FIOM17 | IO08 | S012066_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM17 | IO09 | SPARE
VS01B_FIOM17 | IO10 | S012064_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM17 | IO11 | SPARE
VS01B_FIOM17 | IO12 | VS01B_FIOH17 | FIO HUB
VS01B_FIOM17 | IO13 | SPARE
VS01B_FIOM17 | IO14 | SPARE
VS01B_FIOM17 | IO15 | SPARE
VS01B_FIOM2 | IO00 | S012006_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM2 | IO01 | SPARE
VS01B_FIOM2 | IO02 | S012008_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM2 | IO03 | SPARE
VS01B_FIOM2 | IO04 | S012002_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM2 | IO05 | S012002_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM2 | IO06 | SPARE
VS01B_FIOM2 | IO07 | SPARE
VS01B_FIOM2 | IO08 | S012004_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM2 | IO09 | SPARE
VS01B_FIOM2 | IO10 | S012002_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM2 | IO11 | SPARE
VS01B_FIOM2 | IO12 | VS01B_FIOH2 | FIO HUB
VS01B_FIOM2 | IO13 | SPARE
VS01B_FIOM2 | IO14 | SPARE
VS01B_FIOM2 | IO15 | SPARE
VS01B_FIOM3 | IO00 | S012018_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM3 | IO01 | SPARE
VS01B_FIOM3 | IO02 | S012020_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM3 | IO03 | SPARE
VS01B_FIOM3 | IO04 | S012014_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM3 | IO05 | S012014_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM3 | IO06 | SPARE
VS01B_FIOM3 | IO07 | SPARE
VS01B_FIOM3 | IO08 | S012016_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM3 | IO09 | SPARE
VS01B_FIOM3 | IO10 | S012014_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM3 | IO11 | SPARE
VS01B_FIOM3 | IO12 | VS01B_FIOH3 | FIO HUB
VS01B_FIOM3 | IO13 | SPARE
VS01B_FIOM3 | IO14 | SPARE
VS01B_FIOM3 | IO15 | SPARE
VS01B_FIOM4 | IO00 | SPARE
VS01B_FIOM4 | IO01 | SPARE
VS01B_FIOM4 | IO02 | SPARE
VS01B_FIOM4 | IO03 | SPARE
VS01B_FIOM4 | IO04 | S012022_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM4 | IO05 | S012022_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM4 | IO06 | SPARE
VS01B_FIOM4 | IO07 | SPARE
VS01B_FIOM4 | IO08 | SPARE
VS01B_FIOM4 | IO09 | SPARE
VS01B_FIOM4 | IO10 | S012022_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM4 | IO11 | SPARE
VS01B_FIOM4 | IO12 | VS01B_FIOH4 | FIO HUB
VS01B_FIOM4 | IO13 | SPARE
VS01B_FIOM4 | IO14 | SPARE
VS01B_FIOM4 | IO15 | SPARE
VS01B_FIOM5 | IO00 | S012025_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM5 | IO01 | SPARE
VS01B_FIOM5 | IO02 | S012023_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM5 | IO03 | SPARE
VS01B_FIOM5 | IO04 | S012023_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM5 | IO05 | S012023_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM5 | IO06 | SPARE
VS01B_FIOM5 | IO07 | SPARE
VS01B_FIOM5 | IO08 | S012027_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM5 | IO09 | SPARE
VS01B_FIOM5 | IO10 | S012029_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM5 | IO11 | SPARE
VS01B_FIOM5 | IO12 | VS01B_FIOH5 | FIO HUB
VS01B_FIOM5 | IO13 | SPARE
VS01B_FIOM5 | IO14 | SPARE
VS01B_FIOM5 | IO15 | SPARE
VS01B_FIOM6 | IO00 | S012028_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM6 | IO01 | SPARE
VS01B_FIOM6 | IO02 | S012030_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM6 | IO03 | SPARE
VS01B_FIOM6 | IO04 | S012024_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM6 | IO05 | S012024_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM6 | IO06 | SPARE
VS01B_FIOM6 | IO07 | SPARE
VS01B_FIOM6 | IO08 | S012026_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM6 | IO09 | SPARE
VS01B_FIOM6 | IO10 | S012024_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM6 | IO11 | SPARE
VS01B_FIOM6 | IO12 | VS01B_FIOH6 | FIO HUB
VS01B_FIOM6 | IO13 | SPARE
VS01B_FIOM6 | IO14 | SPARE
VS01B_FIOM6 | IO15 | SPARE
VS01B_FIOM7 | IO00 | S012033_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM7 | IO01 | SPARE
VS01B_FIOM7 | IO02 | S012031_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM7 | IO03 | SPARE
VS01B_FIOM7 | IO04 | S012031_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM7 | IO05 | S012031_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM7 | IO06 | SPARE
VS01B_FIOM7 | IO07 | SPARE
VS01B_FIOM7 | IO08 | S012035_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM7 | IO09 | SPARE
VS01B_FIOM7 | IO10 | S012037_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM7 | IO11 | SPARE
VS01B_FIOM7 | IO12 | VS01B_FIOH7 | FIO HUB
VS01B_FIOM7 | IO13 | SPARE
VS01B_FIOM7 | IO14 | SPARE
VS01B_FIOM7 | IO15 | SPARE
VS01B_FIOM8 | IO00 | S012036_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM8 | IO01 | SPARE
VS01B_FIOM8 | IO02 | S012038_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM8 | IO03 | SPARE
VS01B_FIOM8 | IO04 | S012032_JR1_PB | JAM RESET PUSHBUTTON
VS01B_FIOM8 | IO05 | S012032_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01B_FIOM8 | IO06 | SPARE
VS01B_FIOM8 | IO07 | SPARE
VS01B_FIOM8 | IO08 | S012034_BCN1 | 2 STACK IOLINK BEACON
VS01B_FIOM8 | IO09 | SPARE
VS01B_FIOM8 | IO10 | S012032_BCN1 | 3 STACK IOLINK BEACON
VS01B_FIOM8 | IO11 | SPARE
VS01B_FIOM8 | IO12 | VS01B_FIOH8 | FIO HUB
VS01B_FIOM8 | IO13 | SPARE
VS01B_FIOM8 | IO14 | SPARE
VS01B_FIOM8 | IO15 | SPARE
VS01C_FIOH1 | IO00 | S013005_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH1 | IO01 | SPARE
VS01C_FIOH1 | IO14 | S013001_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH1 | IO03 | S013005_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH1 | IO04 | S013007_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH1 | IO10 | S013003_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH1 | IO07 | S013007_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH1 | IO08 | S013003_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH1 | IO09 | SPARE
VS01C_FIOH2 | IO10 | S013004_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH1 | IO11 | S013003_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH1 | IO12 | S013001_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH1 | IO02 | S013005_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH1 | IO15 | S013001_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH10 | IO00 | S013038_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH10 | IO01 | SPARE
VS01C_FIOH2 | IO02 | S013006_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH10 | IO03 | S013038_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH10 | IO04 | S013040_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH1 | IO06 | S013007_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH10 | IO07 | S013040_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH10 | IO08 | S013036_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH10 | IO09 | SPARE
VS01C_FIOH2 | IO06 | S013008_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH10 | IO11 | S013036_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH10 | IO12 | S013034_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH3 | IO14 | S013009_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH10 | IO15 | S013034_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH11 | IO00 | S013045_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH11 | IO01 | SPARE
VS01C_FIOH4 | IO14 | S013010_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH11 | IO03 | S013045_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH11 | IO04 | S013047_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH3 | IO10 | S013011_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH11 | IO07 | S013047_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH11 | IO08 | S013043_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH11 | IO09 | SPARE
VS01C_FIOH4 | IO10 | S013012_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH11 | IO11 | S013043_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH11 | IO12 | S013041_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH3 | IO02 | S013013_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH11 | IO15 | S013041_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH12 | IO00 | SPARE
VS01C_FIOH12 | IO01 | SPARE
VS01C_FIOH4 | IO06 | S013014_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH12 | IO03 | SPARE
VS01C_FIOH12 | IO04 | S013048_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH12 | IO05 | SPARE
VS01C_FIOH12 | IO06 | SPARE
VS01C_FIOH12 | IO07 | S013048_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH12 | IO08 | S013044_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH12 | IO09 | SPARE
VS01C_FIOH3 | IO06 | S013015_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH12 | IO11 | S013044_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH12 | IO12 | S013042_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH5 | IO14 | S013017_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH12 | IO15 | S013042_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH13 | IO00 | S013053_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH13 | IO01 | SPARE
VS01C_FIOH6 | IO14 | S013018_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH13 | IO03 | S013053_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH13 | IO04 | S013055_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH5 | IO10 | S013019_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH13 | IO07 | S013055_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH13 | IO08 | S013051_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH13 | IO09 | SPARE
VS01C_FIOH6 | IO10 | S013020_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH13 | IO11 | S013051_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH13 | IO12 | S013049_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH5 | IO02 | S013021_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH13 | IO15 | S013049_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH14 | IO00 | S013054_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH14 | IO01 | SPARE
VS01C_FIOH6 | IO02 | S013022_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH14 | IO03 | S013054_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH14 | IO04 | S013056_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH5 | IO06 | S013023_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH14 | IO07 | S013056_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH14 | IO08 | S013052_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH14 | IO09 | SPARE
VS01C_FIOH6 | IO06 | S013024_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH14 | IO11 | S013052_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH14 | IO12 | S013050_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH7 | IO14 | S013025_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH14 | IO15 | S013050_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH15 | IO00 | S013061_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH15 | IO01 | SPARE
VS01C_FIOH8 | IO14 | S013026_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH15 | IO03 | S013061_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH15 | IO04 | S013063_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH7 | IO10 | S013027_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH15 | IO07 | S013063_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH15 | IO08 | S013059_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH15 | IO09 | SPARE
VS01C_FIOH8 | IO10 | S013028_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH15 | IO11 | S013059_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH15 | IO12 | S013057_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH7 | IO02 | S013029_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH15 | IO15 | S013057_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH16 | IO00 | S013062_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH16 | IO01 | SPARE
VS01C_FIOH7 | IO06 | S013031_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH16 | IO03 | S013062_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH16 | IO04 | S013064_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH8 | IO02 | S013032_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH16 | IO07 | S013064_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH16 | IO08 | SPARE
VS01C_FIOH16 | IO09 | SPARE
VS01C_FIOH16 | IO10 | SPARE
VS01C_FIOH16 | IO11 | SPARE
VS01C_FIOH16 | IO12 | S013058_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH9 | IO14 | S013033_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH16 | IO15 | S013058_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH2 | IO00 | S013006_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH2 | IO01 | SPARE
VS01C_FIOH10 | IO14 | S013034_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH2 | IO03 | S013006_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH2 | IO04 | S013008_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH9 | IO10 | S013035_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH2 | IO07 | S013008_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH2 | IO08 | S013004_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH2 | IO09 | SPARE
VS01C_FIOH10 | IO10 | S013036_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH2 | IO11 | S013004_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH2 | IO12 | SPARE
VS01C_FIOH2 | IO14 | SPARE
VS01C_FIOH2 | IO15 | SPARE
VS01C_FIOH3 | IO00 | S013013_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH3 | IO01 | SPARE
VS01C_FIOH9 | IO02 | S013037_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH3 | IO03 | S013013_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH3 | IO04 | S013015_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH10 | IO02 | S013038_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH3 | IO07 | S013015_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH3 | IO08 | S013011_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH3 | IO09 | SPARE
VS01C_FIOH9 | IO06 | S013039_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH3 | IO11 | S013011_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH3 | IO12 | S013009_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH10 | IO06 | S013040_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH3 | IO15 | S013009_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH4 | IO00 | S013014_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH4 | IO01 | SPARE
VS01C_FIOH4 | IO02 | SPARE
VS01C_FIOH4 | IO03 | S013014_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH4 | IO04 | SPARE
VS01C_FIOH11 | IO14 | S013041_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH4 | IO07 | SPARE
VS01C_FIOH4 | IO08 | S013012_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH4 | IO09 | SPARE
VS01C_FIOH12 | IO14 | S013042_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH4 | IO11 | S013012_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH4 | IO12 | S013010_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH4 | IO13 | SPARE
VS01C_FIOH11 | IO10 | S013043_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH4 | IO15 | S013010_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH5 | IO00 | S013021_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH5 | IO01 | SPARE
VS01C_FIOH12 | IO10 | S013044_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH5 | IO03 | S013021_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH5 | IO04 | S013023_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH11 | IO02 | S013045_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH5 | IO07 | S013023_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH5 | IO08 | S013019_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH5 | IO09 | SPARE
VS01C_FIOH11 | IO06 | S013047_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH5 | IO11 | S013019_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH5 | IO12 | S013017_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH12 | IO02 | S013048_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH5 | IO15 | S013017_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH6 | IO00 | S013022_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH6 | IO01 | SPARE
VS01C_FIOH13 | IO14 | S013049_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH6 | IO03 | S013022_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH6 | IO04 | S013024_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH14 | IO14 | S013050_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH6 | IO07 | S013024_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH6 | IO08 | S013020_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH6 | IO09 | SPARE
VS01C_FIOH13 | IO10 | S013051_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH6 | IO11 | S013020_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH6 | IO12 | S013018_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH14 | IO10 | S013052_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH6 | IO15 | S013018_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH7 | IO00 | S013029_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH7 | IO01 | SPARE
VS01C_FIOH13 | IO02 | S013053_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH7 | IO03 | S013029_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH7 | IO04 | S013031_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH14 | IO02 | S013054_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH7 | IO07 | S013031_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH7 | IO08 | S013027_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH7 | IO09 | SPARE
VS01C_FIOH13 | IO06 | S013055_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH7 | IO11 | S013027_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH7 | IO12 | S013025_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH14 | IO06 | S013056_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH7 | IO15 | S013025_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH8 | IO00 | SPARE
VS01C_FIOH8 | IO01 | SPARE
VS01C_FIOH15 | IO14 | S013057_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH8 | IO03 | SPARE
VS01C_FIOH8 | IO04 | S013032_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH8 | IO05 | SPARE
VS01C_FIOH8 | IO06 | SPARE
VS01C_FIOH8 | IO07 | S013032_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH8 | IO08 | S013028_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH8 | IO09 | SPARE
VS01C_FIOH16 | IO14 | S013058_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH8 | IO11 | S013028_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH8 | IO12 | S013026_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH15 | IO10 | S013059_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH8 | IO15 | S013026_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH9 | IO00 | S013037_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH9 | IO01 | SPARE
VS01C_FIOH15 | IO02 | S013061_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH9 | IO03 | S013037_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH9 | IO04 | S013039_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH16 | IO02 | S013062_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH9 | IO07 | S013039_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH9 | IO08 | S013035_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH9 | IO09 | SPARE
VS01C_FIOH15 | IO06 | S013063_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH9 | IO11 | S013035_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH9 | IO12 | S013033_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH16 | IO06 | S013064_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH9 | IO15 | S013033_PE3 | FULL PHOTOEYE 50%
VS01C_FIOM1 | IO00 | S013003_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM1 | IO01 | SPARE
VS01C_FIOM1 | IO02 | S013001_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM1 | IO03 | SPARE
VS01C_FIOM1 | IO04 | S013001_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM1 | IO05 | S013001_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM1 | IO06 | SPARE
VS01C_FIOM1 | IO07 | SPARE
VS01C_FIOM1 | IO08 | S013005_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM1 | IO09 | SPARE
VS01C_FIOM1 | IO10 | S013007_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM1 | IO11 | SPARE
VS01C_FIOM1 | IO12 | VS01C_FIOH1 | FIO HUB
VS01C_FIOM1 | IO13 | SPARE
VS01C_FIOM1 | IO14 | SPARE
VS01C_FIOM1 | IO15 | SPARE
VS01C_FIOM10 | IO00 | S013038_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM10 | IO01 | SPARE
VS01C_FIOM10 | IO02 | S013040_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM10 | IO03 | SPARE
VS01C_FIOM10 | IO04 | S013034_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM10 | IO05 | S013034_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM10 | IO06 | SPARE
VS01C_FIOM10 | IO07 | SPARE
VS01C_FIOM10 | IO08 | S013036_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM10 | IO09 | SPARE
VS01C_FIOM10 | IO10 | S013034_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM10 | IO11 | SPARE
VS01C_FIOM10 | IO12 | VS01C_FIOH10 | FIO HUB
VS01C_FIOM10 | IO13 | SPARE
VS01C_FIOM10 | IO14 | SPARE
VS01C_FIOM10 | IO15 | SPARE
VS01C_FIOM11 | IO00 | S013043_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM11 | IO01 | SPARE
VS01C_FIOM11 | IO02 | S013041_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM11 | IO03 | SPARE
VS01C_FIOM11 | IO04 | S013041_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM11 | IO05 | S013041_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM11 | IO06 | SPARE
VS01C_FIOM11 | IO07 | SPARE
VS01C_FIOM11 | IO08 | S013045_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM11 | IO09 | SPARE
VS01C_FIOM11 | IO10 | S013047_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM11 | IO11 | SPARE
VS01C_FIOM11 | IO12 | VS01C_FIOH11 | FIO HUB
VS01C_FIOM11 | IO13 | SPARE
VS01C_FIOM11 | IO14 | SPARE
VS01C_FIOM11 | IO15 | SPARE
VS01C_FIOM12 | IO00 | SPARE
VS01C_FIOM12 | IO01 | SPARE
VS01C_FIOM12 | IO02 | S013048_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM12 | IO03 | SPARE
VS01C_FIOM12 | IO04 | S013042_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM12 | IO05 | S013042_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM12 | IO06 | SPARE
VS01C_FIOM12 | IO07 | SPARE
VS01C_FIOM12 | IO08 | S013044_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM12 | IO09 | SPARE
VS01C_FIOM12 | IO10 | S013042_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM12 | IO11 | SPARE
VS01C_FIOM12 | IO12 | VS01C_FIOH12 | FIO HUB
VS01C_FIOM12 | IO13 | SPARE
VS01C_FIOM12 | IO14 | SPARE
VS01C_FIOM12 | IO15 | SPARE
VS01C_FIOM13 | IO00 | S013051_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM13 | IO01 | SPARE
VS01C_FIOM13 | IO02 | S013049_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM13 | IO03 | SPARE
VS01C_FIOM13 | IO04 | S013049_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM13 | IO05 | S013049_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM13 | IO06 | SPARE
VS01C_FIOM13 | IO07 | SPARE
VS01C_FIOM13 | IO08 | S013053_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM13 | IO09 | SPARE
VS01C_FIOM13 | IO10 | S013055_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM13 | IO11 | SPARE
VS01C_FIOM13 | IO12 | VS01C_FIOH13 | FIO HUB
VS01C_FIOM13 | IO13 | SPARE
VS01C_FIOM13 | IO14 | SPARE
VS01C_FIOM13 | IO15 | SPARE
VS01C_FIOM14 | IO00 | S013054_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM14 | IO01 | SPARE
VS01C_FIOM14 | IO02 | S013056_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM14 | IO03 | SPARE
VS01C_FIOM14 | IO04 | S013050_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM14 | IO05 | S013050_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM14 | IO06 | SPARE
VS01C_FIOM14 | IO07 | SPARE
VS01C_FIOM14 | IO08 | S013052_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM14 | IO09 | SPARE
VS01C_FIOM14 | IO10 | S013050_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM14 | IO11 | SPARE
VS01C_FIOM14 | IO12 | VS01C_FIOH14 | FIO HUB
VS01C_FIOM14 | IO13 | SPARE
VS01C_FIOM14 | IO14 | SPARE
VS01C_FIOM14 | IO15 | SPARE
VS01C_FIOM15 | IO00 | S013059_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM15 | IO00 | S013059_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM15 | IO01 | SPARE
VS01C_FIOM15 | IO01 | SPARE
VS01C_FIOM15 | IO02 | S013057_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM15 | IO02 | S013057_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM15 | IO03 | SPARE
VS01C_FIOM15 | IO03 | SPARE
VS01C_FIOM15 | IO04 | S013057_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM15 | IO04 | S013057_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM15 | IO05 | S013057_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM15 | IO05 | SPARE
VS01C_FIOM15 | IO06 | SPARE
VS01C_FIOM15 | IO06 | SPARE
VS01C_FIOM15 | IO07 | SPARE
VS01C_FIOM15 | IO07 | SPARE
VS01C_FIOM15 | IO08 | S013061_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM15 | IO08 | S013061_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM15 | IO09 | SPARE
VS01C_FIOM15 | IO09 | SPARE
VS01C_FIOM15 | IO10 | S013063_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM15 | IO10 | S013063_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM15 | IO11 | SPARE
VS01C_FIOM15 | IO11 | SPARE
VS01C_FIOM15 | IO12 | VS01C_FIOH15 | FIO HUB
VS01C_FIOM15 | IO12 | VS01C_FIOH15 | FIO HUB
VS01C_FIOM15 | IO13 | SPARE
VS01C_FIOM15 | IO13 | SPARE
VS01C_FIOM15 | IO14 | SPARE
VS01C_FIOM15 | IO14 | SPARE
VS01C_FIOM15 | IO15 | SPARE
VS01C_FIOM15 | IO15 | SPARE
VS01C_FIOM16 | IO00 | S013062_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM16 | IO01 | SPARE
VS01C_FIOM16 | IO02 | S013064_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM16 | IO03 | SPARE
VS01C_FIOM16 | IO04 | S013058_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM16 | IO05 | S013058_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM16 | IO06 | SPARE
VS01C_FIOM16 | IO07 | SPARE
VS01C_FIOM16 | IO08 | SPARE
VS01C_FIOM16 | IO09 | SPARE
VS01C_FIOM16 | IO10 | S013080_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM16 | IO11 | SPARE
VS01C_FIOM16 | IO12 | VS01C_FIOH16 | FIO HUB
VS01C_FIOM16 | IO13 | SPARE
VS01C_FIOM16 | IO14 | SPARE
VS01C_FIOM16 | IO15 | SPARE
VS01C_FIOM2 | IO00 | S013006_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM2 | IO01 | SPARE
VS01C_FIOM2 | IO02 | S013008_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM2 | IO03 | SPARE
VS01C_FIOM2 | IO04 | SPARE
VS01C_FIOM2 | IO05 | SPARE
VS01C_FIOM2 | IO06 | SPARE
VS01C_FIOM2 | IO07 | SPARE
VS01C_FIOM2 | IO08 | S013004_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM2 | IO09 | SPARE
VS01C_FIOM2 | IO10 | SPARE
VS01C_FIOM2 | IO11 | SPARE
VS01C_FIOM2 | IO12 | VS01C_FIOH2 | FIO HUB
VS01C_FIOM2 | IO13 | SPARE
VS01C_FIOM2 | IO14 | SPARE
VS01C_FIOM2 | IO15 | SPARE
VS01C_FIOM3 | IO00 | S013011_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM3 | IO01 | SPARE
VS01C_FIOM3 | IO02 | S013009_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM3 | IO03 | SPARE
VS01C_FIOM3 | IO04 | S013009_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM3 | IO05 | S013009_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM3 | IO06 | SPARE
VS01C_FIOM3 | IO07 | SPARE
VS01C_FIOM3 | IO08 | S013013_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM3 | IO09 | SPARE
VS01C_FIOM3 | IO10 | S013015_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM3 | IO11 | SPARE
VS01C_FIOM3 | IO12 | VS01C_FIOH3 | FIO HUB
VS01C_FIOM3 | IO13 | SPARE
VS01C_FIOM3 | IO14 | SPARE
VS01C_FIOM3 | IO15 | SPARE
VS01C_FIOM4 | IO00 | S013014_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM4 | IO01 | SPARE
VS01C_FIOM4 | IO02 | SPARE
VS01C_FIOM4 | IO03 | SPARE
VS01C_FIOM4 | IO04 | S013010_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM4 | IO05 | S013010_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM4 | IO06 | SPARE
VS01C_FIOM4 | IO07 | SPARE
VS01C_FIOM4 | IO08 | S013012_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM4 | IO09 | SPARE
VS01C_FIOM4 | IO10 | S013010_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM4 | IO11 | SPARE
VS01C_FIOM4 | IO12 | VS01C_FIOH4 | FIO HUB
VS01C_FIOM4 | IO13 | SPARE
VS01C_FIOM4 | IO14 | SPARE
VS01C_FIOM4 | IO15 | SPARE
VS01C_FIOM5 | IO00 | S013019_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM5 | IO01 | SPARE
VS01C_FIOM5 | IO02 | S013017_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM5 | IO03 | SPARE
VS01C_FIOM5 | IO04 | S013017_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM5 | IO05 | S013017_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM5 | IO06 | SPARE
VS01C_FIOM5 | IO07 | SPARE
VS01C_FIOM5 | IO08 | S013021_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM5 | IO09 | SPARE
VS01C_FIOM5 | IO10 | S013023_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM5 | IO11 | SPARE
VS01C_FIOM5 | IO12 | VS01C_FIOH5 | FIO HUB
VS01C_FIOM5 | IO13 | SPARE
VS01C_FIOM5 | IO14 | SPARE
VS01C_FIOM5 | IO15 | SPARE
VS01C_FIOM6 | IO00 | S013022_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM6 | IO01 | SPARE
VS01C_FIOM6 | IO02 | S013024_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM6 | IO03 | SPARE
VS01C_FIOM6 | IO04 | S013018_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM6 | IO05 | S013018_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM6 | IO06 | SPARE
VS01C_FIOM6 | IO07 | SPARE
VS01C_FIOM6 | IO08 | S013020_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM6 | IO09 | SPARE
VS01C_FIOM6 | IO10 | S013018_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM6 | IO11 | SPARE
VS01C_FIOM6 | IO12 | VS01C_FIOH6 | FIO HUB
VS01C_FIOM6 | IO13 | SPARE
VS01C_FIOM6 | IO14 | SPARE
VS01C_FIOM6 | IO15 | SPARE
VS01C_FIOM7 | IO00 | S013027_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM7 | IO01 | SPARE
VS01C_FIOM7 | IO02 | S013025_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM7 | IO03 | SPARE
VS01C_FIOM7 | IO04 | S013025_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM7 | IO05 | S013025_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM7 | IO06 | SPARE
VS01C_FIOM7 | IO07 | SPARE
VS01C_FIOM7 | IO08 | S013029_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM7 | IO09 | SPARE
VS01C_FIOM7 | IO10 | S013031_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM7 | IO11 | SPARE
VS01C_FIOM7 | IO12 | VS01C_FIOH7 | FIO HUB
VS01C_FIOM7 | IO13 | SPARE
VS01C_FIOM7 | IO14 | SPARE
VS01C_FIOM7 | IO15 | SPARE
VS01C_FIOM8 | IO00 | SPARE
VS01C_FIOM8 | IO01 | SPARE
VS01C_FIOM8 | IO02 | S013032_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM8 | IO03 | SPARE
VS01C_FIOM8 | IO04 | S013026_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM8 | IO05 | S013026_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM8 | IO06 | SPARE
VS01C_FIOM8 | IO07 | SPARE
VS01C_FIOM8 | IO08 | S013028_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM8 | IO09 | SPARE
VS01C_FIOM8 | IO10 | S013026_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM8 | IO11 | SPARE
VS01C_FIOM8 | IO12 | VS01C_FIOH8 | FIO HUB
VS01C_FIOM8 | IO13 | SPARE
VS01C_FIOM8 | IO14 | SPARE
VS01C_FIOM8 | IO15 | SPARE
VS01C_FIOM9 | IO00 | S013035_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM9 | IO01 | SPARE
VS01C_FIOM9 | IO02 | S013033_BCN1 | 3 STACK IOLINK BEACON
VS01C_FIOM9 | IO03 | SPARE
VS01C_FIOM9 | IO04 | S013033_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM9 | IO05 | S013033_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM9 | IO06 | SPARE
VS01C_FIOM9 | IO07 | SPARE
VS01C_FIOM9 | IO08 | S013037_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM9 | IO09 | SPARE
VS01C_FIOM9 | IO10 | S013039_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM9 | IO11 | SPARE
VS01C_FIOM9 | IO12 | VS01C_FIOH9 | FIO HUB
VS01C_FIOM9 | IO13 | SPARE
VS01C_FIOM9 | IO14 | SPARE
VS01C_FIOM9 | IO15 | SPARE
SLOT5_IB16 | I0 | MCM05 | S_PBLT START
SLOT5_IB16 | I1 | MCM05 | ST_PB STOP
SLOT5_IB16 | I2 | MCM05 | MF_PBLT MOTOR FAULT RESET
SLOT5_IB16 | I3 | MCM05 | JR_PBLT JAM RESET
SLOT5_IB16 | I4 | MCM05 | LAP_PBLT LOW AIR PRESSURE
SLOT5_IB16 | I5 | MCM05 | PBFR_PBLT POWER BRANCH FAULT RESET
SLOT5_IB16 | I6 | MCM05 | BATTERY_FAULT_UPS BATTERY FAULT
SLOT5_IB16 | I7 | MCM05 | ON_BATTERY ON BATTERY
SLOT5_IB16 | I8 | MCM05 | UPS_BATTERY_LOW UPS BATTERY LOW
SLOT5_IB16 | I9 | MCM05 | NAT_SWITCH ALARM NAT SWITCH
SLOT5_IB16 | I10 | SPARE
SLOT5_IB16 | I11 | SPARE
SLOT5_IB16 | I12 | SPARE
SLOT5_IB16 | I13 | SPARE
SLOT5_IB16 | I14 | SPARE
SLOT5_IB16 | I15 | SPARE
SLOT6_OB16E | O0 | MCM05 | ES_LT EMERGENCY STOP ACTUATED
SLOT6_OB16E | O1 | MCM05 | S_PBLT START LIGHT
SLOT6_OB16E | O2 | MCM05 | MF_PBLT MOTOR FAULT LIGHT
SLOT6_OB16E | O3 | MCM05 | JR_PBLT JAM RESTART LIGHT
SLOT6_OB16E | O4 | MCM05 | LAP_PBLT LOW AIR PRESSURE LIGHT
SLOT6_OB16E | O5 | MCM05 | PBFR_PBLT POWER BRANCH FAULT RESET LIGHT
SLOT6_OB16E | O6 | SPARE
SLOT6_OB16E | O7 | SPARE
SLOT6_OB16E | O8 | SPARE
SLOT6_OB16E | O9 | SPARE
SLOT6_OB16E | O10 | SPARE
SLOT6_OB16E | O11 | SPARE
SLOT6_OB16E | O12 | SPARE
SLOT6_OB16E | O13 | SPARE
SLOT6_OB16E | O14 | SPARE
SLOT6_OB16E | O15 | SPARE
SLOT7_IB16S | I0 | MCM05 | FIRE_ALARM FIRE ALARM
SLOT7_IB16S | I1 | SPARE
SLOT7_IB16S | I2 | MCM05 | ES_PB ES_PB_CH1
SLOT7_IB16S | I3 | MCM05 | ES_PB ES_PB_CH2
SLOT7_IB16S | I4 | SPARE
SLOT7_IB16S | I5 | SPARE
SLOT7_IB16S | I6 | SPARE
SLOT7_IB16S | I7 | SPARE
SLOT7_IB16S | I8 | SPARE
SLOT7_IB16S | I9 | SPARE
SLOT7_IB16S | I10 | SPARE
SLOT7_IB16S | I11 | SPARE
SLOT7_IB16S | I12 | SPARE
SLOT7_IB16S | I13 | SPARE
SLOT7_IB16S | I14 | SPARE
SLOT7_IB16S | I15 | SPARE