## DESC_PLC
TAGNAME | TERM | DESCA | DESCB
ULC1_10_VFD1 | I0 | ULC1_10_DISC | DISCONNECT AUX
ULC1_10_VFD1 | I1 | ULC1_10_ENSH1 | SHAFT ENCODER
ULC1_10_VFD1 | I2 | ULC1_10_TPE1 | TRACKING PHOTOEYE
ULC1_10_VFD1 | I3 | ULC1_10_TPE2 | TRACKING PHOTOEYE
ULC1_10_VFD1 | IO0 | UCL1_12_S2_PB | START PUSHBUTTON
ULC1_10_VFD1 | IO1 | UCL1_12_S2_PB_LT | START PUSHBUTTON LIGHT
ULC1_10_VFD1 | SI0 | SPARE
ULC1_10_VFD1 | SI1 | SPARE
ULC1_10_VFD1 | SI2 | SPARE
ULC1_10_VFD1 | SI3 | SPARE
ULC1_10_VFD1 | SO0 | SPARE
ULC1_11_VFD1 | I0 | ULC1_11_DISC | DISCONNECT AUX
ULC1_11_VFD1 | I1 | ULC1_11_ENSH1 | SHAFT ENCODER
ULC1_11_VFD1 | I2 | ULC1_11_TPE1 | TRACKING PHOTOEYE
ULC1_11_VFD1 | I3 | SPARE
ULC1_11_VFD1 | IO0 | UCL1_12_BCN1_R | RED BEACON LIGHT
ULC1_11_VFD1 | IO1 | SPARE
ULC1_11_VFD1 | SI0 | SPARE
ULC1_11_VFD1 | SI1 | SPARE
ULC1_11_VFD1 | SI2 | SPARE
ULC1_11_VFD1 | SI3 | SPARE
ULC1_11_VFD1 | SO0 | SPARE
ULC1_12_VFD1 | I0 | ULC1_12_DISC | DISCONNECT AUX
ULC1_12_VFD1 | I1 | ULC1_12_ENSH1 | SHAFT ENCODER
ULC1_12_VFD1 | I2 | ULC1_12_TPE1 | TRACKING PHOTOEYE
ULC1_12_VFD1 | I3 | SPARE
ULC1_12_VFD1 | IO0 | UCL1_12_S1_PB | START PUSHBUTTON
ULC1_12_VFD1 | IO1 | UCL1_12_S1_PB_LT | START PUSHBUTTON LIGHT
ULC1_12_VFD1 | SI0 | UCL1_12_EPC1 | E-STOP PULLCORD
ULC1_12_VFD1 | SI1 | UCL1_12_EPC1_2 | E-STOP PULLCORD
ULC1_12_VFD1 | SI2 | UCL1_12_EPC2 | E-STOP PULLCORD
ULC1_12_VFD1 | SI3 | UCL1_12_EPC2_2 | E-STOP PULLCORD
ULC1_12_VFD1 | SO0 | SPARE
ULC1_3_VFD1 | I0 | ULC1_3_DISC | DISCONNECT AUX
ULC1_3_VFD1 | I1 | SPARE
ULC1_3_VFD1 | I2 | ULC1_3_SS2_STPB | SS STATION STOP PUSH BUTTON
ULC1_3_VFD1 | I3 | SPARE
ULC1_3_VFD1 | IO0 | ULC1_3_SS2_SPB | SS STATION START PUSHBUTTON
ULC1_3_VFD1 | IO1 | ULC1_3_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC1_3_VFD1 | SI0 | ULC1_3_EPC1 | E-STOP PULLCORD
ULC1_3_VFD1 | SI1 | ULC1_3_EPC1_2 | E-STOP PULLCORD
ULC1_3_VFD1 | SI2 | ULC1_3_EPC2 | E-STOP PULLCORD
ULC1_3_VFD1 | SI3 | ULC1_3_EPC2_2 | E-STOP PULLCORD
ULC1_3_VFD1 | SO0 | SPARE
ULC1_4_VFD1 | I0 | ULC1_4_DISC | DISCONNECT AUX
ULC1_4_VFD1 | I1 | SPARE
ULC1_4_VFD1 | I2 | ULC1_4_TPE1 | TRACKING PHOTOEYE
ULC1_4_VFD1 | I3 | SPARE
ULC1_4_VFD1 | IO0 | SPARE
ULC1_4_VFD1 | IO1 | SPARE
ULC1_4_VFD1 | SI0 | SPARE
ULC1_4_VFD1 | SI1 | SPARE
ULC1_4_VFD1 | SI2 | SPARE
ULC1_4_VFD1 | SI3 | SPARE
ULC1_4_VFD1 | SO0 | SPARE
ULC1_5_VFD1 | I0 | ULC1_5_DISC | DISCONNECT AUX
ULC1_5_VFD1 | I1 | SPARE
ULC1_5_VFD1 | I2 | ULC1_5_TPE1 | TRACKING PHOTOEYE
ULC1_5_VFD1 | I3 | SPARE
ULC1_5_VFD1 | IO0 | ULC1_5_BCN1_A | AMBER BEACON LIGHT
ULC1_5_VFD1 | IO1 | SPARE
ULC1_5_VFD1 | SI0 | SPARE
ULC1_5_VFD1 | SI1 | SPARE
ULC1_5_VFD1 | SI2 | SPARE
ULC1_5_VFD1 | SI3 | SPARE
ULC1_5_VFD1 | SO0 | SPARE
ULC1_6_VFD1 | I0 | ULC1_6_DISC | DISCONNECT AUX
ULC1_6_VFD1 | I1 | SPARE
ULC1_6_VFD1 | I2 | ULC1_6_TPE1 | TRACKING PHOTOEYE
ULC1_6_VFD1 | I3 | SPARE
ULC1_6_VFD1 | IO0 | ULC1_7_JR2_PB | JAM RESET PUSHBUTTON
ULC1_6_VFD1 | IO1 | ULC1_7_JR2_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC1_6_VFD1 | SI0 | SPARE
ULC1_6_VFD1 | SI1 | SPARE
ULC1_6_VFD1 | SI2 | SPARE
ULC1_6_VFD1 | SI3 | SPARE
ULC1_6_VFD1 | SO0 | SPARE
ULC1_7_VFD1 | I0 | ULC1_7_DISC | DISCONNECT AUX
ULC1_7_VFD1 | I1 | SPARE
ULC1_7_VFD1 | I2 | ULC1_8_TPE1 | TRACKING PHOTOEYE
ULC1_7_VFD1 | I3 | SPARE
ULC1_7_VFD1 | IO0 | ULC1_7_JR1_PB | JAM RESET PUSHBUTTON
ULC1_7_VFD1 | IO1 | ULC1_7_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC1_7_VFD1 | SI0 | SPARE
ULC1_7_VFD1 | SI1 | SPARE
ULC1_7_VFD1 | SI2 | SPARE
ULC1_7_VFD1 | SI3 | SPARE
ULC1_7_VFD1 | SO0 | SPARE
ULC1_8_VFD1 | I0 | ULC1_8_DISC | DISCONNECT AUX
ULC1_8_VFD1 | I1 | SPARE
ULC1_8_VFD1 | I2 | ULC1_8_TPE2 | TRACKING PHOTOEYE
ULC1_8_VFD1 | I3 | SPARE
ULC1_8_VFD1 | IO0 | ULC1_7_BCN1_A | AMBER BEACON LIGHT
ULC1_8_VFD1 | IO1 | SPARE
ULC1_8_VFD1 | SI0 | SPARE
ULC1_8_VFD1 | SI1 | SPARE
ULC1_8_VFD1 | SI2 | SPARE
ULC1_8_VFD1 | SI3 | SPARE
ULC1_8_VFD1 | SO0 | SPARE
ULC1_9A_VFD1 | I0 | ULC1_9A_DISC | DISCONNECT AUX
ULC1_9A_VFD1 | I1 | SPARE
ULC1_9A_VFD1 | I2 | SPARE
ULC1_9A_VFD1 | I3 | SPARE
ULC1_9A_VFD1 | IO0 | UCL1_12_BCN2_R | RED BEACON LIGHT
ULC1_9A_VFD1 | IO1 | SPARE
ULC1_9A_VFD1 | SI0 | SPARE
ULC1_9A_VFD1 | SI1 | SPARE
ULC1_9A_VFD1 | SI2 | SPARE
ULC1_9A_VFD1 | SI3 | SPARE
ULC1_9A_VFD1 | SO0 | SPARE
ULC1_9B_VFD1 | I0 | ULC1_9B_DISC | DISCONNECT AUX
ULC1_9B_VFD1 | I1 | SPARE
ULC1_9B_VFD1 | I2 | SPARE
ULC1_9B_VFD1 | I3 | SPARE
ULC1_9B_VFD1 | IO0 | SPARE
ULC1_9B_VFD1 | IO1 | SPARE
ULC1_9B_VFD1 | SI0 | SPARE
ULC1_9B_VFD1 | SI1 | SPARE
ULC1_9B_VFD1 | SI2 | SPARE
ULC1_9B_VFD1 | SI3 | SPARE
ULC1_9B_VFD1 | SO0 | SPARE
ULC2_10_VFD1 | I0 | ULC2_10_DISC | DISCONNECT AUX
ULC2_10_VFD1 | I1 | ULC2_10_ENSH1 | SHAFT ENCODER
ULC2_10_VFD1 | I2 | ULC2_10_TPE1 | TRACKING PHOTOEYE
ULC2_10_VFD1 | I3 | ULC2_10_TPE2 | TRACKING PHOTOEYE
ULC2_10_VFD1 | IO0 | UCL2_12_S2_PB | START PUSHBUTTON
ULC2_10_VFD1 | IO1 | UCL2_12_S2_PB_LT | START PUSHBUTTON LIGHT
ULC2_10_VFD1 | SI0 | SPARE
ULC2_10_VFD1 | SI1 | SPARE
ULC2_10_VFD1 | SI2 | SPARE
ULC2_10_VFD1 | SI3 | SPARE
ULC2_10_VFD1 | SO0 | SPARE
ULC2_11_VFD1 | I0 | ULC2_11_DISC | DISCONNECT AUX
ULC2_11_VFD1 | I1 | ULC2_11_ENSH1 | SHAFT ENCODER
ULC2_11_VFD1 | I2 | ULC2_11_TPE1 | TRACKING PHOTOEYE
ULC2_11_VFD1 | I3 | SPARE
ULC2_11_VFD1 | IO0 | ULC2_12_BCN1_R | RED BEACON LIGHT
ULC2_11_VFD1 | IO1 | SPARE
ULC2_11_VFD1 | SI0 | SPARE
ULC2_11_VFD1 | SI1 | SPARE
ULC2_11_VFD1 | SI2 | SPARE
ULC2_11_VFD1 | SI3 | SPARE
ULC2_11_VFD1 | SO0 | SPARE
ULC2_12_VFD1 | I0 | ULC2_12_DISC | DISCONNECT AUX
ULC2_12_VFD1 | I1 | ULC2_12_ENSH1 | SHAFT ENCODER
ULC2_12_VFD1 | I2 | ULC2_12_TPE1 | TRACKING PHOTOEYE
ULC2_12_VFD1 | I3 | SPARE
ULC2_12_VFD1 | IO0 | ULC2_12_S1_PB | START PUSHBUTTON
ULC2_12_VFD1 | IO1 | ULC2_12_S1_PB_LT | START PUSHBUTTON LIGHT
ULC2_12_VFD1 | SI0 | UCL2_12_EPC1 | E-STOP PULLCORD
ULC2_12_VFD1 | SI1 | UCL2_12_EPC1_2 | E-STOP PULLCORD
ULC2_12_VFD1 | SI2 | UCL2_12_EPC2 | E-STOP PULLCORD
ULC2_12_VFD1 | SI3 | UCL2_12_EPC2_2 | E-STOP PULLCORD
ULC2_12_VFD1 | SO0 | SPARE
ULC2_3_VFD1 | I0 | ULC2_3_DISC | DISCONNECT AUX
ULC2_3_VFD1 | I1 | SPARE
ULC2_3_VFD1 | I2 | ULC2_3_SS2_STPB | SS STATION STOP PUSH BUTTON
ULC2_3_VFD1 | I3 | SPARE
ULC2_3_VFD1 | IO0 | ULC2_3_SS2_SPB | SS STATION START PUSHBUTTON
ULC2_3_VFD1 | IO1 | ULC2_3_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC2_3_VFD1 | SI0 | ULC2_3_EPC1 | E-STOP PULLCORD
ULC2_3_VFD1 | SI1 | ULC2_3_EPC1_2 | E-STOP PULLCORD
ULC2_3_VFD1 | SI2 | ULC2_3_EPC2 | E-STOP PULLCORD
ULC2_3_VFD1 | SI3 | ULC2_3_EPC2_2 | E-STOP PULLCORD
ULC2_3_VFD1 | SO0 | SPARE
ULC2_4_VFD1 | I0 | ULC2_4_DISC | DISCONNECT AUX
ULC2_4_VFD1 | I1 | SPARE
ULC2_4_VFD1 | I2 | ULC2_4_TPE1 | TRACKING PHOTOEYE
ULC2_4_VFD1 | I3 | SPARE
ULC2_4_VFD1 | IO0 | SPARE
ULC2_4_VFD1 | IO1 | SPARE
ULC2_4_VFD1 | SI0 | SPARE
ULC2_4_VFD1 | SI1 | SPARE
ULC2_4_VFD1 | SI2 | SPARE
ULC2_4_VFD1 | SI3 | SPARE
ULC2_4_VFD1 | SO0 | SPARE
ULC2_5_VFD1 | I0 | ULC2_5_DISC | DISCONNECT AUX
ULC2_5_VFD1 | I1 | SPARE
ULC2_5_VFD1 | I2 | ULC2_5_TPE1 | TRACKING PHOTOEYE
ULC2_5_VFD1 | I3 | SPARE
ULC2_5_VFD1 | IO0 | SPARE
ULC2_5_VFD1 | IO1 | SPARE
ULC2_5_VFD1 | SI0 | SPARE
ULC2_5_VFD1 | SI1 | SPARE
ULC2_5_VFD1 | SI2 | SPARE
ULC2_5_VFD1 | SI3 | SPARE
ULC2_5_VFD1 | SO0 | SPARE
ULC2_6_VFD1 | I0 | ULC2_6_DISC | DISCONNECT AUX
ULC2_6_VFD1 | I1 | SPARE
ULC2_6_VFD1 | I2 | ULC2_6_TPE1 | TRACKING PHOTOEYE
ULC2_6_VFD1 | I3 | SPARE
ULC2_6_VFD1 | IO0 | ULC2_7_JR2_PB | JAM RESET PUSHBUTTON
ULC2_6_VFD1 | IO1 | ULC2_7_JR2_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC2_6_VFD1 | SI0 | SPARE
ULC2_6_VFD1 | SI1 | SPARE
ULC2_6_VFD1 | SI2 | SPARE
ULC2_6_VFD1 | SI3 | SPARE
ULC2_6_VFD1 | SO0 | SPARE
ULC2_7_VFD1 | I0 | ULC2_7_DISC | DISCONNECT AUX
ULC2_7_VFD1 | I1 | SPARE
ULC2_7_VFD1 | I2 | ULC2_8_TPE1 | TRACKING PHOTOEYE
ULC2_7_VFD1 | I3 | SPARE
ULC2_7_VFD1 | IO0 | ULC2_7_JR1_PB | JAM RESET PUSHBUTTON
ULC2_7_VFD1 | IO1 | ULC2_7_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC2_7_VFD1 | SI0 | SPARE
ULC2_7_VFD1 | SI1 | SPARE
ULC2_7_VFD1 | SI2 | SPARE
ULC2_7_VFD1 | SI3 | SPARE
ULC2_7_VFD1 | SO0 | SPARE
ULC2_9A_VFD1 | I0 | ULC2_9A_DISC | DISCONNECT AUX
ULC2_9A_VFD1 | I1 | SPARE
ULC2_9A_VFD1 | I2 | SPARE
ULC2_9A_VFD1 | I3 | SPARE
ULC2_9A_VFD1 | IO0 | ULC2_7_BCN1_A | AMBER BEACON LIGHT
ULC2_9A_VFD1 | IO1 | SPARE
ULC2_9A_VFD1 | SI0 | SPARE
ULC2_9A_VFD1 | SI1 | SPARE
ULC2_9A_VFD1 | SI2 | SPARE
ULC2_9A_VFD1 | SI3 | SPARE
ULC2_9A_VFD1 | SO0 | SPARE
ULC2_9B_VFD1 | I0 | ULC2_9B_DISC | DISCONNECT AUX
ULC2_9B_VFD1 | I1 | SPARE
ULC2_9B_VFD1 | I2 | SPARE
ULC2_9B_VFD1 | I3 | SPARE
ULC2_9B_VFD1 | IO0 | UCL2_12_BCN2_R | RED BEACON LIGHT
ULC2_9B_VFD1 | IO1 | SPARE
ULC2_9B_VFD1 | SI0 | SPARE
ULC2_9B_VFD1 | SI1 | SPARE
ULC2_9B_VFD1 | SI2 | SPARE
ULC2_9B_VFD1 | SI3 | SPARE
ULC2_9B_VFD1 | SO0 | SPARE
ULC3_3_VFD1 | I0 | ULC3_3_DISC | DISCONNECT AUX
ULC3_3_VFD1 | I1 | ULC3_3_ENW1 | WHEEL ENCODER
ULC3_3_VFD1 | I2 | ULC3_3_JPE1 | JAM PHOTOEYE
ULC3_3_VFD1 | I3 | SPARE
ULC3_3_VFD1 | IO0 | SPARE
ULC3_3_VFD1 | IO1 | SPARE
ULC3_3_VFD1 | SI0 | ULC3_3_EPC1 | E-STOP PULLCORD
ULC3_3_VFD1 | SI1 | ULC3_3_EPC1_2 | E-STOP PULLCORD
ULC3_3_VFD1 | SI2 | ULC3_3_EPC2 | E-STOP PULLCORD
ULC3_3_VFD1 | SI3 | ULC3_3_EPC2_2 | E-STOP PULLCORD
ULC3_3_VFD1 | SO0 | ULC3_1_STO1 | ESTOP OK
ULC3_4_VFD1 | I0 | ULC3_4_DISC | DISCONNECT AUX
ULC3_4_VFD1 | I1 | ULC3_4_ENW1 | WHEEL ENCODER
ULC3_4_VFD1 | I2 | ULC3_4_JPE1 | JAM PHOTOEYE
ULC3_4_VFD1 | I3 | ULC3_6_TPE1 | TRACKING PHOTOEYE
ULC3_4_VFD1 | IO0 | ULC3_6_BCN1_A | AMBER BEACON LIGHT
ULC3_4_VFD1 | IO1 | SPARE
ULC3_4_VFD1 | SI0 | SPARE
ULC3_4_VFD1 | SI1 | SPARE
ULC3_4_VFD1 | SI2 | SPARE
ULC3_4_VFD1 | SI3 | SPARE
ULC3_4_VFD1 | SO0 | SPARE
ULC3_6_VFD1 | I0 | ULC3_6_DISC | DISCONNECT AUX
ULC3_6_VFD1 | I1 | ULC3_6_ENW1 | WHEEL ENCODER
ULC3_6_VFD1 | I2 | ULC3_6_JPE2 | JAM PHOTOEYE
ULC3_6_VFD1 | I3 | ULC3_7_PE1 | FULL PHOTOEYE 100%
ULC3_6_VFD1 | IO0 | ULC3_6_JR2_PB | JAM RESET PUSHBUTTON
ULC3_6_VFD1 | IO1 | ULC3_6_JR2_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC3_6_VFD1 | SI0 | ULC3_7_EPC1 | E-STOP PULLCORD
ULC3_6_VFD1 | SI1 | ULC3_7_EPC1_2 | E-STOP PULLCORD
ULC3_6_VFD1 | SI2 | ULC3_7_EPC2 | E-STOP PULLCORD
ULC3_6_VFD1 | SI3 | ULC3_7_EPC2_2 | E-STOP PULLCORD
ULC3_6_VFD1 | SO0 | SPARE
ULC4_3_VFD1 | I0 | ULC4_3_DISC | DISCONNECT AUX
ULC4_3_VFD1 | I1 | ULC4_3_ENW1 | WHEEL ENCODER
ULC4_3_VFD1 | I2 | ULC4_3_JPE1 | JAM PHOTOEYE
ULC4_3_VFD1 | I3 | SPARE
ULC4_3_VFD1 | IO0 | SPARE
ULC4_3_VFD1 | IO1 | SPARE
ULC4_3_VFD1 | SI0 | ULC4_3_EPC1 | E-STOP PULLCORD
ULC4_3_VFD1 | SI1 | ULC4_3_EPC1_2 | E-STOP PULLCORD
ULC4_3_VFD1 | SI2 | ULC4_3_EPC2 | E-STOP PULLCORD
ULC4_3_VFD1 | SI3 | ULC4_3_EPC2_2 | E-STOP PULLCORD
ULC4_3_VFD1 | SO0 | ULC4_1_STO1 | ESTOP OK
ULC4_4_VFD1 | I0 | ULC4_4_DISC | DISCONNECT AUX
ULC4_4_VFD1 | I1 | ULC4_4_ENW1 | WHEEL ENCODER
ULC4_4_VFD1 | I2 | ULC4_4_JPE1 | JAM PHOTOEYE
ULC4_4_VFD1 | I3 | ULC4_6_TPE1 | TRACKING PHOTOEYE
ULC4_4_VFD1 | IO0 | ULC4_4_BCN1_H | HORN BEACON
ULC4_4_VFD1 | IO1 | SPARE
ULC4_4_VFD1 | SI0 | SPARE
ULC4_4_VFD1 | SI1 | SPARE
ULC4_4_VFD1 | SI2 | SPARE
ULC4_4_VFD1 | SI3 | SPARE
ULC4_4_VFD1 | SO0 | SPARE
ULC4_6_VFD1 | I0 | ULC4_6_DISC | DISCONNECT AUX
ULC4_6_VFD1 | I1 | ULC4_6_ENW1 | WHEEL ENCODER
ULC4_6_VFD1 | I2 | ULC4_6_JPE1 | JAM PHOTOEYE
ULC4_6_VFD1 | I3 | ULC4_7_PE1 | FULL PHOTOEYE 100%
ULC4_6_VFD1 | IO0 | ULC4_6_BCN1_A | AMBER BEACON LIGHT
ULC4_6_VFD1 | IO1 | SPARE
ULC4_6_VFD1 | SI0 | ULC4_7_EPC1 | E-STOP PULLCORD
ULC4_6_VFD1 | SI1 | ULC4_7_EPC1_2 | E-STOP PULLCORD
ULC4_6_VFD1 | SI2 | ULC4_7_EPC2 | E-STOP PULLCORD
ULC4_6_VFD1 | SI3 | ULC4_7_EPC2_2 | E-STOP PULLCORD
ULC4_6_VFD1 | SO0 | SPARE
ULC1_4_FIO1 | IO00 | ULC1_3_SS1_SPB | SS STATION START PUSHBUTTON
ULC1_4_FIO1 | IO01 | ULC1_3_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC1_4_FIO1 | IO02 | ULC1_3_SS1_STPB | SS STATION STOP PUSH BUTTON
ULC1_4_FIO1 | IO03 | SPARE
ULC1_4_FIO1 | IO04 | ULC1_4_TPE2 | TRACKING PHOTOEYE
ULC1_4_FIO1 | IO05 | SPARE
ULC1_4_FIO1 | IO06 | ULC1_4_BCN1_R | RED BEACON LIGHT
ULC1_4_FIO1 | IO07 | ULC1_4_BCN2_A | AMBER BEACON LIGHT
ULC1_4_FIO1 | IO08 | ULC1_4_BCN2_R | RED BEACON LIGHT
ULC1_4_FIO1 | IO09 | SPARE
ULC1_4_FIO1 | IO10 | SPARE
ULC1_4_FIO1 | IO11 | SPARE
ULC1_4_FIO1 | IO12 | SPARE
ULC1_4_FIO1 | IO13 | SPARE
ULC1_4_FIO1 | IO14 | SPARE
ULC1_4_FIO1 | IO15 | SPARE
ULC2_4_FIO1 | IO00 | ULC2_3_SS1_STPB | SS STATION STOP PUSH BUTTON
ULC2_4_FIO1 | IO01 | SPARE
ULC2_4_FIO1 | IO02 | ULC2_3_SS1_SPB | SS STATION START PUSHBUTTON
ULC2_4_FIO1 | IO03 | ULC2_3_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC2_4_FIO1 | IO04 | ULC2_4_TPE2 | TRACKING PHOTOEYE
ULC2_4_FIO1 | IO05 | SPARE
ULC2_4_FIO1 | IO06 | ULC2_4_BCN1_R | RED BEACON LIGHT
ULC2_4_FIO1 | IO07 | SPARE
ULC2_4_FIO1 | IO08 | ULC2_4_BCN2_A | AMBER BEACON LIGHT
ULC2_4_FIO1 | IO09 | ULC2_4_BCN2_R | RED BEACON LIGHT
ULC2_4_FIO1 | IO10 | SPARE
ULC2_4_FIO1 | IO11 | SPARE
ULC2_4_FIO1 | IO12 | SPARE
ULC2_4_FIO1 | IO13 | SPARE
ULC2_4_FIO1 | IO14 | SPARE
ULC2_4_FIO1 | IO15 | SPARE
ULC3_3_FIO1 | IO00 | ULC3_3_JPE2 | JAM PHOTOEYE
ULC3_3_FIO1 | IO01 | SPARE
ULC3_3_FIO1 | IO02 | ULC3_3_BCN1_A | AMBER BEACON LIGHT
ULC3_3_FIO1 | IO03 | ULC3_3_BCN1_R | RED BEACON LIGHT
ULC3_3_FIO1 | IO04 | ULC3_3_BCN2_R | RED BEACON LIGHT
ULC3_3_FIO1 | IO05 | SPARE
ULC3_3_FIO1 | IO06 | ULC3_3_SS1_STPB | SS STATION STOP PUSH BUTTON
ULC3_3_FIO1 | IO07 | SPARE
ULC3_3_FIO1 | IO08 | ULC3_3_SS1_SPB | SS STATION START PUSHBUTTON
ULC3_3_FIO1 | IO09 | ULC3_3_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC3_3_FIO1 | IO10 | ULC3_3_SS2_STPB | SS STATION STOP PUSH BUTTON
ULC3_3_FIO1 | IO11 | SPARE
ULC3_3_FIO1 | IO12 | ULC3_3_SS2_SPB | SS STATION START PUSHBUTTON
ULC3_3_FIO1 | IO13 | ULC3_3_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC3_3_FIO1 | IO14 | SPARE
ULC3_3_FIO1 | IO15 | SPARE
ULC3_6_FIO1 | IO00 | ULC3_6_JR1_PB | JAM RESET PUSHBUTTON
ULC3_6_FIO1 | IO01 | ULC3_6_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC3_6_FIO1 | IO02 | ULC3_6_BCN2_R | RED BEACON LIGHT
ULC3_6_FIO1 | IO03 | SPARE
ULC3_6_FIO1 | IO04 | ULC3_6_BCN1_B | BLUE BEACON LIGHT
ULC3_6_FIO1 | IO05 | ULC3_6_BCN1_R | RED BEACON LIGHT
ULC3_6_FIO1 | IO06 | ULC3_6_SS1_STPB | SS STATION STOP PUSH BUTTON
ULC3_6_FIO1 | IO07 | SPARE
ULC3_6_FIO1 | IO08 | ULC3_6_SS1_SPB | SS STATION START PUSHBUTTON
ULC3_6_FIO1 | IO09 | ULC3_6_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC3_6_FIO1 | IO10 | ULC3_6_SS2_STPB | SS STATION STOP PUSH BUTTON
ULC3_6_FIO1 | IO11 | SPARE
ULC3_6_FIO1 | IO12 | ULC3_6_SS2_SPB | SS STATION START PUSHBUTTON
ULC3_6_FIO1 | IO13 | ULC3_6_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC3_6_FIO1 | IO14 | SPARE
ULC3_6_FIO1 | IO15 | SPARE
ULC4_4_FIO1 | IO00 | ULC4_3_JPE2 | JAM PHOTOEYE
ULC4_4_FIO1 | IO01 | SPARE
ULC4_4_FIO1 | IO02 | ULC4_3_BCN1_R | RED BEACON LIGHT
ULC4_4_FIO1 | IO03 | ULC4_3_BCN1_A | AMBER BEACON LIGHT
ULC4_4_FIO1 | IO04 | ULC4_3_BCN2_R | RED BEACON LIGHT
ULC4_4_FIO1 | IO05 | SPARE
ULC4_4_FIO1 | IO06 | ULC4_3_SS1_STPB | SS STATION STOP PUSH BUTTON
ULC4_4_FIO1 | IO07 | SPARE
ULC4_4_FIO1 | IO08 | ULC4_3_SS1_SPB | SS STATION START PUSHBUTTON
ULC4_4_FIO1 | IO09 | ULC4_3_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC4_4_FIO1 | IO10 | ULC4_3_SS2_STPB | SS STATION STOP PUSH BUTTON
ULC4_4_FIO1 | IO11 | SPARE
ULC4_4_FIO1 | IO12 | ULC4_3_SS2_SPB | SS STATION START PUSHBUTTON
ULC4_4_FIO1 | IO13 | ULC4_3_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC4_4_FIO1 | IO14 | SPARE
ULC4_4_FIO1 | IO15 | SPARE
ULC4_6_FIO1 | IO00 | ULC4_6_JR1_PB | JAM RESET PUSHBUTTON
ULC4_6_FIO1 | IO01 | ULC4_6_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC4_6_FIO1 | IO02 | ULC4_6_JR2_PB | JAM RESET PUSHBUTTON
ULC4_6_FIO1 | IO03 | ULC4_6_JR2_PB_LT | JAM RESET PUSHBUTTON LIGHT
ULC4_6_FIO1 | IO04 | ULC4_6_BCN1_B | BLUE BEACON LIGHT
ULC4_6_FIO1 | IO05 | ULC4_6_BCN1_R | RED BEACON LIGHT
ULC4_6_FIO1 | IO06 | ULC4_6_BCN2_R | RED BEACON LIGHT
ULC4_6_FIO1 | IO07 | SPARE
ULC4_6_FIO1 | IO08 | ULC4_6_SS1_STPB | SS STATION STOP PUSH BUTTON
ULC4_6_FIO1 | IO09 | SPARE
ULC4_6_FIO1 | IO10 | ULC4_6_SS1_SPB | SS STATION START PUSHBUTTON
ULC4_6_FIO1 | IO11 | ULC4_6_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
ULC4_6_FIO1 | IO12 | ULC4_6_SS2_STPB | SS STATION STOP PUSH BUTTON
ULC4_6_FIO1 | IO13 | SPARE
ULC4_6_FIO1 | IO14 | ULC4_6_SS2_SPB | SS STATION START PUSHBUTTON
ULC4_6_FIO1 | IO15 | ULC4_6_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
PDP1_FIO1 | IO00 | PDP1_CB1 | CIRCUIT BREAKER
PDP1_FIO1 | IO01 | PDP1_CB2 | CIRCUIT BREAKER
PDP1_FIO1 | IO02 | PDP1_CB3 | CIRCUIT BREAKER
PDP1_FIO1 | IO03 | PDP1_CB4 | CIRCUIT BREAKER
PDP1_FIO1 | IO04 | PDP1_CB5 | CIRCUIT BREAKER
PDP1_FIO1 | IO05 | SPARE
PDP1_FIO1 | IO06 | PDP1_CB6 | CIRCUIT BREAKER
PDP1_FIO1 | IO07 | SPARE
PDP1_FIO1 | IO08 | PDP1_CB7 | CIRCUIT BREAKER
PDP1_FIO1 | IO09 | PDP1_CB8 | CIRCUIT BREAKER
PDP1_FIO1 | IO10 | PDP1_CB9 | CIRCUIT BREAKER
PDP1_FIO1 | IO11 | PDP1_CB10 | CIRCUIT BREAKER
PDP1_FIO1 | IO12 | PDP1_PWM1 | PHASE MONITOR
PDP1_FIO1 | IO13 | SPARE
PDP1_FIO1 | IO14 | PDP1_FIOH1 | FIO HUB
PDP1_FIO1 | IO15 | SPARE
PDP1_FIOH1 | IO00 | PDP1_CB11 | CIRCUIT BREAKER
PDP1_FIOH1 | IO01 | PDP1_CB12 | CIRCUIT BREAKER
PDP1_FIOH1 | IO02 | PDP1_CB13 | CIRCUIT BREAKER
PDP1_FIOH1 | IO03 | PDP1_CB14 | CIRCUIT BREAKER
PDP1_FIOH1 | IO04 | PDP1_CB15 | CIRCUIT BREAKER
PDP1_FIOH1 | IO05 | PDP1_CB16 | CIRCUIT BREAKER
PDP1_FIOH1 | IO06 | PDP1_CB17 | CIRCUIT BREAKER
PDP1_FIOH1 | IO07 | PDP1_CB18 | CIRCUIT BREAKER
PDP1_FIOH1 | IO08 | PDP1_CB19 | CIRCUIT BREAKER
PDP1_FIOH1 | IO09 | PDP1_CB20 | CIRCUIT BREAKER
PDP1_FIOH1 | IO10 | PDP1_CB21 | CIRCUIT BREAKER
PDP1_FIOH1 | IO11 | PDP1_CB22 | CIRCUIT BREAKER
PDP1_FIOH1 | IO12 | PDP1_CB23 | CIRCUIT BREAKER
PDP1_FIOH1 | IO13 | PDP1_CB24 | CIRCUIT BREAKER
PDP1_FIOH1 | IO14 | PDP1_CB25 | CIRCUIT BREAKER
PDP1_FIOH1 | IO15 | PDP1_CB26 | CIRCUIT BREAKER
SLOT5_IB16 | I0 | MCM01 | S_PBLT START
SLOT5_IB16 | I1 | MCM01 | ST_PB STOP
SLOT5_IB16 | I2 | MCM01 | MF_PBLT MOTOR FAULT RESET
SLOT5_IB16 | I3 | MCM01 | JR_PBLT JAM RESET
SLOT5_IB16 | I4 | MCM01 | LAP_PBLT LOW AIR PRESSURE
SLOT5_IB16 | I5 | MCM01 | PBFR_PBLT POWER BRANCH FAULT RESET
SLOT5_IB16 | I6 | MCM01 | BATTERY_FAULT_UPS BATTERY FAULT
SLOT5_IB16 | I7 | MCM01 | ON_BATTERY ON BATTERY
SLOT5_IB16 | I8 | MCM01 | UPS_BATTERY_LOW UPS BATTERY LOW
SLOT5_IB16 | I9 | MCM01 | NAT_SWITCH ALARM NAT SWITCH
SLOT5_IB16 | I10 | SPARE
SLOT5_IB16 | I11 | SPARE
SLOT5_IB16 | I12 | SPARE
SLOT5_IB16 | I13 | SPARE
SLOT5_IB16 | I14 | SPARE
SLOT5_IB16 | I15 | SPARE
SLOT6_OB16E | O0 | MCM01 | ES_LT EMERGENCY STOP ACTUATED
SLOT6_OB16E | O1 | MCM01 | S_PBLT START LIGHT
SLOT6_OB16E | O2 | MCM01 | MF_PBLT MOTOR FAULT LIGHT
SLOT6_OB16E | O3 | MCM01 | JR_PBLT JAM RESTART LIGHT
SLOT6_OB16E | O4 | MCM01 | LAP_PBLT LOW AIR PRESSURE LIGHT
SLOT6_OB16E | O5 | MCM01 | PBFR_PBLT POWER BRANCH FAULT RESET LIGHT
SLOT6_OB16E | O6 | SPARE
SLOT6_OB16E | O7 | SPARE
SLOT6_OB16E | O8 | SPARE
SLOT6_OB16E | O9 | SPARE
SLOT6_OB16E | O10 | SPARE
SLOT6_OB16E | O11 | SPARE
SLOT6_OB16E | O12 | SPARE
SLOT6_OB16E | O13 | SPARE
SLOT6_OB16E | O14 | SPARE
SLOT6_OB16E | O15 | SPARE
SLOT7_IB16S | I0 | MCM01 | FIRE_ALARM FIRE ALARM
SLOT7_IB16S | I1 | SPARE
SLOT7_IB16S | I2 | MCM01 | ES_PB ES_PB_CH1
SLOT7_IB16S | I3 | MCM01 | ES_PB ES_PB_CH2
SLOT7_IB16S | I4 | SPARE
SLOT7_IB16S | I5 | SPARE
SLOT7_IB16S | I6 | SPARE
SLOT7_IB16S | I7 | SPARE
SLOT7_IB16S | I8 | SPARE
SLOT7_IB16S | I9 | SPARE
SLOT7_IB16S | I10 | SPARE
SLOT7_IB16S | I11 | SPARE
SLOT7_IB16S | I12 | SPARE
SLOT7_IB16S | I13 | SPARE
SLOT7_IB16S | I14 | SPARE
SLOT7_IB16S | I15 | SPARE

## NETWORK_PLC
DPM | DPM_IP | Name | PartNumber | IP
DPM1_ULC1_8 | 11.200.1.2 | ULC1_3_VFD1 | 35S-6D2-P101 | 11.200.1.31
DPM1_ULC1_8 | 11.200.1.2 | ULC1_4_VFD1 | 35S-6D2-P101 | 11.200.1.32
DPM1_ULC1_8 | 11.200.1.2 | ULC1_5_VFD1 | 35S-6D5-P111 | 11.200.1.33
DPM1_ULC1_8 | 11.200.1.2 | ULC1_6_VFD1 | 35S-6D4-P111 | 11.200.1.34
DPM1_ULC1_8 | 11.200.1.2 | ULC1_7_VFD1 | 35S-6D3-P101 | 11.200.1.35
DPM1_ULC1_8 | 11.200.1.2 | ULC1_8_VFD1 | 35S-6D3-P101 | 11.200.1.36
DPM1_ULC1_8 | 11.200.1.2 | ULC1_9A_VFD1 | 35S-6D2-P101 | 11.200.1.37
DPM1_ULC1_8 | 11.200.1.2 | ULC1_9B_VFD1 | 35S-6D2-P101 | 11.200.1.38
DPM1_ULC1_8 | 11.200.1.2 | ULC1_10_VFD1 | 35S-6D2-P101 | 11.200.1.39
DPM1_ULC1_8 | 11.200.1.2 | ULC1_11_VFD1 | 35S-6D2-P101 | 11.200.1.40
DPM1_ULC1_8 | 11.200.1.2 | ULC1_12_VFD1 | 35S-6D2-P101 | 11.200.1.41
DPM1_ULC1_8 | 11.200.1.2 | ULC1_4_FIO1 | 5032-8IOLM12DR | 11.200.1.42
DPM1_ULC2_8 | 11.200.1.3 | ULC2_3_VFD1 | 35S-6D2-P101 | 11.200.1.51
DPM1_ULC2_8 | 11.200.1.3 | ULC2_4_VFD1 | 35S-6D2-P101 | 11.200.1.52
DPM1_ULC2_8 | 11.200.1.3 | ULC2_5_VFD1 | 35S-6D5-P111 | 11.200.1.53
DPM1_ULC2_8 | 11.200.1.3 | ULC2_6_VFD1 | 35S-6D3-P101 | 11.200.1.54
DPM1_ULC2_8 | 11.200.1.3 | ULC2_7_VFD1 | 35S-6D3-P101 | 11.200.1.55
DPM1_ULC2_8 | 11.200.1.3 | ULC2_9A_VFD1 | 35S-6D2-P101 | 11.200.1.56
DPM1_ULC2_8 | 11.200.1.3 | ULC2_9B_VFD1 | 35S-6D2-P101 | 11.200.1.57
DPM1_ULC2_8 | 11.200.1.3 | ULC2_10_VFD1 | 35S-6D2-P101 | 11.200.1.58
DPM1_ULC2_8 | 11.200.1.3 | ULC2_11_VFD1 | 35S-6D2-P101 | 11.200.1.59
DPM1_ULC2_8 | 11.200.1.3 | ULC2_12_VFD1 | 35S-6D2-P101 | 11.200.1.60
DPM1_ULC2_8 | 11.200.1.3 | ULC2_4_FIO1 | 5032-8IOLM12DR | 11.200.1.61
DPM1_ULC3_6 | 11.200.1.4 | ULC3_3_VFD1 | 35S-6D2-P101 | 11.200.1.71
DPM1_ULC3_6 | 11.200.1.4 | ULC3_4_VFD1 | 35S-6D5-P111 | 11.200.1.72
DPM1_ULC3_6 | 11.200.1.4 | ULC3_6_VFD1 | 35S-6D3-P101 | 11.200.1.73
DPM1_ULC3_6 | 11.200.1.4 | ULC4_3_VFD1 | 35S-6D2-P101 | 11.200.1.75
DPM1_ULC3_6 | 11.200.1.4 | ULC4_4_VFD1 | 35S-6D5-P111 | 11.200.1.76
DPM1_ULC3_6 | 11.200.1.4 | ULC4_6_VFD1 | 35S-6D2-P101 | 11.200.1.77
DPM1_ULC3_6 | 11.200.1.4 | ULC3_3_FIO1 | 5032-8IOLM12DR | 11.200.1.78
DPM1_ULC3_6 | 11.200.1.4 | ULC3_6_FIO1 | 5032-8IOLM12DR | 11.200.1.79
DPM1_ULC3_6 | 11.200.1.4 | ULC4_4_FIO1 | 5032-8IOLM12DR | 11.200.1.80
DPM1_ULC3_6 | 11.200.1.4 | ULC4_6_FIO1 | 5032-8IOLM12DR | 11.200.1.81
DPM1_ULC3_6 | 11.200.1.4 | PDP1_FIO1 | 5032-8IOLM12DR | 11.200.1.82
DPM1_ULC3_6 | 11.200.1.4 | PDP1_PMM1 | 1420-V2-ENT | 11.200.1.83