## DESC_PLC
TAGNAME | TERM | DESCA | DESCB
BYAB_2_VFD1 | I0 | BYAB_2_DISC | DISCONNECT AUX
BYAB_2_VFD1 | I1 | SPARE
BYAB_2_VFD1 | I2 | BYAB_2_TPE1 | TRACKING PHOTOEYE
BYAB_2_VFD1 | I3 | BYAB_2_TPE2 | TRACKING PHOTOEYE
BYAB_2_VFD1 | IO0 | BYAB_2_JR1_PB | JAM RESET PUSHBUTTON
BYAB_2_VFD1 | IO1 | BYAB_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
BYAB_2_VFD1 | SI0 | SPARE
BYAB_2_VFD1 | SI1 | SPARE
BYAB_2_VFD1 | SI2 | SPARE
BYAB_2_VFD1 | SI3 | SPARE
BYAB_2_VFD1 | SO0 | SPARE
BYAB_3_FIO1 | IO00 | BYAB_3_TPE1 | TRACKING PHOTOEYE
BYAB_3_FIO1 | IO01 | SPARE
BYAB_3_FIO1 | IO02 | BYAB_4CH_PE1 | FULL PHOTOEYE
BYAB_3_FIO1 | IO03 | BYAB_4CH_PE2 | FULL PHOTOEYE
BYAB_3_FIO1 | IO04 | BYAB_3_SS1_SPB | SS STATION START PUSHBUTTON
BYAB_3_FIO1 | IO05 | BYAB_3_SS1_SPB_LT | SS STATION START PUSHBUTTON LIGHT
BYAB_3_FIO1 | IO06 | BYAB_3_SS1_STPB | SS STATION STOP PUSH BUTTON
BYAB_3_FIO1 | IO07 | SPARE
BYAB_3_FIO1 | IO08 | BYAB_3_SS2_SPB | SS STATION START PUSHBUTTON
BYAB_3_FIO1 | IO09 | BYAB_3_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
BYAB_3_FIO1 | IO10 | BYAB_3_SS2_STPB | SS STATION STOP PUSH BUTTON
BYAB_3_FIO1 | IO11 | SPARE
BYAB_3_FIO1 | IO12 | BYAB_3_BCN1_B | BLUE BEACON LIGHT
BYAB_3_FIO1 | IO13 | BYAB_3_BCN1_R | RED BEACON LIGHT
BYAB_3_FIO1 | IO14 | BYAB_3_BCN2_R | RED BEACON LIGHT
BYAB_3_FIO1 | IO15 | SPARE
BYAB_3_VFD1 | I0 | BYAB_3_DISC | DISCONNECT AUX
BYAB_3_VFD1 | I1 | SPARE
BYAB_3_VFD1 | I2 | SPARE
BYAB_3_VFD1 | I3 | SPARE
BYAB_3_VFD1 | IO0 | BYAB_2_BCN1_A | AMBER BEACON LIGHT
BYAB_3_VFD1 | IO1 | SPARE
BYAB_3_VFD1 | SI0 | BYAB_3_EPC1 | E-STOP PULLCORD
BYAB_3_VFD1 | SI1 | BYAB_3_EPC1_2 | E-STOP PULLCORD
BYAB_3_VFD1 | SI2 | BYAB_3_EPC2 | E-STOP PULLCORD
BYAB_3_VFD1 | SI3 | BYAB_3_EPC2_2 | E-STOP PULLCORD
BYAB_3_VFD1 | SO0 | SPARE
BYCB_2_VFD1 | I0 | BYCB_2_DISC | DISCONNECT AUX
BYCB_2_VFD1 | I1 | SPARE
BYCB_2_VFD1 | I2 | BYCB_2_TPE1 | TRACKING PHOTOEYE
BYCB_2_VFD1 | I3 | BYCB_2_TPE2 | TRACKING PHOTOEYE
BYCB_2_VFD1 | IO0 | BYCB_2_JR1_PB | JAM RESET PUSHBUTTON
BYCB_2_VFD1 | IO1 | BYCB_2_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
BYCB_2_VFD1 | SI0 | SPARE
BYCB_2_VFD1 | SI1 | SPARE
BYCB_2_VFD1 | SI2 | SPARE
BYCB_2_VFD1 | SI3 | SPARE
BYCB_2_VFD1 | SO0 | SPARE
BYCB_3_FIO1 | IO00 | BYCB_3_TPE1 | TRACKING PHOTOEYE
BYCB_3_FIO1 | IO01 | SPARE
BYCB_3_FIO1 | IO02 | BYCB_4CH_PE1 | FULL PHOTOEYE
BYCB_3_FIO1 | IO03 | BYCB_4CH_PE2 | FULL PHOTOEYE
BYCB_3_FIO1 | IO04 | BYCB_3_SS1_STPB | SS STATION START PUSHBUTTON
BYCB_3_FIO1 | IO05 | BYCB_3_SS1_STPB_LT | SS STATION START PUSHBUTTON LIGHT
BYCB_3_FIO1 | IO06 | BYCB_3_SS1_SPB | SS STATION STOP PUSH BUTTON
BYCB_3_FIO1 | IO07 | SPARE
BYCB_3_FIO1 | IO08 | BYCB_3_SS2_SPB | SS STATION START PUSHBUTTON
BYCB_3_FIO1 | IO09 | BYCB_3_SS2_SPB_LT | SS STATION START PUSHBUTTON LIGHT
BYCB_3_FIO1 | IO10 | BYCB_3_SS2_STPB | SS STATION STOP PUSH BUTTON
BYCB_3_FIO1 | IO11 | SPARE
BYCB_3_FIO1 | IO12 | BYCB_3_BCN1_B | BLUE BEACON LIGHT
BYCB_3_FIO1 | IO13 | BYCB_3_BCN1_R | RED BEACON LIGHT
BYCB_3_FIO1 | IO14 | BYCB_3_BCN2_R | RED BEACON LIGHT
BYCB_3_FIO1 | IO15 | SPARE
BYCB_3_VFD1 | I0 | BYCB_3_DISC | DISCONNECT AUX
BYCB_3_VFD1 | I1 | SPARE
BYCB_3_VFD1 | I2 | SPARE
BYCB_3_VFD1 | I3 | SPARE
BYCB_3_VFD1 | IO0 | BYCB_2_BCN1_A | AMBER BEACON LIGHT
BYCB_3_VFD1 | IO1 | SPARE
BYCB_3_VFD1 | SI0 | BYCB_3_EPC1 | E-STOP PULLCORD
BYCB_3_VFD1 | SI1 | BYCB_3_EPC1_2 | E-STOP PULLCORD
BYCB_3_VFD1 | SI2 | BYCB_3_EPC2 | E-STOP PULLCORD
BYCB_3_VFD1 | SI3 | BYCB_3_EPC2_2 | E-STOP PULLCORD
BYCB_3_VFD1 | SO0 | SPARE
VS01A_FIOM1 | IO00 | S011003_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM1 | IO01 | SPARE
VS01A_FIOM1 | IO02 | S011001_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM1 | IO03 | SPARE
VS01A_FIOM1 | IO04 | S011003_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM1 | IO05 | S011003_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM1 | IO06 | S011001_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM1 | IO07 | S011001_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM1 | IO08 | S011005_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM1 | IO09 | SPARE
VS01A_FIOM1 | IO10 | S011007_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM1 | IO11 | SPARE
VS01A_FIOM1 | IO12 | S011005_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM1 | IO13 | S011005_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM1 | IO14 | S011007_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM1 | IO15 | S011007_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM10 | IO00 | S011035_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM10 | IO01 | SPARE
VS01A_FIOM10 | IO02 | S011033_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM10 | IO03 | SPARE
VS01A_FIOM10 | IO04 | S011035_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM10 | IO05 | S011035_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM10 | IO06 | S011033_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM10 | IO07 | S011033_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM10 | IO08 | S011037_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM10 | IO09 | SPARE
VS01A_FIOM10 | IO10 | S011039_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM10 | IO11 | SPARE
VS01A_FIOM10 | IO12 | S011037_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM10 | IO13 | S011037_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM10 | IO14 | S011039_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM10 | IO15 | S011039_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM11 | IO00 | S011036_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM11 | IO01 | SPARE
VS01A_FIOM11 | IO02 | S011034_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM11 | IO03 | SPARE
VS01A_FIOM11 | IO04 | S011036_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM11 | IO05 | S011036_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM11 | IO06 | S011034_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM11 | IO07 | S011034_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM11 | IO08 | S011038_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM11 | IO09 | SPARE
VS01A_FIOM11 | IO10 | S011040_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM11 | IO11 | SPARE
VS01A_FIOM11 | IO12 | S011038_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM11 | IO13 | S011038_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM11 | IO14 | S011040_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM11 | IO15 | S011040_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM12 | IO00 | S011043_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM12 | IO01 | SPARE
VS01A_FIOM12 | IO02 | S011041_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM12 | IO03 | SPARE
VS01A_FIOM12 | IO04 | S011043_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM12 | IO05 | S011043_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM12 | IO06 | S011041_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM12 | IO07 | S011041_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM12 | IO08 | S011045_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM12 | IO09 | SPARE
VS01A_FIOM12 | IO10 | SPARE
VS01A_FIOM12 | IO11 | SPARE
VS01A_FIOM12 | IO12 | S011045_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM12 | IO13 | S011045_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM12 | IO14 | SPARE
VS01A_FIOM12 | IO15 | SPARE
VS01A_FIOM13 | IO00 | S011042_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO01 | S011042_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM13 | IO02 | S011034_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO03 | S011034_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM13 | IO04 | S011041_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO05 | S011041_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM13 | IO06 | S011033_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO07 | S011033_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM13 | IO08 | S011050_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO09 | S011050_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM13 | IO10 | S011058_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO11 | S011058_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM13 | IO12 | S011049_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO13 | S011049_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM13 | IO14 | S011059_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM13 | IO15 | S011059_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM14 | IO00 | S011044_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM14 | IO01 | SPARE
VS01A_FIOM14 | IO02 | S011042_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM14 | IO03 | SPARE
VS01A_FIOM14 | IO04 | S011044_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM14 | IO05 | S011044_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM14 | IO06 | S011042_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM14 | IO07 | S011042_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM14 | IO08 | S011046_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM14 | IO09 | SPARE
VS01A_FIOM14 | IO10 | S011048_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM14 | IO11 | SPARE
VS01A_FIOM14 | IO12 | S011046_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM14 | IO13 | S011046_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM14 | IO14 | S011048_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM14 | IO15 | S011048_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM15 | IO00 | S011051_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM15 | IO01 | SPARE
VS01A_FIOM15 | IO02 | S011049_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM15 | IO03 | SPARE
VS01A_FIOM15 | IO04 | S011051_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM15 | IO05 | S011051_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM15 | IO06 | S011049_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM15 | IO07 | S011049_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM15 | IO08 | S011053_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM15 | IO09 | SPARE
VS01A_FIOM15 | IO10 | SPARE
VS01A_FIOM15 | IO11 | SPARE
VS01A_FIOM15 | IO12 | S011053_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM15 | IO13 | S011053_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM15 | IO14 | SPARE
VS01A_FIOM15 | IO15 | SPARE
VS01A_FIOM16 | IO00 | S011052_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM16 | IO01 | SPARE
VS01A_FIOM16 | IO02 | S011050_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM16 | IO03 | SPARE
VS01A_FIOM16 | IO04 | S011052_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM16 | IO05 | S011052_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM16 | IO06 | S011050_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM16 | IO07 | S011050_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM16 | IO08 | S011054_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM16 | IO09 | SPARE
VS01A_FIOM16 | IO10 | S011056_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM16 | IO11 | SPARE
VS01A_FIOM16 | IO12 | S011054_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM16 | IO13 | S011054_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM16 | IO14 | S011056_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM16 | IO15 | S011056_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM17 | IO00 | S011061_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM17 | IO01 | SPARE
VS01A_FIOM17 | IO02 | S011059_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM17 | IO03 | SPARE
VS01A_FIOM17 | IO04 | S011061_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM17 | IO05 | S011061_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM17 | IO06 | S011059_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM17 | IO07 | S011059_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM17 | IO08 | S011063_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM17 | IO09 | SPARE
VS01A_FIOM17 | IO10 | SPARE
VS01A_FIOM17 | IO11 | SPARE
VS01A_FIOM17 | IO12 | S011063_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM17 | IO13 | S011063_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM17 | IO14 | SPARE
VS01A_FIOM17 | IO15 | SPARE
VS01A_FIOM18 | IO00 | S011060_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM18 | IO01 | SPARE
VS01A_FIOM18 | IO02 | S011058_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM18 | IO03 | SPARE
VS01A_FIOM18 | IO04 | S011060_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM18 | IO05 | S011060_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM18 | IO06 | S011058_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM18 | IO07 | S011058_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM18 | IO08 | S011062_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM18 | IO09 | SPARE
VS01A_FIOM18 | IO10 | S011064_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM18 | IO11 | SPARE
VS01A_FIOM18 | IO12 | S011062_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM18 | IO13 | S011062_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM18 | IO14 | S011064_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM18 | IO15 | S011064_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM19 | IO00 | S011067_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM19 | IO01 | SPARE
VS01A_FIOM19 | IO02 | S011065_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM19 | IO03 | SPARE
VS01A_FIOM19 | IO04 | S011067_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM19 | IO05 | S011067_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM19 | IO06 | S011065_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM19 | IO07 | S011065_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM19 | IO08 | S011069_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM19 | IO09 | SPARE
VS01A_FIOM19 | IO10 | S011071_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM19 | IO11 | SPARE
VS01A_FIOM19 | IO12 | S011069_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM19 | IO13 | S011069_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM19 | IO14 | S011071_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM19 | IO15 | S011071_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM2 | IO00 | S011004_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM2 | IO01 | SPARE
VS01A_FIOM2 | IO02 | S011002_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM2 | IO03 | SPARE
VS01A_FIOM2 | IO04 | S011004_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM2 | IO05 | S011004_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM2 | IO06 | S011002_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM2 | IO07 | S011002_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM2 | IO08 | S011006_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM2 | IO09 | SPARE
VS01A_FIOM2 | IO10 | S011008_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM2 | IO11 | SPARE
VS01A_FIOM2 | IO12 | S011006_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM2 | IO13 | S011006_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM2 | IO14 | S011008_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM2 | IO15 | S011008_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM20 | IO00 | S011068_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM20 | IO01 | SPARE
VS01A_FIOM20 | IO02 | S011066_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM20 | IO03 | SPARE
VS01A_FIOM20 | IO04 | S011068_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM20 | IO05 | S011068_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM20 | IO06 | S011066_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM20 | IO07 | S011066_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM20 | IO08 | S011070_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM20 | IO09 | SPARE
VS01A_FIOM20 | IO10 | S011072_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM20 | IO11 | SPARE
VS01A_FIOM20 | IO12 | S011070_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM20 | IO13 | S011070_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM20 | IO14 | S011072_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM20 | IO15 | S011072_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM21 | IO00 | S011068_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM21 | IO01 | S011068_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM21 | IO02 | SPARE
VS01A_FIOM21 | IO03 | SPARE
VS01A_FIOM21 | IO04 | S011065_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM21 | IO05 | S011065_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM21 | IO06 | SPARE
VS01A_FIOM21 | IO07 | SPARE
VS01A_FIOM21 | IO08 | S011074_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM21 | IO09 | S011074_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM21 | IO10 | S011076_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM21 | IO11 | S011076_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM21 | IO12 | S011073_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM21 | IO13 | S011073_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM21 | IO14 | SPARE
VS01A_FIOM21 | IO15 | SPARE
VS01A_FIOM22 | IO00 | SPARE
VS01A_FIOM22 | IO01 | SPARE
VS01A_FIOM22 | IO02 | S011073_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM22 | IO03 | SPARE
VS01A_FIOM22 | IO04 | SPARE
VS01A_FIOM22 | IO05 | SPARE
VS01A_FIOM22 | IO06 | S011073_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM22 | IO07 | S011073_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM22 | IO08 | SPARE
VS01A_FIOM22 | IO09 | SPARE
VS01A_FIOM22 | IO10 | SPARE
VS01A_FIOM22 | IO11 | SPARE
VS01A_FIOM22 | IO12 | SPARE
VS01A_FIOM22 | IO13 | SPARE
VS01A_FIOM22 | IO14 | SPARE
VS01A_FIOM22 | IO15 | SPARE
VS01A_FIOM23 | IO00 | S011076_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM23 | IO01 | SPARE
VS01A_FIOM23 | IO02 | S011074_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM23 | IO03 | SPARE
VS01A_FIOM23 | IO04 | S011076_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM23 | IO05 | S011076_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM23 | IO06 | S011074_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM23 | IO07 | S011074_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM23 | IO08 | SPARE
VS01A_FIOM23 | IO09 | SPARE
VS01A_FIOM23 | IO10 | SPARE
VS01A_FIOM23 | IO11 | SPARE
VS01A_FIOM23 | IO12 | SPARE
VS01A_FIOM23 | IO13 | SPARE
VS01A_FIOM23 | IO14 | SPARE
VS01A_FIOM23 | IO15 | SPARE
VS01A_FIOM3 | IO00 | S011011_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM3 | IO01 | SPARE
VS01A_FIOM3 | IO02 | S011009_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM3 | IO03 | SPARE
VS01A_FIOM3 | IO04 | S011011_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM3 | IO05 | S011011_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM3 | IO06 | S011009_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM3 | IO07 | S011009_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM3 | IO08 | S011013_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM3 | IO09 | SPARE
VS01A_FIOM3 | IO10 | S011015_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM3 | IO11 | SPARE
VS01A_FIOM3 | IO12 | S011013_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM3 | IO13 | S011013_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM3 | IO14 | S011015_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM3 | IO15 | S011015_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM4 | IO00 | S011012_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM4 | IO01 | SPARE
VS01A_FIOM4 | IO02 | S011010_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM4 | IO03 | SPARE
VS01A_FIOM4 | IO04 | S011012_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM4 | IO05 | S011012_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM4 | IO06 | S011010_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM4 | IO07 | S011010_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM4 | IO08 | S011014_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM4 | IO09 | SPARE
VS01A_FIOM4 | IO10 | S011016_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM4 | IO11 | SPARE
VS01A_FIOM4 | IO12 | S011014_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM4 | IO13 | S011014_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM4 | IO14 | S011016_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM4 | IO15 | S011016_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM5 | IO00 | S011010_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO01 | S011010_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM5 | IO02 | S011002_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO03 | S011002_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM5 | IO04 | S011009_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO05 | S011009_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM5 | IO06 | S011001_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO07 | S011001_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM5 | IO08 | S011018_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO09 | S011018_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM5 | IO10 | S011026_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO11 | S011026_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM5 | IO12 | S011017_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO13 | S011017_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM5 | IO14 | S011025_JR1_PB | JAM RESET PUSHBUTTON
VS01A_FIOM5 | IO15 | S011025_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01A_FIOM6 | IO00 | S011019_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM6 | IO01 | SPARE
VS01A_FIOM6 | IO02 | S011017_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM6 | IO03 | SPARE
VS01A_FIOM6 | IO04 | S011019_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM6 | IO05 | S011019_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM6 | IO06 | S011017_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM6 | IO07 | S011017_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM6 | IO08 | S011021_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM6 | IO09 | SPARE
VS01A_FIOM6 | IO10 | S011023_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM6 | IO11 | SPARE
VS01A_FIOM6 | IO12 | S011021_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM6 | IO13 | S011021_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM6 | IO14 | S011023_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM6 | IO15 | S011023_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM7 | IO00 | S011020_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM7 | IO01 | SPARE
VS01A_FIOM7 | IO02 | S011018_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM7 | IO03 | SPARE
VS01A_FIOM7 | IO04 | S011020_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM7 | IO05 | S011020_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM7 | IO06 | S011018_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM7 | IO07 | S011018_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM7 | IO08 | S011022_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM7 | IO09 | SPARE
VS01A_FIOM7 | IO10 | S011024_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM7 | IO11 | SPARE
VS01A_FIOM7 | IO12 | S011022_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM7 | IO13 | S011022_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM7 | IO14 | S011024_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM7 | IO15 | S011024_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM8 | IO00 | S011027_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM8 | IO01 | SPARE
VS01A_FIOM8 | IO02 | S011025_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM8 | IO03 | SPARE
VS01A_FIOM8 | IO04 | S011027_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM8 | IO05 | S011027_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM8 | IO06 | S011025_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM8 | IO07 | S011025_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM8 | IO08 | S011029_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM8 | IO09 | SPARE
VS01A_FIOM8 | IO10 | S011031_BCN1 | 3 STACK IOLINK BEACON
VS01A_FIOM8 | IO11 | SPARE
VS01A_FIOM8 | IO12 | S011029_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM8 | IO13 | S011029_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM8 | IO14 | S011031_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM8 | IO15 | S011031_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM9 | IO00 | S011028_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM9 | IO01 | SPARE
VS01A_FIOM9 | IO02 | S011026_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM9 | IO03 | SPARE
VS01A_FIOM9 | IO04 | S011028_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM9 | IO05 | S011028_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM9 | IO06 | S011026_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM9 | IO07 | S011026_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM9 | IO08 | S011030_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM9 | IO09 | SPARE
VS01A_FIOM9 | IO10 | S011032_BCN1 | 2 STACK IOLINK BEACON
VS01A_FIOM9 | IO11 | SPARE
VS01A_FIOM9 | IO12 | S011030_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM9 | IO13 | S011030_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01A_FIOM9 | IO14 | S011032_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01A_FIOM9 | IO15 | S011032_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01C_FIOH17 | IO00 | S013079_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH17 | IO01 | SPARE
VS01C_FIOH17 | IO02 | SPARE
VS01C_FIOH17 | IO03 | SPARE
VS01C_FIOH17 | IO04 | S013079_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH17 | IO05 | S013079_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH17 | IO06 | SPARE
VS01C_FIOH17 | IO07 | SPARE
VS01C_FIOH17 | IO08 | SPARE
VS01C_FIOH17 | IO09 | SPARE
VS01C_FIOH17 | IO10 | SPARE
VS01C_FIOH17 | IO11 | SPARE
VS01C_FIOH17 | IO12 | SPARE
VS01C_FIOH17 | IO13 | SPARE
VS01C_FIOH17 | IO14 | SPARE
VS01C_FIOH17 | IO15 | SPARE
VS01C_FIOH19 | IO00 | S013085_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH19 | IO01 | SPARE
VS01C_FIOH19 | IO02 | S013083_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH19 | IO03 | SPARE
VS01C_FIOH19 | IO04 | S013085_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH19 | IO05 | S013085_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH19 | IO06 | S013083_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH19 | IO07 | S013083_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH19 | IO08 | S013087_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH19 | IO09 | SPARE
VS01C_FIOH19 | IO10 | S013081_PE1 | FULL PHOTOEYE 100%
VS01C_FIOH19 | IO11 | SPARE
VS01C_FIOH19 | IO12 | S013087_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH19 | IO13 | S013087_PE3 | FULL PHOTOEYE 50%
VS01C_FIOH19 | IO14 | S013081_PE2 | FULL PHOTOEYE 75%
VS01C_FIOH19 | IO15 | S013081_PE3 | FULL PHOTOEYE 50%
VS01C_FIOM17 | IO00 | S013079_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM17 | IO01 | SPARE
VS01C_FIOM17 | IO02 | SPARE
VS01C_FIOM17 | IO03 | SPARE
VS01C_FIOM17 | IO04 | S013079_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM17 | IO05 | S013079_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM17 | IO06 | SPARE
VS01C_FIOM17 | IO07 | SPARE
VS01C_FIOM17 | IO08 | SPARE
VS01C_FIOM17 | IO09 | SPARE
VS01C_FIOM17 | IO10 | SPARE
VS01C_FIOM17 | IO11 | SPARE
VS01C_FIOM17 | IO12 | VS01C_FIOH17 | FIO HUB
VS01C_FIOM17 | IO13 | SPARE
VS01C_FIOM17 | IO14 | SPARE
VS01C_FIOM17 | IO15 | SPARE
VS01C_FIOM18 | IO00 | S013080_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM18 | IO01 | S013080_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM18 | IO02 | S013088_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM18 | IO03 | S013088_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM18 | IO04 | SPARE
VS01C_FIOM18 | IO05 | SPARE
VS01C_FIOM18 | IO06 | SPARE
VS01C_FIOM18 | IO07 | SPARE
VS01C_FIOM18 | IO08 | SPARE
VS01C_FIOM18 | IO09 | SPARE
VS01C_FIOM18 | IO10 | SPARE
VS01C_FIOM18 | IO11 | SPARE
VS01C_FIOM18 | IO12 | SPARE
VS01C_FIOM18 | IO13 | SPARE
VS01C_FIOM18 | IO14 | SPARE
VS01C_FIOM18 | IO15 | SPARE
VS01C_FIOM19 | IO00 | S013083_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM19 | IO01 | SPARE
VS01C_FIOM19 | IO02 | S013081_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM19 | IO03 | SPARE
VS01C_FIOM19 | IO04 | S013087_JR1_PB | JAM RESET PUSHBUTTON
VS01C_FIOM19 | IO05 | S013087_JR1_PB_LT | JAM RESET PUSHBUTTON LIGHT
VS01C_FIOM19 | IO06 | SPARE
VS01C_FIOM19 | IO07 | SPARE
VS01C_FIOM19 | IO08 | S013085_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM19 | IO09 | SPARE
VS01C_FIOM19 | IO10 | S013087_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM19 | IO11 | SPARE
VS01C_FIOM19 | IO12 | VS01C_FIOH19 | FIO HUB
VS01C_FIOM19 | IO13 | SPARE
VS01C_FIOM19 | IO14 | SPARE
VS01C_FIOM19 | IO15 | SPARE
VS01C_FIOM20 | IO00 | S013084_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM20 | IO01 | SPARE
VS01C_FIOM20 | IO02 | S013082_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM20 | IO03 | SPARE
VS01C_FIOM20 | IO04 | S013084_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01C_FIOM20 | IO05 | S013084_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01C_FIOM20 | IO06 | S013082_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01C_FIOM20 | IO07 | S013082_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01C_FIOM20 | IO08 | S013086_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM20 | IO09 | SPARE
VS01C_FIOM20 | IO10 | S013088_BCN1 | 2 STACK IOLINK BEACON
VS01C_FIOM20 | IO11 | SPARE
VS01C_FIOM20 | IO12 | S013086_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01C_FIOM20 | IO13 | S013086_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
VS01C_FIOM20 | IO14 | S013088_EN1_PB | CHUTE ENABLE PUSHBUTTON
VS01C_FIOM20 | IO15 | S013088_EN1_PB_LT | CHUTE ENABLE PUSHBUTTON LIGHT
SLOT5_IB16 | I0 | MCM05 | S_PBLT START
SLOT5_IB16 | I1 | MCM05 | ST_PB STOP
SLOT5_IB16 | I2 | MCM05 | MF_PBLT MOTOR FAULT RESET
SLOT5_IB16 | I3 | MCM05 | JR_PBLT JAM RESET
SLOT5_IB16 | I4 | MCM05 | LAP_PBLT LOW AIR PRESSURE
SLOT5_IB16 | I5 | MCM05 | PBFR_PBLT POWER BRANCH FAULT RESET
SLOT5_IB16 | I6 | MCM05 | BATTERY_FAULT_UPS BATTERY FAULT
SLOT5_IB16 | I7 | MCM05 | ON_BATTERY ON BATTERY
SLOT5_IB16 | I8 | MCM05 | UPS_BATTERY_LOW UPS BATTERY LOW
SLOT5_IB16 | I9 | MCM05 | NAT_SWITCH ALARM NAT SWITCH
SLOT5_IB16 | I10 | SPARE
SLOT5_IB16 | I11 | SPARE
SLOT5_IB16 | I12 | SPARE
SLOT5_IB16 | I13 | SPARE
SLOT5_IB16 | I14 | SPARE
SLOT5_IB16 | I15 | SPARE
SLOT6_OB16E | O0 | MCM05 | ES_LT EMERGENCY STOP ACTUATED
SLOT6_OB16E | O1 | MCM05 | S_PBLT START LIGHT
SLOT6_OB16E | O2 | MCM05 | MF_PBLT MOTOR FAULT LIGHT
SLOT6_OB16E | O3 | MCM05 | JR_PBLT JAM RESTART LIGHT
SLOT6_OB16E | O4 | MCM05 | LAP_PBLT LOW AIR PRESSURE LIGHT
SLOT6_OB16E | O5 | MCM05 | PBFR_PBLT POWER BRANCH FAULT RESET LIGHT
SLOT6_OB16E | O6 | SPARE
SLOT6_OB16E | O7 | SPARE
SLOT6_OB16E | O8 | SPARE
SLOT6_OB16E | O9 | SPARE
SLOT6_OB16E | O10 | SPARE
SLOT6_OB16E | O11 | SPARE
SLOT6_OB16E | O12 | SPARE
SLOT6_OB16E | O13 | SPARE
SLOT6_OB16E | O14 | SPARE
SLOT6_OB16E | O15 | SPARE
SLOT7_IB16S | I0 | MCM05 | FIRE_ALARM FIRE ALARM
SLOT7_IB16S | I1 | SPARE
SLOT7_IB16S | I2 | MCM05 | ES_PB ES_PB_CH1
SLOT7_IB16S | I3 | MCM05 | ES_PB ES_PB_CH2
SLOT7_IB16S | I4 | SPARE
SLOT7_IB16S | I5 | SPARE
SLOT7_IB16S | I6
SLOT7_IB16S | I7 | SPARE
SLOT7_IB16S | I8 | SPARE
SLOT7_IB16S | I9 | SPARE
SLOT7_IB16S | I10 | SPARE
SLOT7_IB16S | I11 | SPARE
SLOT7_IB16S | I12 | SPARE
SLOT7_IB16S | I13 | SPARE
SLOT7_IB16S | I14 | SPARE
SLOT7_IB16S | I15 | SPARE

## NETWORK_PLC
DPM | DPM_IP | Name | PartNumber | IP
DPM01_VS01A | 11.200.1.2 | S011001_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.101
DPM01_VS01A | 11.200.1.2 | S011002_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.102
DPM01_VS01A | 11.200.1.2 | S011003_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.103
DPM01_VS01A | 11.200.1.2 | S011004_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.104
DPM01_VS01A | 11.200.1.2 | S011005_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.105
DPM01_VS01A | 11.200.1.2 | S011006_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.106
DPM01_VS01A | 11.200.1.2 | S011007_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.107
DPM01_VS01A | 11.200.1.2 | S011008_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.108
DPM01_VS01A | 11.200.1.2 | S011009_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.109
DPM01_VS01A | 11.200.1.2 | S011010_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.110
DPM01_VS01A | 11.200.1.2 | S011011_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.111
DPM01_VS01A | 11.200.1.2 | S011012_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.112
DPM01_VS01A | 11.200.1.2 | S011013_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.113
DPM01_VS01A | 11.200.1.2 | S011014_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.114
DPM01_VS01A | 11.200.1.2 | S011015_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.115
DPM01_VS01A | 11.200.1.2 | S011016_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.116
DPM01_VS01A | 11.200.1.2 | VS01A_FIOM1 | 5032-8IOLM12DR | 11.200.1.117
DPM01_VS01A | 11.200.1.2 | VS01A_FIOM2 | 5032-8IOLM12DR | 11.200.1.118
DPM01_VS01A | 11.200.1.2 | VS01A_FIOM3 | 5032-8IOLM12DR | 11.200.1.119
DPM01_VS01A | 11.200.1.2 | VS01A_FIOM4 | 5032-8IOLM12DR | 11.200.1.120
DPM01_VS01A | 11.200.1.2 | VS01A_FIOM5 | 5032-8IOLM12DR | 11.200.1.121
DPM02_VS01A | 11.200.1.3 | S011017_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.125
DPM02_VS01A | 11.200.1.3 | S011018_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.126
DPM02_VS01A | 11.200.1.3 | S011019_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.127
DPM02_VS01A | 11.200.1.3 | S011020_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.128
DPM02_VS01A | 11.200.1.3 | S011021_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.129
DPM02_VS01A | 11.200.1.3 | S011022_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.130
DPM02_VS01A | 11.200.1.3 | S011023_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.131
DPM02_VS01A | 11.200.1.3 | S011024_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.132
DPM02_VS01A | 11.200.1.3 | S011025_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.133
DPM02_VS01A | 11.200.1.3 | S011026_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.134
DPM02_VS01A | 11.200.1.3 | S011027_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.135
DPM02_VS01A | 11.200.1.3 | S011028_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.136
DPM02_VS01A | 11.200.1.3 | S011029_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.137
DPM02_VS01A | 11.200.1.3 | S011030_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.138
DPM02_VS01A | 11.200.1.3 | S011031_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.139
DPM02_VS01A | 11.200.1.3 | S011032_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.140
DPM02_VS01A | 11.200.1.3 | VS01A_FIOM6 | 5032-8IOLM12DR | 11.200.1.141
DPM02_VS01A | 11.200.1.3 | VS01A_FIOM7 | 5032-8IOLM12DR | 11.200.1.142
DPM02_VS01A | 11.200.1.3 | VS01A_FIOM8 | 5032-8IOLM12DR | 11.200.1.143
DPM02_VS01A | 11.200.1.3 | VS01A_FIOM9 | 5032-8IOLM12DR | 11.200.1.144
DPM03_VS01A | 11.200.1.4 | S011033_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.149
DPM03_VS01A | 11.200.1.4 | S011034_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.150
DPM03_VS01A | 11.200.1.4 | S011035_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.151
DPM03_VS01A | 11.200.1.4 | S011036_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.152
DPM03_VS01A | 11.200.1.4 | S011037_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.153
DPM03_VS01A | 11.200.1.4 | S011038_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.154
DPM03_VS01A | 11.200.1.4 | S011039_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.155
DPM03_VS01A | 11.200.1.4 | S011040_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.156
DPM03_VS01A | 11.200.1.4 | S011041_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.157
DPM03_VS01A | 11.200.1.4 | S011042_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.158
DPM03_VS01A | 11.200.1.4 | S011043_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.159
DPM03_VS01A | 11.200.1.4 | S011044_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.160
DPM03_VS01A | 11.200.1.4 | S011045_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.161
DPM03_VS01A | 11.200.1.4 | S011046_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.162
DPM03_VS01A | 11.200.1.4 | S011048_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.163
DPM03_VS01A | 11.200.1.4 | VS01A_FIOM10 | 5032-8IOLM12DR | 11.200.1.164
DPM03_VS01A | 11.200.1.4 | VS01A_FIOM11 | 5032-8IOLM12DR | 11.200.1.165
DPM03_VS01A | 11.200.1.4 | VS01A_FIOM12 | 5032-8IOLM12DR | 11.200.1.166
DPM03_VS01A | 11.200.1.4 | VS01A_FIOM13 | 5032-8IOLM12DR | 11.200.1.167
DPM03_VS01A | 11.200.1.4 | VS01A_FIOM14 | 5032-8IOLM12DR | 11.200.1.168
DPM04_VS01A | 11.200.1.5 | BYAB_2_VFD1 | 35S-6D3-P101 | 11.200.1.173
DPM04_VS01A | 11.200.1.5 | BYAB_3_VFD1 | 35S-6D3-P101 | 11.200.1.174
DPM04_VS01A | 11.200.1.5 | BYCB_2_VFD1 | 35S-6D3-P101 | 11.200.1.175
DPM04_VS01A | 11.200.1.5 | BYCB_3_VFD1 | 35S-6D3-P101 | 11.200.1.176
DPM04_VS01A | 11.200.1.5 | S011049_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.177
DPM04_VS01A | 11.200.1.5 | S011050_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.178
DPM04_VS01A | 11.200.1.5 | S011051_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.179
DPM04_VS01A | 11.200.1.5 | S011052_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.180
DPM04_VS01A | 11.200.1.5 | S011053_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.181
DPM04_VS01A | 11.200.1.5 | S011054_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.182
DPM04_VS01A | 11.200.1.5 | S011056_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.183
DPM04_VS01A | 11.200.1.5 | S011058_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.184
DPM04_VS01A | 11.200.1.5 | S011059_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.185
DPM04_VS01A | 11.200.1.5 | S011060_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.186
DPM04_VS01A | 11.200.1.5 | S011061_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.187
DPM04_VS01A | 11.200.1.5 | S011062_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.188
DPM04_VS01A | 11.200.1.5 | S011063_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.189
DPM04_VS01A | 11.200.1.5 | S011064_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.190
DPM04_VS01A | 11.200.1.5 | VS01A_FIOM15 | 5032-8IOLM12DR | 11.200.1.191
DPM04_VS01A | 11.200.1.5 | VS01A_FIOM16 | 5032-8IOLM12DR | 11.200.1.192
DPM04_VS01A | 11.200.1.5 | VS01A_FIOM17 | 5032-8IOLM12DR | 11.200.1.193
DPM04_VS01A | 11.200.1.5 | VS01A_FIOM18 | 5032-8IOLM12DR | 11.200.1.194
DPM04_VS01A | 11.200.1.5 | BYAB_3_FIO1 | 5032-8IOLM12DR | 11.200.1.195
DPM04_VS01A | 11.200.1.5 | BYCB_3_FIO1 | 5032-8IOLM12DR | 11.200.1.196
DPM05_VS01A | 11.200.1.6 | S011065_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.197
DPM05_VS01A | 11.200.1.6 | S011066_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.198
DPM05_VS01A | 11.200.1.6 | S011067_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.199
DPM05_VS01A | 11.200.1.6 | S011068_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.200
DPM05_VS01A | 11.200.1.6 | S011069_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.201
DPM05_VS01A | 11.200.1.6 | S011070_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.202
DPM05_VS01A | 11.200.1.6 | S011071_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.203
DPM05_VS01A | 11.200.1.6 | S011072_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.204
DPM05_VS01A | 11.200.1.6 | S011073_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.205
DPM05_VS01A | 11.200.1.6 | S011074_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.206
DPM05_VS01A | 11.200.1.6 | VS01A_FIOM19 | 5032-8IOLM12DR | 11.200.1.207
DPM05_VS01A | 11.200.1.6 | VS01A_FIOM20 | 5032-8IOLM12DR | 11.200.1.208
DPM05_VS01A | 11.200.1.6 | VS01A_FIOM21 | 5032-8IOLM12DR | 11.200.1.209
DPM05_VS01A | 11.200.1.6 | VS01A_FIOM22 | 5032-8IOLM12DR | 11.200.1.210
DPM05_VS01A | 11.200.1.6 | VS01A_FIOM23 | 5032-8IOLM12DR | 11.200.1.211
DPM02_VS01C | 11.200.1.7 | S013080_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.221
DPM02_VS01C | 11.200.1.7 | S013082_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.222
DPM02_VS01C | 11.200.1.7 | S013084_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.223
DPM02_VS01C | 11.200.1.7 | S013086_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.224
DPM02_VS01C | 11.200.1.7 | S013088_ZMX1 | ZMX-3DE2500HF-Q7-AMZCHD | 11.200.1.225
DPM02_VS01C | 11.200.1.7 | VS01C_FIOM16 | 5032-8IOLM12DR | 11.200.1.226
DPM02_VS01C | 11.200.1.7 | VS01C_FIOM17 | 5032-8IOLM12DR | 11.200.1.227
DPM02_VS01C | 11.200.1.7 | VS01C_FIOM18 | 5032-8IOLM12DR | 11.200.1.228
DPM02_VS01C | 11.200.1.7 | VS01C_FIOM19 | 5032-8IOLM12DR | 11.200.1.229
DPM02_VS01C | 11.200.1.7 | VS01C_FIOM20 | 5032-8IOLM12DR | 11.200.1.230