{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["BLOCK LIST_SORTED","FIO","PLC_IO_DESC","APF","SIO","NETWORK"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"BLOCK LIST_SORTED","index":0,"n_rows":437,"n_cols":11,"rows_kept":437,"cut":false,"hidden":false,"merged":[]}
["TAGNAME","ADDR","TERM","TERMDESC","DESCA","DESCB","DESCC","DESCD","DESCE","INST","LOC"]
["UNL11-2_APF1","UNL11-2_APF1_I0","I0",null,"UNL11-2/APF1_DISC","DISCONNECT"]
["UNL11-2_APF1","UNL11-2_APF1_I1","I1",null,"PS2-1/JDS3","JAM DETECTION SYSTEM"]
["UNL11-2_APF1","UNL11-2_APF1_I2","I2",null,"UNL11-2/PE1","PHOTOEYE"]
["UNL11-2_APF1","UNL11-2_APF1_I3","I3",null,"SPARE"]
["UNL11-2_APF1","UNL11-2_APF1_IO0","IO0",null,"UNL11-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL11-2_APF1","UNL11-2_APF1_IO1","IO1",null,"UNL11-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL11-2_APF1","UNL11-2_APF1_SI0","SI0",null,"UNL11-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL11-2_APF1","UNL11-2_APF1_SI1","SI1",null,"UNL11-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL11-2_APF1","UNL11-2_APF1_SI2","SI2",null,"SPARE"]
["UNL11-2_APF1","UNL11-2_APF1_SI3","SI3",null,"SPARE"]
["UNL11-2_APF1","UNL11-2_APF1_SO0","SO0",null,"UNL11-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL12-2_APF1","UNL12-2_APF1_I0","I0",null,"UNL12-2/APF1_DISC","DISCONNECT"]
["UNL12-2_APF1","UNL12-2_APF1_I1","I1",null,"UNL12-2/PE1","PHOTOEYE"]
["UNL12-2_APF1","UNL12-2_APF1_I2","I2",null,"SPARE"]
["UNL12-2_APF1","UNL12-2_APF1_I3","I3",null,"SPARE"]
["UNL12-2_APF1","UNL12-2_APF1_IO0","IO0",null,"UNL12-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL12-2_APF1","UNL12-2_APF1_IO1","IO1",null,"UNL12-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL12-2_APF1","UNL12-2_APF1_SI0","SI0",null,"UNL12-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL12-2_APF1","UNL12-2_APF1_SI1","SI1",null,"UNL12-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL12-2_APF1","UNL12-2_APF1_SI2","SI2",null,"SPARE"]
["UNL12-2_APF1","UNL12-2_APF1_SI3","SI3",null,"SPARE"]
["UNL12-2_APF1","UNL12-2_APF1_SO0","SO0",null,"UNL12-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL13-2_APF1","UNL13-2_APF1_I0","I0",null,"UNL13-2/APF1_DISC","DISCONNECT"]
["UNL13-2_APF1","UNL13-2_APF1_I1","I1",null,"UNL13-2/PE1","PHOTOEYE"]
["UNL13-2_APF1","UNL13-2_APF1_I2","I2",null,"SPARE"]
["UNL13-2_APF1","UNL13-2_APF1_I3","I3",null,"SPARE"]
["UNL13-2_APF1","UNL13-2_APF1_IO0","IO0",null,"UNL13-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL13-2_APF1","UNL13-2_APF1_IO1","IO1",null,"UNL13-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL13-2_APF1","UNL13-2_APF1_SI0","SI0",null,"UNL13-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL13-2_APF1","UNL13-2_APF1_SI1","SI1",null,"UNL13-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL13-2_APF1","UNL13-2_APF1_SI2","SI2",null,"SPARE"]
["UNL13-2_APF1","UNL13-2_APF1_SI3","SI3",null,"SPARE"]
["UNL13-2_APF1","UNL13-2_APF1_SO0","SO0",null,"UNL13-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL14-2_APF1","UNL14-2_APF1_I0","I0",null,"UNL14-2/APF1_DISC","DISCONNECT"]
["UNL14-2_APF1","UNL14-2_APF1_I1","I1",null,"UNL14-2/PE1","PHOTOEYE"]
["UNL14-2_APF1","UNL14-2_APF1_I2","I2",null,"PS2-1/JDS2","JAM DETECTION SYSTEM"]
["UNL14-2_APF1","UNL14-2_APF1_I3","I3",null,"SPARE"]
["UNL14-2_APF1","UNL14-2_APF1_IO0","IO0",null,"UNL14-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL14-2_APF1","UNL14-2_APF1_IO1","IO1",null,"UNL14-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL14-2_APF1","UNL14-2_APF1_SI0","SI0",null,"UNL14-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL14-2_APF1","UNL14-2_APF1_SI1","SI1",null,"UNL14-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL14-2_APF1","UNL14-2_APF1_SI2","SI2",null,"SPARE"]
["UNL14-2_APF1","UNL14-2_APF1_SI3","SI3",null,"SPARE"]
["UNL14-2_APF1","UNL14-2_APF1_SO0","SO0",null,"UNL14-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL15-2_APF1","UNL15-2_APF1_I0","I0",null,"UNL15-2/APF1_DISC","DISCONNECT"]
["UNL15-2_APF1","UNL15-2_APF1_I1","I1",null,"UNL15-2/PE1","PHOTOEYE"]
["UNL15-2_APF1","UNL15-2_APF1_I2","I2",null,"SPARE"]
["UNL15-2_APF1","UNL15-2_APF1_I3","I3",null,"SPARE"]
["UNL15-2_APF1","UNL15-2_APF1_IO0","IO0",null,"UNL15-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL15-2_APF1","UNL15-2_APF1_IO1","IO1",null,"UNL15-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL15-2_APF1","UNL15-2_APF1_SI0","SI0",null,"UNL15-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL15-2_APF1","UNL15-2_APF1_SI1","SI1",null,"UNL15-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL15-2_APF1","UNL15-2_APF1_SI2","SI2",null,"SPARE"]
["UNL15-2_APF1","UNL15-2_APF1_SI3","SI3",null,"SPARE"]
["UNL15-2_APF1","UNL15-2_APF1_SO0","SO0",null,"UNL15-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL16-2_APF1","UNL16-2_APF1_I0","I0",null,"UNL16-2/APF1_DISC","DISCONNECT"]
["UNL16-2_APF1","UNL16-2_APF1_I1","I1",null,"UNL16-2/PE1","PHOTOEYE"]
["UNL16-2_APF1","UNL16-2_APF1_I2","I2",null,"PS2-1/DPM1(PS1 OK)","POWER SUPPLY1 OK"]
["UNL16-2_APF1","UNL16-2_APF1_I3","I3",null,"PS2-1/DPM1(ENET_SW OK)","ETHERNET SWITCH OK"]
["UNL16-2_APF1","UNL16-2_APF1_IO0","IO0",null,"UNL16-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL16-2_APF1","UNL16-2_APF1_IO1","IO1",null,"UNL16-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL16-2_APF1","UNL16-2_APF1_SI0","SI0",null,"UNL16-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL16-2_APF1","UNL16-2_APF1_SI1","SI1",null,"UNL16-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL16-2_APF1","UNL16-2_APF1_SI2","SI2",null,"SPARE"]
["UNL16-2_APF1","UNL16-2_APF1_SI3","SI3",null,"SPARE"]
["UNL16-2_APF1","UNL16-2_APF1_SO0","SO0",null,"UNL16-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL17-2_APF1","UNL17-2_APF1_I0","I0",null,"UNL17-2/APF1_DISC","DISCONNECT"]
["UNL17-2_APF1","UNL17-2_APF1_I1","I1",null,"PS2-1/JDS1","JAM DETECTION SYSTEM"]
["UNL17-2_APF1","UNL17-2_APF1_I2","I2",null,"UNL17-2/PE1","PHOTOEYE"]
["UNL17-2_APF1","UNL17-2_APF1_I3","I3",null,"SPARE"]
["UNL17-2_APF1","UNL17-2_APF1_IO0","IO0",null,"UNL17-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL17-2_APF1","UNL17-2_APF1_IO1","IO1",null,"UNL17-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL17-2_APF1","UNL17-2_APF1_SI0","SI0",null,"UNL17-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL17-2_APF1","UNL17-2_APF1_SI1","SI1",null,"UNL17-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL17-2_APF1","UNL17-2_APF1_SI2","SI2",null,"SPARE"]
["UNL17-2_APF1","UNL17-2_APF1_SI3","SI3",null,"SPARE"]
["UNL17-2_APF1","UNL17-2_APF1_SO0","SO0",null,"UNL17-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL18-2_APF1","UNL18-2_APF1_I0","I0",null,"UNL18-2/APF1_DISC","DISCONNECT"]
["UNL18-2_APF1","UNL18-2_APF1_I1","I1",null,"UNL18-2/PE1","PHOTOEYE"]
["UNL18-2_APF1","UNL18-2_APF1_I2","I2",null,"SPARE"]
["UNL18-2_APF1","UNL18-2_APF1_I3","I3",null,"SPARE"]
["UNL18-2_APF1","UNL18-2_APF1_IO0","IO0",null,"UNL18-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL18-2_APF1","UNL18-2_APF1_IO1","IO1",null,"UNL18-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL18-2_APF1","UNL18-2_APF1_SI0","SI0",null,"UNL18-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL18-2_APF1","UNL18-2_APF1_SI1","SI1",null,"UNL18-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL18-2_APF1","UNL18-2_APF1_SI2","SI2",null,"SPARE"]
["UNL18-2_APF1","UNL18-2_APF1_SI3","SI3",null,"SPARE"]
["UNL18-2_APF1","UNL18-2_APF1_SO0","SO0",null,"UNL18-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL19-2_APF1","UNL19-2_APF1_I0","I0",null,"UNL19-2/APF1_DISC","DISCONNECT"]
["UNL19-2_APF1","UNL19-2_APF1_I1","I1",null,"UNL19-2/PE1","PHOTOEYE"]
["UNL19-2_APF1","UNL19-2_APF1_I2","I2",null,"SPARE"]
["UNL19-2_APF1","UNL19-2_APF1_I3","I3",null,"SPARE"]
["UNL19-2_APF1","UNL19-2_APF1_IO0","IO0",null,"UNL19-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL19-2_APF1","UNL19-2_APF1_IO1","IO1",null,"UNL19-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL19-2_APF1","UNL19-2_APF1_SI0","SI0",null,"UNL19-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL19-2_APF1","UNL19-2_APF1_SI1","SI1",null,"UNL19-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL19-2_APF1","UNL19-2_APF1_SI2","SI2",null,"SPARE"]
["UNL19-2_APF1","UNL19-2_APF1_SI3","SI3",null,"SPARE"]
["UNL19-2_APF1","UNL19-2_APF1_SO0","SO0",null,"UNL19-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["UNL20-2_APF1","UNL20-2_APF1_I0","I0",null,"UNL20-2/APF1_DISC","DISCONNECT"]
["UNL20-2_APF1","UNL20-2_APF1_I1","I1",null,"UNL20-2/PE1","PHOTOEYE"]
["UNL20-2_APF1","UNL20-2_APF1_I2","I2",null,"SPARE"]
["UNL20-2_APF1","UNL20-2_APF1_I3","I3",null,"SPARE"]
["UNL20-2_APF1","UNL20-2_APF1_IO0","IO0",null,"UNL20-2/UCP(RUN COMM.)[OUT]","UNLOADER CONTROL PANEL"]
["UNL20-2_APF1","UNL20-2_APF1_IO1","IO1",null,"UNL20-2/UCP(RUN. STAT)[IN]","UNLOADER CONTROL PANEL"]
["UNL20-2_APF1","UNL20-2_APF1_SI0","SI0",null,"UNL20-2/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["UNL20-2_APF1","UNL20-2_APF1_SI1","SI1",null,"UNL20-2/SSP1(START PB)","START PUSHBUTTON"]
["UNL20-2_APF1","UNL20-2_APF1_SI2","SI2",null,"SPARE"]
["UNL20-2_APF1","UNL20-2_APF1_SI3","SI3",null,"SPARE"]
["UNL20-2_APF1","UNL20-2_APF1_SO0","SO0",null,"UNL20-2/UCP (E. Stop Enable)[S]","UNLOADER CONTROL PANEL"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO0","IO0",null,"EPZ-PS2/AUX1","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO1","IO1",null,"EPZ-PS2/AUX2","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO2","IO2",null,"EPZ-PS2/AUX3","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO3","IO3",null,"EPZ-PS2/AUX4","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO4","IO4",null,"EPZ-PS2/AUX5","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO5","IO5",null,"EPZ-PS2/AUX6","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO6","IO6",null,"EPZ-PS2/AUX7","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO7","IO7",null,"EPZ-PS2/AUX8","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO8","IO8",null,"EPZ-PS2/AUX9","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO9","IO9",null,"EPZ-PS2/AUX10","CB AUX"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO10","IO10",null,"SPARE"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO11","IO11",null,"SPARE"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO12","IO12",null,"SPARE"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO13","IO13",null,"SPARE"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO14","IO14",null,"SPARE"]
["EPZ-PS2_FIO1","EPZ-PS2_FIO1_IO15","IO15",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SI0","SI0",null,"PS2-1/SSP1(E.STOP PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-1_SIO1","PS2-1_SIO1_SI1","SI1",null,"PS2-1/SSP1(START PB)","START PUSHBUTTON"]
["PS2-1_SIO1","PS2-1_SIO1_SI2","SI2",null,"PS2-1/PE1","PHOTOEYE"]
["PS2-1_SIO1","PS2-1_SIO1_SI3","SI3",null,"PS2-1/VFD1_DISC","DISCONNECT"]
["PS2-1_SIO1","PS2-1_SIO1_SI4","SI4",null,"PS2-2/VFD1_DISC","DISCONNECT"]
["PS2-1_SIO1","PS2-1_SIO1_SI5","SI5",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SI6","SI6",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SI7","SI7",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SO0","SO0",null,"PS2-1/STO1","SAFETY TORQUE OFF"]
["PS2-1_SIO1","PS2-1_SIO1_SO1","SO1",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SO2","SO2",null,"PS2-2/STO1","SAFETY TORQUE OFF"]
["PS2-1_SIO1","PS2-1_SIO1_SO3","SO3",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SO4","SO4",null,"PS2-1/HB","HORN"]
["PS2-1_SIO1","PS2-1_SIO1_SO5","SO5",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SO6","SO6",null,"SPARE"]
["PS2-1_SIO1","PS2-1_SIO1_SO7","SO7",null,"SPARE"]
["PS2-3_APF1","PS2-3_APF1_I0","I0",null,"PS2-3/APF1_DISC","DISCONNECT"]
["PS2-3_APF1","PS2-3_APF1_I1","I1",null,"PS2-3/PE1","PHOTOEYE"]
["PS2-3_APF1","PS2-3_APF1_I2","I2",null,"PS2-2/DPM(PS1 OK)","POWER SUPPLY1 OK"]
["PS2-3_APF1","PS2-3_APF1_I3","I3",null,"PS2-2/DPM(ENET_SW OK)","ETHERNET SWITCH OK"]
["PS2-3_APF1","PS2-3_APF1_IO0","IO0",null,"PS2-2/PE1","PHOTOEYE"]
["PS2-3_APF1","PS2-3_APF1_IO1","IO1",null,"SPARE"]
["PS2-3_APF1","PS2-3_APF1_SI0","SI0",null,"PS2-3/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-3_APF1","PS2-3_APF1_SI1","SI1",null,"PS2-3/SSP1(START PB)","START PUSHBUTTON"]
["PS2-3_APF1","PS2-3_APF1_SI2","SI2",null,"SPARE"]
["PS2-3_APF1","PS2-3_APF1_SI3","SI3",null,"SPARE"]
["PS2-3_APF1","PS2-3_APF1_SO0","SO0",null,"SPARE"]
["PS2-4PT_APF1","PS2-4PT_APF1_I0","I0",null,"PS2-4PT/APF1_DISC","DISCONNECT"]
["PS2-4PT_APF1","PS2-4PT_APF1_I1","I1",null,"PS2-4PT/PE1","PHOTOEYE"]
["PS2-4PT_APF1","PS2-4PT_APF1_I2","I2",null,"PS2-5/DPM1(PS1 OK)","POWER SUPPLY1 OK"]
["PS2-4PT_APF1","PS2-4PT_APF1_I3","I3",null,"PS2-5/DPM1(ENET_SW OK)","ETHERNET SWITCH OK"]
["PS2-4PT_APF1","PS2-4PT_APF1_IO0","IO0",null,"PS2-4PT/RBL1[OUT]","ROTATE BEACON"]
["PS2-4PT_APF1","PS2-4PT_APF1_IO1","IO1",null,"PS2-4PT/HB","HORN"]
["PS2-4PT_APF1","PS2-4PT_APF1_SI0","SI0",null,"PS2-4PT/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-4PT_APF1","PS2-4PT_APF1_SI1","SI1",null,"PS2-4PT/SSP1(START PB)","START PUSHBUTTON"]
["PS2-4PT_APF1","PS2-4PT_APF1_SI2","SI2",null,"SPARE"]
["PS2-4PT_APF1","PS2-4PT_APF1_SI3","SI3",null,"SPARE"]
["PS2-4PT_APF1","PS2-4PT_APF1_SO0","SO0",null,"SPARE"]
["PS2-5A_APF1","PS2-5A_APF1_I0","I0",null,"PS2-5A/APF1_DISC","DISCONNECT"]
["PS2-5A_APF1","PS2-5A_APF1_I1","I1",null,"PS2-5A/PE1","PHOTOEYE"]
["PS2-5A_APF1","PS2-5A_APF1_I2","I2",null,"PS2-5/VFD1_DISC","DISCONNECT"]
["PS2-5A_APF1","PS2-5A_APF1_I3","I3",null,"PS2-5/PE1","PHOTOEYE"]
["PS2-5A_APF1","PS2-5A_APF1_IO0","IO0",null,"PS2-5A/JDS1","JAM DETECTION SYSTEM"]
["PS2-5A_APF1","PS2-5A_APF1_IO1","IO1",null,"SPARE"]
["PS2-5A_APF1","PS2-5A_APF1_SI0","SI0",null,"PS2-5A/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-5A_APF1","PS2-5A_APF1_SI1","SI1",null,"PS2-5A/SSP1(START PB)","START PUSHBUTTON"]
["PS2-5A_APF1","PS2-5A_APF1_SI2","SI2",null,"SPARE"]
["PS2-5A_APF1","PS2-5A_APF1_SI3","SI3",null,"SPARE"]
["PS2-5A_APF1","PS2-5A_APF1_SO0","SO0",null,"PS2-5/VFD1_STO1","SAFETY TORQUE OFF"]
["PS2-7_APF1","PS2-7_APF1_I0","I0",null,"PS2-7/APF1_DISC","DISCONNECT"]
["PS2-7_APF1","PS2-7_APF1_I1","I1",null,"PS2-6/PE1","PHOTOEYE"]
["PS2-7_APF1","PS2-7_APF1_I2","I2",null,"PS2-7/PE1","PHOTOEYE"]
["PS2-7_APF1","PS2-7_APF1_I3","I3",null,"PS2-6/VFD1_DISC","DISCONNECT"]
["PS2-7_APF1","PS2-7_APF1_IO0","IO0",null,"PS2-6/HB","HORN"]
["PS2-7_APF1","PS2-7_APF1_IO1","IO1",null,"SPARE"]
["PS2-7_APF1","PS2-7_APF1_SI0","SI0",null,"PS2-7/SSP1(E.STOP PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-7_APF1","PS2-7_APF1_SI1","SI1",null,"PS2-7/SSP1(START PB)","START PUSHBUTTON"]
["PS2-7_APF1","PS2-7_APF1_SI2","SI2",null,"PS2-8SG/PSP1[S]","PROCESS STOP PANEL"]
["PS2-7_APF1","PS2-7_APF1_SI3","SI3",null,"SPARE"]
["PS2-7_APF1","PS2-7_APF1_SO0","SO0",null,"PS2-6/VFD1_STO","SAFETY TORQUE OFF"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_I0","I0",null,"PS2-8RTF-A/APF_DISC","DISCONNECT"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_I1","I1",null,"PS2-8RTF-A/PE1","PHOTOEYE"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_I2","I2",null,"SPARE"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_I3","I3",null,"SPARE"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_IO0","IO0",null,"SPARE"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_IO1","IO1",null,"SPARE"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_SI0","SI0",null,"PS2-8RTF-A/SSP1(E.STOP PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_SI1","SI1",null,"PS2-8RTF-A/SSP1(START PB)","START PUSHBUTTON"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_SI2","SI2",null,"SPARE"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_SI3","SI3",null,"SPARE"]
["PS2-8RTF-A_APF1","PS2-8RTF-A_APF1_SO0","SO0",null,"SPARE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_I0","I0",null,"PS2-8RTF-B/APF_DISC","DISCONNECT"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_I1","I1",null,"PS2-8RTF-B/PE1","PHOTOEYE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_I2","I2",null,"SPARE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_I3","I3",null,"SPARE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_IO0","IO0",null,"SPARE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_IO1","IO1",null,"SPARE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_SI0","SI0",null,"PS2-8RTF-B/SSP1(E.STOP PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_SI1","SI1",null,"PS2-8RTF-B/SSP1(START PB)","START PUSHBUTTON"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_SI2","SI2",null,"SPARE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_SI3","SI3",null,"SPARE"]
["PS2-8RTF-B_APF1","PS2-8RTF-B_APF1_SO0","SO0",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_I0","I0",null,"PS2-9/APF1_DISC","DISCONNECT"]
["PS2-9_APF1","PS2-9_APF1_I1","I1",null,"PS2-9/TPE1","TRACKING PHOTOEYE"]
["PS2-9_APF1","PS2-9_APF1_I2","I2",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_I3","I3",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_IO0","IO0",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_IO1","IO1",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_SI0","SI0",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_SI1","SI1",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_SI2","SI2",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_SI3","SI3",null,"SPARE"]
["PS2-9_APF1","PS2-9_APF1_SO0","SO0",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_I0","I0",null,"PS2-10WS1/APF1_DISC","DISCONNECT"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_I1","I1",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_I2","I2",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_I3","I3",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_IO0","IO0",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_IO1","IO1",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_SI0","SI0",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_SI1","SI1",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_SI2","SI2",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_SI3","SI3",null,"SPARE"]
["PS2-10WS1_APF1","PS2-10WS1_APF1_SO0","SO0",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_I0","I0",null,"PS2-10WS2/APF1_DISC","DISCONNECT"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_I1","I1",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_I2","I2",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_I3","I3",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_IO0","IO0",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_IO1","IO1",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_SI0","SI0",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_SI1","SI1",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_SI2","SI2",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_SI3","SI3",null,"SPARE"]
["PS2-10WS2_APF1","PS2-10WS2_APF1_SO0","SO0",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_I0","I0",null,"PS2-10WS3/APF1_DISC","DISCONNECT"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_I1","I1",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_I2","I2",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_I3","I3",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_IO0","IO0",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_IO1","IO1",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_SI0","SI0",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_SI1","SI1",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_SI2","SI2",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_SI3","SI3",null,"SPARE"]
["PS2-10WS3_APF1","PS2-10WS3_APF1_SO0","SO0",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_I0","I0",null,"PS2-10WS4/APF1_DISC","DISCONNECT"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_I1","I1",null,"PS2-10WS4/TPE1","TRACKING PHOTOEYE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_I2","I2",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_I3","I3",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_IO0","IO0",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_IO1","IO1",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_SI0","SI0",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_SI1","SI1",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_SI2","SI2",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_SI3","SI3",null,"SPARE"]
["PS2-10WS4_APF1","PS2-10WS4_APF1_SO0","SO0",null,"SPARE"]
["PS2-11_APF1","PS2-11_APF1_I0","I0",null,"PS2-11/APF1_DISC","DISCONNECT"]
["PS2-11_APF1","PS2-11_APF1_I1","I1",null,"PS2-11/TPE1","TRACKING PHOTOEYE"]
["PS2-11_APF1","PS2-11_APF1_I2","I2",null,"PS2-11/DPM(PS1 OK)","POWER SUPPLY1 OK"]
["PS2-11_APF1","PS2-11_APF1_I3","I3",null,"PS2-11/DPM(ENET_SW OK)","ETHERNET SWITCH OK"]
["PS2-11_APF1","PS2-11_APF1_IO0","IO0",null,"PS2-11/ENC1","ENCODER"]
["PS2-11_APF1","PS2-11_APF1_IO1","IO1",null,"SPARE"]
["PS2-11_APF1","PS2-11_APF1_SI0","SI0",null,"PS2-11/SSP1(E.STOP PB)","EMERGENCY STOP PUSHBUTTON"]
["PS2-11_APF1","PS2-11_APF1_SI1","SI1",null,"PS2-11/SSP1(START PB)","START PUSHBUTTON"]
["PS2-11_APF1","PS2-11_APF1_SI2","SI2",null,"SPARE"]
["PS2-11_APF1","PS2-11_APF1_SI3","SI3",null,"SPARE"]
["PS2-11_APF1","PS2-11_APF1_SO0","SO0",null,"SPARE"]
["PS2-12PT_APF1","PS2-12PT_APF1_I0","I0",null,"PS2-12PT/APF1_DISC","DISCONNECT"]
["PS2-12PT_APF1","PS2-12PT_APF1_I1","I1",null,"PS2-12PT/TPE1","TRACKING PHOTOEYE"]
["PS2-12PT_APF1","PS2-12PT_APF1_I2","I2",null,"PS2-12PT/ENC1","ENCODER"]
["PS2-12PT_APF1","PS2-12PT_APF1_I3","I3",null,"PS2-12PT/TPE2","TRACKING PHOTOEYE"]
["PS2-12PT_APF1","PS2-12PT_APF1_IO0","IO0",null,"SPARE"]
["PS2-12PT_APF1","PS2-12PT_APF1_IO1","IO1",null,"SPARE"]
["PS2-12PT_APF1","PS2-12PT_APF1_SI0","SI0",null,"SPARE"]
["PS2-12PT_APF1","PS2-12PT_APF1_SI1","SI1",null,"SPARE"]
["PS2-12PT_APF1","PS2-12PT_APF1_SI2","SI2",null,"SPARE"]
["PS2-12PT_APF1","PS2-12PT_APF1_SI3","SI3",null,"SPARE"]
["PS2-12PT_APF1","PS2-12PT_APF1_SO0","SO0",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_I0","I0",null,"PS2-13/APF1_DISC","DISCONNECT"]
["PS2-13_APF1","PS2-13_APF1_I1","I1",null,"PS2-13/TPE1","TRACKING PHOTOEYE"]
["PS2-13_APF1","PS2-13_APF1_I2","I2",null,"PS2-13/ENC1","ENCODER"]
["PS2-13_APF1","PS2-13_APF1_I3","I3",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_IO0","IO0",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_IO1","IO1",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_SI0","SI0",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_SI1","SI1",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_SI2","SI2",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_SI3","SI3",null,"SPARE"]
["PS2-13_APF1","PS2-13_APF1_SO0","SO0",null,"SPARE"]
["PS2-14PT_APF1","PS2-14PT_APF1_I0","I0",null,"PS2-14PT/APF1_DISC","DISCONNECT"]
["PS2-14PT_APF1","PS2-14PT_APF1_I1","I1",null,"PS2-14PT/TPE1","TRACKING PHOTOEYE"]
["PS2-14PT_APF1","PS2-14PT_APF1_I2","I2",null,"PS214PT/ENC1","ENCODER"]
["PS2-14PT_APF1","PS2-14PT_APF1_I3","I3",null,"PS2-14PT/TPE2","TRACKING PHOTOEYE"]
["PS2-14PT_APF1","PS2-14PT_APF1_IO0","IO0",null,"SPARE"]
["PS2-14PT_APF1","PS2-14PT_APF1_IO1","IO1",null,"SPARE"]
["PS2-14PT_APF1","PS2-14PT_APF1_SI0","SI0",null,"PS2-14PT/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-14PT_APF1","PS2-14PT_APF1_SI1","SI1",null,"PS2-14PT/SSP1(START PB)","START PUSHBUTTON"]
["PS2-14PT_APF1","PS2-14PT_APF1_SI2","SI2",null,"SPARE"]
["PS2-14PT_APF1","PS2-14PT_APF1_SI3","SI3",null,"SPARE"]
["PS2-14PT_APF1","PS2-14PT_APF1_SO0","SO0",null,"SPARE"]
["PS2-15_APF1","PS2-15_APF1_I0","I0",null,"PS2-15/APF1_DISC","DISCONNECT"]
["PS2-15_APF1","PS2-15_APF1_I1","I1",null,"PS2-15/ENC1","ENCODER"]
["PS2-15_APF1","PS2-15_APF1_I2","I2",null,"PS2-16SR/DPM1(PS1 OK)","POWER SUPPLY1 OK"]
["PS2-15_APF1","PS2-15_APF1_I3","I3",null,"PS2-16SR/DPM1(ENET_SW OK)","ETHERNET SWITCH OK"]
["PS2-15_APF1","PS2-15_APF1_IO0","IO0",null,"PS2-15/TPE1","TRACKING PHOTOEYE"]
["PS2-15_APF1","PS2-15_APF1_IO1","IO1",null,"SPARE"]
["PS2-15_APF1","PS2-15_APF1_SI0","SI0",null,"PS2-16SR/EPC1[S]","EMERGENCY PULL CORD"]
["PS2-15_APF1","PS2-15_APF1_SI1","SI1",null,"PS2-16SR/EPC1_2[S]","EMERGENCY PULL CORD"]
["PS2-15_APF1","PS2-15_APF1_SI2","SI2",null,"PS2-16SR/SSP1(E.STOP PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-15_APF1","PS2-15_APF1_SI3","SI3",null,"PS2-16SR/SSP1(START PB)","START PUSHBUTTON"]
["PS2-15_APF1","PS2-15_APF1_SO0","SO0",null,"SPARE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO0","IO0",null,"PS2-16SR_LRP_RECEIVE","LONG RANGE PHOTOEYE RECIVE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO1","IO1",null,"PS2-16SR_PRX_INFEED","PROXIMITY SENSOR"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO2","IO2",null,"PS2-16SR_BCN1_RED","RED BEACON"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO3","IO3",null,"PS2-16SR_BCN1_HRN","HORN BEACON"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO4","IO4",null,"PS2-16SR_CHUTE1_PE1","PHOTOEYE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO5","IO5",null,"PS2-16SR_CHUTE1_PE2","PHOTOEYE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO6","IO6",null,"PS2-16SR_CHUTE2_PE1","PHOTOEYE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO7","IO7",null,"PS2-16SR_CHUTE2_PE2","PHOTOEYE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO8","IO8",null,"PS2-16SR_CHUTE3_PE1","PHOTOEYE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO9","IO9",null,"PS2-16SR_CHUTE3_PE2","PHOTOEYE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO10","IO10",null,"PS2-16SR/ENC1","ENCODER"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO11","IO11",null,"SPARE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO12","IO12",null,"PS2-16SR_CHUTE1_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO13","IO13",null,"SPARE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO14","IO14",null,"PS2-16SR_CHUTE2_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO1","PS2-16SR_FIO1_IO15","IO15",null,"PS2-16SR_CHUTE3_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO0","IO0",null,"PS2-16SR_CHUTE4_PE1","PHOTOEYE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO1","IO1",null,"PS2-16SR_CHUTE4_PE2","PHOTOEYE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO2","IO2",null,"PS2-16SR_CHUTE5_PE1","PHOTOEYE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO3","IO3",null,"PS2-16SR_CHUTE5_PE2","PHOTOEYE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO4","IO4",null,"PS2-16SR_CHUTE4_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO5","IO5",null,"SPARE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO6","IO6",null,"PS2-16SR_CHUTE5_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO7","IO7",null,"SPARE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO8","IO8",null,"SPARE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO9","IO9",null,"SPARE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO10","IO10",null,"PS2-16SR_DDCS_1_UPPER_PE","PHOTOEYE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO11","IO11",null,"PS2-16SR_DDCS_1_LOWER_PE","PHOTOEYE"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO12","IO12",null,"PS2-16SR_DDCS_1_UPPER_LT","STATION LIGHT"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO13","IO13",null,"PS2-16SR_DDCS_1_LOWER_LT","STATION LIGHT"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO14","IO14",null,"PS2-16SR_DDCS_1_PB1_ACK","DEBRIS DETECT"]
["PS2-16SR_FIO2","PS2-16SR_FIO2_IO15","IO15",null,"SPARE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO0","IO0",null,"PS2-16SR_CHUTE6_PE1","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO1","IO1",null,"PS2-16SR_CHUTE6_PE2","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO2","IO2",null,"PS2-16SR_CHUTE7_PE1","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO3","IO3",null,"PS2-16SR_CHUTE7_PE2","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO4","IO4",null,"PS2-16SR_CHUTE8_PE1","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO5","IO5",null,"PS2-16SR_CHUTE8_PE2","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO6","IO6",null,"PS2-16SR_CHUTE9_PE1","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO7","IO7",null,"PS2-16SR_CHUTE9_PE2","PHOTOEYE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO8","IO8",null,"PS2-DPP/MAIN_CB_MONITORING","CB MONITORING"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO9","IO9",null,"PS2-DPP/CB1_MONITORING","CB MONITORING"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO10","IO10",null,"PS2-DPP/CB2_MONITORING","CB MONITORING"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO11","IO11",null,"PS2-DPP/CB3_MONITORING","CB MONITORING"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO12","IO12",null,"PS2-16SR_CHUTE6_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO13","IO13",null,"PS2-16SR_CHUTE7_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO14","IO14",null,"PS2-16SR_CHUTE8_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO3","PS2-16SR_FIO3_IO15","IO15",null,"PS2-16SR_CHUTE9_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO0","IO0",null,"PS2-16SR_CHUTE10_PE1","PHOTOEYE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO1","IO1",null,"PS2-16SR_CHUTE10_PE2","PHOTOEYE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO2","IO2",null,"PS2-16SR_CHUTE11_PE1","PHOTOEYE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO3","IO3",null,"PS2-16SR_CHUTE11_PE2","PHOTOEYE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO4","IO4",null,"PS2-16SR_CHUTE10_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO5","IO5",null,"SPARE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO6","IO6",null,"PS2-16SR_CHUTE11_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO7","IO7",null,"SPARE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO8","IO8",null,"SPARE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO9","IO9",null,"SPARE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO10","IO10",null,"PS2-16SR_DDCS_2_UPPER_PE","PHOTOEYE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO11","IO11",null,"PS2-16SR_DDCS_2_LOWER_PE","PHOTOEYE"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO12","IO12",null,"PS2-16SR_DDCS_2_UPPER_LT","STATION LIGHT"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO13","IO13",null,"PS2-16SR_DDCS_2_LOWER_LT","STATION LIGHT"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO14","IO14",null,"PS2-16SR_DDCS_2_PB1_ACK","DEBRIS DETECT"]
["PS2-16SR_FIO4","PS2-16SR_FIO4_IO15","IO15",null,"SPARE"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_I0","I0",null,"PS2-16SRDB/APF1_DISC","DISCONNECT"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_I1","I1",null,"PS2-16SRDB/PE1","PHOTOEYE"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_I2","I2",null,"PS2-16SR/DPM2(PS1 OK)","POWER SUPPLY1 OK"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_I3","I3",null,"PS2-16SR/DPM2(ENET_SW OK)","ETHERNET SWITCH OK"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_IO0","IO0",null,"PS2-16SR/TPE1","TRACKING PHOTOEYE"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_IO1","IO1",null,"PS2-16SR/VFD1_DISC","DISCONNECT"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_SI0","SI0",null,"PS2-16SR/SSP2(E.STOP PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_SI1","SI1",null,"PS2-16SR/SSP2(START PB)","START PUSHBUTTON"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_SI2","SI2",null,"PS2-16SR/EPC2_1","EMERGENCY PULL CORD"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_SI3","SI3",null,"PS2-16SR/EPC2_2","EMERGENCY PULL CORD"]
["PS2-16SRDB_APF1","PS2-16SRDB_APF1_SO0","SO0",null,"PS2-16SR/VFD1_STO","SAFETY TORQUE OFF"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO0","IO0",null,"PS2-16SR_CHUTE12_PE1","PHOTOEYE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO1","IO1",null,"PS2-16SR_CHUTE12_PE2","PHOTOEYE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO2","IO2",null,"PS2-16SR_CHUTE13_PE1","PHOTOEYE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO3","IO3",null,"PS2-16SR_CHUTE13_PE2","PHOTOEYE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO4","IO4",null,"PS2-16SR_CHUTE12_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO5","IO5",null,"SPARE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO6","IO6",null,"PS2-16SR_CHUTE13_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO7","IO7",null,"SPARE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO8","IO8",null,"PS2-16SR_CHUTE14_PE1","PHOTOEYE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO9","IO9",null,"PS2-16SR_CHUTE14_PE2","PHOTOEYE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO10","IO10",null,"PS2-16SR_CHUTE14_DCM_CABLE","DIVERT CONTROL MODULE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO11","IO11",null,"SPARE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO12","IO12",null,"PS2-16SR_SDP1_SEND","SHOE DETECT PHOTOEYE SEND"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO13","IO13",null,"PS2-16SR_SDP1_RECEIVE","SHOE DETECT PHOTOEYE RECEIVE"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO14","IO14",null,"PS2-16SR_SDP2_SEND","SHOE DETECT PHOTOEYE SEND"]
["PS2-16SR_FIO5","PS2-16SR_FIO5_IO15","IO15",null,"PS2-16SR_SDP2_RECEIVE","SHOE DETECT PHOTOEYE RECEIVE"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO0","IO0",null,"PS2-16SR_LRP_SEND","LONG RANGE PHOTOEYE SEND"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO1","IO1",null,"PS2-16SR_PRX_DISCHARGE","DISCONNECT"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO2","IO2",null,"PS2-16SR_SSDP_1","SYNC SHOE DETECT PHOTOEYE"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO3","IO3",null,"PS2-16SR_SSDP_2","SYNC SHOE DETECT PHOTOEYE"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO4","IO4",null,"PS2-16SR_DDCS_3_UPPER_PE","PHOTOEYE"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO5","IO5",null,"PS2-16SR_DDCS_3_LOWER_PE","PHOTOEYE"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO6","IO6",null,"PS2-16SR_DDCS_3_UPPER_LT","STATION LIGHT"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO7","IO7",null,"PS2-16SR_DDCS_3_LOWER_LT","STATION LIGHT"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO8","IO8",null,"PS2-16SR_DDCS_3_PB1_ACK","DEBRIS DETECT"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO9","IO9",null,"PS2-16SR_OILER_PUMP_SIGNAL","OILER PUMP SIGNAL"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO10","IO10",null,"PS2-16SR_OILER_BCN_AMBER","OILER AMBER BEACON"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO11","IO11",null,"PS2-16SR_OILER_BCN_GREEN","OILER GREEN BEACON"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO12","IO12",null,"PS2-16SR_BCN2_ORANGE","ORANGE BEACON"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO13","IO13",null,"PS2-16SR_BCN2_BLUE","BLUE BEACON"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO14","IO14",null,"PS2-16SR_BCN2_YELLOW","YELLOW BEACON"]
["PS2-16SR_FIO6","PS2-16SR_FIO6_IO15","IO15",null,"PS2-16SR_BCN2_RED","RED BEACON"]
["PS2-17_APF1","PS2-17_APF1_I0","I0",null,"PS2-17/APF1_DISC","DISCONNECT"]
["PS2-17_APF1","PS2-17_APF1_I1","I1",null,"PS2-17/JDS1","JAM DETECTION SYSTEM"]
["PS2-17_APF1","PS2-17_APF1_I2","I2",null,"SPARE"]
["PS2-17_APF1","PS2-17_APF1_I3","I3",null,"SPARE"]
["PS2-17_APF1","PS2-17_APF1_IO0","IO0",null,"SPARE"]
["PS2-17_APF1","PS2-17_APF1_IO1","IO1",null,"SPARE"]
["PS2-17_APF1","PS2-17_APF1_SI0","SI0",null,"PS2-17/SSP1(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-17_APF1","PS2-17_APF1_SI1","SI1",null,"PS2-17/SSP1(START PB)","START PUSHBUTTON"]
["PS2-17_APF1","PS2-17_APF1_SI2","SI2",null,"PS2-16SR/SSP3(E-Stop PB)[S]","EMERGENCY STOP PUSHBUTTON"]
["PS2-17_APF1","PS2-17_APF1_SI3","SI3",null,"PS2-16SR/SSP3(START PB)","START PUSHBUTTON"]
["PS2-17_APF1","PS2-17_APF1_SO0","SO0",null,"SPARE"]

{"sheet":"FIO","index":1,"n_rows":8,"n_cols":18,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
["P_TAG1","IO0","IO1","IO2","IO3","IO4","IO5","IO6","IO7","IO8","IO9","IO10","IO11","IO12","IO13","IO14","IO15","DPM"]
["EPZ-PS2/FIO1","EPZ-PS2/AUX1","EPZ-PS2/AUX2","EPZ-PS2/AUX3","EPZ-PS2/AUX4","EPZ-PS2/AUX5","EPZ-PS2/AUX6","EPZ-PS2/AUX7","EPZ-PS2/AUX8","EPZ-PS2/AUX9","EPZ-PS2/AUX10",null,null,null,null,null,null,"PS2-16SR/DPM2"]
["PS2-16SR/FIO1","PS2-16SR_LRP_RECEIVE","PS2-16SR_PRX_INFEED","PS2-16SR_BCN1_RED","PS2-16SR_BCN1_HRN","PS2-16SR_CHUTE1_PE1","PS2-16SR_CHUTE1_PE2","PS2-16SR_CHUTE2_PE1","PS2-16SR_CHUTE2_PE2","PS2-16SR_CHUTE3_PE1","PS2-16SR_CHUTE3_PE2","PS2-16SR/ENC1",null,"PS2-16SR_CHUTE1_DCM_CABLE",null,"PS2-16SR_CHUTE2_DCM_CABLE","PS2-16SR_CHUTE3_DCM_CABLE","PS2-16SR/DPM1"]
["PS2-16SR/FIO2","PS2-16SR_CHUTE4_PE1","PS2-16SR_CHUTE4_PE2","PS2-16SR_CHUTE5_PE1","PS2-16SR_CHUTE5_PE2","PS2-16SR_CHUTE4_DCM_CABLE",null,"PS2-16SR_CHUTE5_DCM_CABLE",null,null,null,"PS2-16SR_DDCS_1_UPPER_PE","PS2-16SR_DDCS_1_LOWER_PE","PS2-16SR_DDCS_1_UPPER_LT","PS2-16SR_DDCS_1_LOWER_LT","PS2-16SR_DDCS_1_PB1_ACK",null,"PS2-16SR/DPM1"]
["PS2-16SR/FIO3","PS2-16SR_CHUTE6_PE1","PS2-16SR_CHUTE6_PE2","PS2-16SR_CHUTE7_PE1","PS2-16SR_CHUTE7_PE2","PS2-16SR_CHUTE8_PE1","PS2-16SR_CHUTE8_PE2","PS2-16SR_CHUTE9_PE1","PS2-16SR_CHUTE9_PE2","PS2-DPP/MAIN_CB_MONITORING","PS2-DPP/CB1_MONITORING","PS2-DPP/CB2_MONITORING","PS2-DPP/CB3_MONITORING","PS2-16SR_CHUTE6_DCM_CABLE","PS2-16SR_CHUTE7_DCM_CABLE","PS2-16SR_CHUTE8_DCM_CABLE","PS2-16SR_CHUTE9_DCM_CABLE","PS2-16SR/DPM1"]
["PS2-16SR/FIO4","PS2-16SR_CHUTE10_PE1","PS2-16SR_CHUTE10_PE2","PS2-16SR_CHUTE11_PE1","PS2-16SR_CHUTE11_PE2","PS2-16SR_CHUTE10_DCM_CABLE",null,"PS2-16SR_CHUTE11_DCM_CABLE",null,null,null,"PS2-16SR_DDCS_2_UPPER_PE","PS2-16SR_DDCS_2_LOWER_PE","PS2-16SR_DDCS_2_UPPER_LT","PS2-16SR_DDCS_2_LOWER_LT","PS2-16SR_DDCS_2_PB1_ACK",null,"PS2-16SR/DPM1"]
["PS2-16SR/FIO5","PS2-16SR_CHUTE12_PE1","PS2-16SR_CHUTE12_PE2","PS2-16SR_CHUTE13_PE1","PS2-16SR_CHUTE13_PE2","PS2-16SR_CHUTE12_DCM_CABLE",null,"PS2-16SR_CHUTE13_DCM_CABLE",null,"PS2-16SR_CHUTE14_PE1","PS2-16SR_CHUTE14_PE2","PS2-16SR_CHUTE14_DCM_CABLE",null,"PS2-16SR_SDP1_SEND","PS2-16SR_SDP1_RECEIVE","PS2-16SR_SDP2_SEND","PS2-16SR_SDP2_RECEIVE","PS2-16SR/DPM2"]
["PS2-16SR/FIO6","PS2-16SR_LRP_SEND","PS2-16SR_PRX_DISCHARGE","PS2-16SR_SSDP_1","PS2-16SR_SSDP_2","PS2-16SR_DDCS_3_UPPER_PE","PS2-16SR_DDCS_3_LOWER_PE","PS2-16SR_DDCS_3_UPPER_LT","PS2-16SR_DDCS_3_LOWER_LT","PS2-16SR_DDCS_3_PB1_ACK","PS2-16SR_OILER_PUMP_SIGNAL","PS2-16SR_OILER_BCN_AMBER","PS2-16SR_OILER_BCN_GREEN","PS2-16SR_BCN2_ORANGE","PS2-16SR_BCN2_BLUE","PS2-16SR_BCN2_YELLOW","PS2-16SR_BCN2_RED","PS2-16SR/DPM2"]

{"sheet":"PLC_IO_DESC","index":2,"n_rows":437,"n_cols":4,"rows_kept":437,"cut":false,"hidden":false,"merged":[[349,3,436,3],[1,3,71,3],[72,3,157,3],[158,3,227,3],[228,3,293,3],[294,3,348,3]]}
["Devices","Channel","Connected Device","DPM"]
["UNL16-2/APF1","I0","UNL16-2/APF1_DISC","PS2-1/DPM1"]
["UNL16-2/APF1","I1","UNL16-2/PE1"]
["UNL16-2/APF1","I2","PS2-1/DPM1(PS1 OK)"]
["UNL16-2/APF1","I3","PS2-1/DPM1(ENET_SW OK)"]
["UNL16-2/APF1","IO0","UNL16-2/UCP(RUN. STAT)[IN]"]
["UNL16-2/APF1","IO1","UNL16-2/UCP(RUN COMM.)[OUT]"]
["UNL16-2/APF1","SI0","UNL16-2/SSP1(E-Stop PB)[S]"]
["UNL16-2/APF1","SI1","UNL16-2/SSP1(START PB)"]
["UNL16-2/APF1","SI2"]
["UNL16-2/APF1","SI3"]
["UNL16-2/APF1","SO0","UNL16-2/UCP (E. Stop Enable)[S]"]
["UNL17-2/APF1","I0","UNL17-2/APF1_DISC"]
["UNL17-2/APF1","I1","PS2-1/JDS1"]
["UNL17-2/APF1","I2","UNL17-2/PE1"]
["UNL17-2/APF1","I3"]
["UNL17-2/APF1","IO0","UNL17-2/UCP(RUN. STAT)[IN]"]
["UNL17-2/APF1","IO1","UNL17-2/UCP(RUN COMM.)[OUT]"]
["UNL17-2/APF1","SI0","UNL17-2/SSP1(E-Stop PB)[S]"]
["UNL17-2/APF1","SI1","UNL17-2/SSP1(START PB)"]
["UNL17-2/APF1","SI2"]
["UNL17-2/APF1","SI3"]
["UNL17-2/APF1","SO0","UNL17-2/UCP (E. Stop Enable)[S]"]
["UNL18-2/APF1","I0","UNL18-2/APF1_DISC"]
["UNL18-2/APF1","I1","UNL18-2/PE1"]
["UNL18-2/APF1","I2"]
["UNL18-2/APF1","I3"]
["UNL18-2/APF1","IO0","UNL18-2/UCP(RUN. STAT)[IN]"]
["UNL18-2/APF1","IO1","UNL18-2/UCP(RUN COMM.)[OUT]"]
["UNL18-2/APF1","SI0","UNL18-2/SSP1(E-Stop PB)[S]"]
["UNL18-2/APF1","SI1","UNL18-2/SSP1(START PB)"]
["UNL18-2/APF1","SI2"]
["UNL18-2/APF1","SI3"]
["UNL18-2/APF1","SO0","UNL18-2/UCP (E. Stop Enable)[S]"]
["UNL19-2/APF1","I0","UNL19-2/APF1_DISC"]
["UNL19-2/APF1","I1","UNL19-2/PE1"]
["UNL19-2/APF1","I2"]
["UNL19-2/APF1","I3"]
["UNL19-2/APF1","IO0","UNL19-2/UCP(RUN. STAT)[IN]"]
["UNL19-2/APF1","IO1","UNL19-2/UCP(RUN COMM.)[OUT]"]
["UNL19-2/APF1","SI0","UNL19-2/SSP1(E-Stop PB)[S]"]
["UNL19-2/APF1","SI1","UNL19-2/SSP1(START PB)"]
["UNL19-2/APF1","SI2"]
["UNL19-2/APF1","SI3"]
["UNL19-2/APF1","SO0","UNL19-2/UCP (E. Stop Enable)[S]"]
["UNL20-2/APF1","I0","UNL20-2/APF1_DISC"]
["UNL20-2/APF1","I1","UNL20-2/PE1"]
["UNL20-2/APF1","I2"]
["UNL20-2/APF1","I3"]
["UNL20-2/APF1","IO0","UNL20-2/UCP(RUN. STAT)[IN]"]
["UNL20-2/APF1","IO1","UNL20-2/UCP(RUN COMM.)[OUT]"]
["UNL20-2/APF1","SI0","UNL20-2/SSP1(E-Stop PB)[S]"]
["UNL20-2/APF1","SI1","UNL20-2/SSP1(START PB)"]
["UNL20-2/APF1","SI2"]
["UNL20-2/APF1","SI3"]
["UNL20-2/APF1","SO0","UNL20-2/UCP (E. Stop Enable)[S]"]
["PS2-1/SIO1","SI0","PS2-1/SSP1(E.STOP PB)[S]"]
["PS2-1/SIO1","SI1","PS2-1/SSP1(START PB)"]
["PS2-1/SIO1","SI2","PS2-1/PE1"]
["PS2-1/SIO1","SI3","PS2-1/VFD1_DISC"]
["PS2-1/SIO1","SI4","PS2-2/VFD1_DISC"]
["PS2-1/SIO1","SI5"]
["PS2-1/SIO1","SI6"]
["PS2-1/SIO1","SI7"]
["PS2-1/SIO1","SO0","PS2-1/STO1"]
["PS2-1/SIO1","SO1"]
["PS2-1/SIO1","SO2","PS2-2/STO1"]
["PS2-1/SIO1","SO3"]
["PS2-1/SIO1","SO4","PS2-1/HB"]
["PS2-1/SIO1","SO5"]
["PS2-1/SIO1","SO6"]
["PS2-1/SIO1","SO7"]
["PS2-14PT/APF1","I0","PS2-14PT/APF1_DISC","PS2-16SR/DPM1"]
["PS2-14PT/APF1","I1","PS2-14PT/TPE1"]
["PS2-14PT/APF1","I2","PS214PT/ENC1 "]
["PS2-14PT/APF1","I3","PS2-14PT/TPE2"]
["PS2-14PT/APF1","IO0"]
["PS2-14PT/APF1","IO1"]
["PS2-14PT/APF1","SI0","PS2-14PT/SSP1(E-Stop PB)[S]"]
["PS2-14PT/APF1","SI1","PS2-14PT/SSP1(START PB)"]
["PS2-14PT/APF1","SI2"]
["PS2-14PT/APF1","SI3"]
["PS2-14PT/APF1","SO0"]
["PS2-15/APF1","I0","PS2-15/APF1_DISC"]
["PS2-15/APF1","I1","PS2-15/ENC1"]
["PS2-15/APF1","I2","PS2-16SR/DPM1(PS1 OK)"]
["PS2-15/APF1","I3","PS2-16SR/DPM1(ENET_SW OK)"]
["PS2-15/APF1","IO0","PS2-15/TPE1"]
["PS2-15/APF1","IO1"]
["PS2-15/APF1","SI0","PS2-16SR/EPC1[S]"]
["PS2-15/APF1","SI1","PS2-16SR/EPC1_2[S]"]
["PS2-15/APF1","SI2","PS2-16SR/SSP1(E.STOP PB)[S]"]
["PS2-15/APF1","SI3","PS2-16SR/SSP1(START PB)"]
["PS2-15/APF1","SO0"]
["PS2-16SR/FIO1","IO0","PS2-16SR_LRP_RECEIVE"]
["PS2-16SR/FIO1","IO1","PS2-16SR_PRX_INFEED"]
["PS2-16SR/FIO1","IO2","PS2-16SR_BCN1_RED"]
["PS2-16SR/FIO1","IO3","PS2-16SR_BCN1_HRN"]
["PS2-16SR/FIO1","IO4","PS2-16SR_CHUTE1_PE1"]
["PS2-16SR/FIO1","IO5","PS2-16SR_CHUTE1_PE2"]
["PS2-16SR/FIO1","IO6","PS2-16SR_CHUTE2_PE1"]
["PS2-16SR/FIO1","IO7","PS2-16SR_CHUTE2_PE2"]
["PS2-16SR/FIO1","IO8","PS2-16SR_CHUTE3_PE1"]
["PS2-16SR/FIO1","IO9","PS2-16SR_CHUTE3_PE2"]
["PS2-16SR/FIO1","IO10","PS2-16SR/ENC1"]
["PS2-16SR/FIO1","IO11"]
["PS2-16SR/FIO1","IO12","PS2-16SR_CHUTE1_DCM_CABLE"]
["PS2-16SR/FIO1","IO13"]
["PS2-16SR/FIO1","IO14","PS2-16SR_CHUTE2_DCM_CABLE"]
["PS2-16SR/FIO1","IO15","PS2-16SR_CHUTE3_DCM_CABLE"]
["PS2-16SR/FIO2","IO0","PS2-16SR_CHUTE4_PE1"]
["PS2-16SR/FIO2","IO1","PS2-16SR_CHUTE4_PE2"]
["PS2-16SR/FIO2","IO2","PS2-16SR_CHUTE5_PE1"]
["PS2-16SR/FIO2","IO3","PS2-16SR_CHUTE5_PE2"]
["PS2-16SR/FIO2","IO4","PS2-16SR_CHUTE4_DCM_CABLE"]
["PS2-16SR/FIO2","IO5"]
["PS2-16SR/FIO2","IO6","PS2-16SR_CHUTE5_DCM_CABLE"]
["PS2-16SR/FIO2","IO7"]
["PS2-16SR/FIO2","IO8"]
["PS2-16SR/FIO2","IO9"]
["PS2-16SR/FIO2","IO10","PS2-16SR_DDCS_1_UPPER_PE"]
["PS2-16SR/FIO2","IO11","PS2-16SR_DDCS_1_LOWER_PE"]
["PS2-16SR/FIO2","IO12","PS2-16SR_DDCS_1_UPPER_LT"]
["PS2-16SR/FIO2","IO13","PS2-16SR_DDCS_1_LOWER_LT"]
["PS2-16SR/FIO2","IO14","PS2-16SR_DDCS_1_PB1_ACK"]
["PS2-16SR/FIO2","IO15"]
["PS2-16SR/FIO3","IO0","PS2-16SR_CHUTE6_PE1"]
["PS2-16SR/FIO3","IO1","PS2-16SR_CHUTE6_PE2"]
["PS2-16SR/FIO3","IO2","PS2-16SR_CHUTE7_PE1"]
["PS2-16SR/FIO3","IO3","PS2-16SR_CHUTE7_PE2"]
["PS2-16SR/FIO3","IO4","PS2-16SR_CHUTE8_PE1"]
["PS2-16SR/FIO3","IO5","PS2-16SR_CHUTE8_PE2"]
["PS2-16SR/FIO3","IO6","PS2-16SR_CHUTE9_PE1"]
["PS2-16SR/FIO3","IO7","PS2-16SR_CHUTE9_PE2"]
["PS2-16SR/FIO3","IO8","PS2-DPP/MAIN_CB_MONITORING"]
["PS2-16SR/FIO3","IO9","PS2-DPP/CB1_MONITORING"]
["PS2-16SR/FIO3","IO10","PS2-DPP/CB2_MONITORING"]
["PS2-16SR/FIO3","IO11","PS2-DPP/CB3_MONITORING"]
["PS2-16SR/FIO3","IO12","PS2-16SR_CHUTE6_DCM_CABLE"]
["PS2-16SR/FIO3","IO13","PS2-16SR_CHUTE7_DCM_CABLE"]
["PS2-16SR/FIO3","IO14","PS2-16SR_CHUTE8_DCM_CABLE"]
["PS2-16SR/FIO3","IO15","PS2-16SR_CHUTE9_DCM_CABLE"]
["PS2-16SR/FIO4","IO0","PS2-16SR_CHUTE10_PE1"]
["PS2-16SR/FIO4","IO1","PS2-16SR_CHUTE10_PE2"]
["PS2-16SR/FIO4","IO2","PS2-16SR_CHUTE11_PE1"]
["PS2-16SR/FIO4","IO3","PS2-16SR_CHUTE11_PE2"]
["PS2-16SR/FIO4","IO4","PS2-16SR_CHUTE10_DCM_CABLE"]
["PS2-16SR/FIO4","IO5"]
["PS2-16SR/FIO4","IO6","PS2-16SR_CHUTE11_DCM_CABLE"]
["PS2-16SR/FIO4","IO7"]
["PS2-16SR/FIO4","IO8"]
["PS2-16SR/FIO4","IO9"]
["PS2-16SR/FIO4","IO10","PS2-16SR_DDCS_2_UPPER_PE"]
["PS2-16SR/FIO4","IO11","PS2-16SR_DDCS_2_LOWER_PE"]
["PS2-16SR/FIO4","IO12","PS2-16SR_DDCS_2_UPPER_LT"]
["PS2-16SR/FIO4","IO13","PS2-16SR_DDCS_2_LOWER_LT"]
["PS2-16SR/FIO4","IO14","PS2-16SR_DDCS_2_PB1_ACK"]
["PS2-16SR/FIO4","IO15"]
["PS2-16SRDB/APF1","I0","PS2-16SRDB/APF1_DISC","PS2-16SR/DPM2"]
["PS2-16SRDB/APF1","I1","PS2-16SRDB/PE1"]
["PS2-16SRDB/APF1","I2","PS2-16SR/DPM2(PS1 OK)"]
["PS2-16SRDB/APF1","I3","PS2-16SR/DPM2(ENET_SW OK)"]
["PS2-16SRDB/APF1","IO0","PS2-16SR/TPE1"]
["PS2-16SRDB/APF1","IO1","PS2-16SR/VFD1_DISC"]
["PS2-16SRDB/APF1","SI0","PS2-16SR/SSP2(E.STOP PB)[S]"]
["PS2-16SRDB/APF1","SI1","PS2-16SR/SSP2(START PB)"]
["PS2-16SRDB/APF1","SI2","PS2-16SR/EPC2_1"]
["PS2-16SRDB/APF1","SI3","PS2-16SR/EPC2_2"]
["PS2-16SRDB/APF1","SO0","PS2-16SR/VFD1_STO"]
["PS2-17/APF1","I0","PS2-17/APF1_DISC"]
["PS2-17/APF1","I1","PS2-17/JDS1"]
["PS2-17/APF1","I2"]
["PS2-17/APF1","I3"]
["PS2-17/APF1","IO0"]
["PS2-17/APF1","IO1"]
["PS2-17/APF1","SI0","PS2-17/SSP1(E-Stop PB)[S]"]
["PS2-17/APF1","SI1","PS2-17/SSP1(START PB)"]
["PS2-17/APF1","SI2","PS2-16SR/SSP3(E-Stop PB)[S]"]
["PS2-17/APF1","SI3","PS2-16SR/SSP3(START PB)"]
["PS2-17/APF1","SO0"]
["EPZ-PS2/FIO1","IO0","EPZ-PS2/AUX1"]
["EPZ-PS2/FIO1","IO1","EPZ-PS2/AUX2"]
["EPZ-PS2/FIO1","IO2","EPZ-PS2/AUX3"]
["EPZ-PS2/FIO1","IO3","EPZ-PS2/AUX4"]
["EPZ-PS2/FIO1","IO4","EPZ-PS2/AUX5"]
["EPZ-PS2/FIO1","IO5","EPZ-PS2/AUX6"]
["EPZ-PS2/FIO1","IO6","EPZ-PS2/AUX7"]
["EPZ-PS2/FIO1","IO7","EPZ-PS2/AUX8"]
["EPZ-PS2/FIO1","IO8","EPZ-PS2/AUX9"]
["EPZ-PS2/FIO1","IO9","EPZ-PS2/AUX10"]
["EPZ-PS2/FIO1","IO10"]
["EPZ-PS2/FIO1","IO11"]
["EPZ-PS2/FIO1","IO12"]
["EPZ-PS2/FIO1","IO13"]
["EPZ-PS2/FIO1","IO14"]
["EPZ-PS2/FIO1","IO15"]
["PS2-16SR/FIO5","IO0","PS2-16SR_CHUTE12_PE1"]
["PS2-16SR/FIO5","IO1","PS2-16SR_CHUTE12_PE2"]
["PS2-16SR/FIO5","IO2","PS2-16SR_CHUTE13_PE1"]
["PS2-16SR/FIO5","IO3","PS2-16SR_CHUTE13_PE2"]
["PS2-16SR/FIO5","IO4","PS2-16SR_CHUTE12_DCM_CABLE"]
["PS2-16SR/FIO5","IO5"]
["PS2-16SR/FIO5","IO6","PS2-16SR_CHUTE13_DCM_CABLE"]
["PS2-16SR/FIO5","IO7"]
["PS2-16SR/FIO5","IO8","PS2-16SR_CHUTE14_PE1"]
["PS2-16SR/FIO5","IO9","PS2-16SR_CHUTE14_PE2"]
["PS2-16SR/FIO5","IO10","PS2-16SR_CHUTE14_DCM_CABLE"]
["PS2-16SR/FIO5","IO11"]
["PS2-16SR/FIO5","IO12","PS2-16SR_SDP1_SEND"]
["PS2-16SR/FIO5","IO13","PS2-16SR_SDP1_RECEIVE"]
["PS2-16SR/FIO5","IO14","PS2-16SR_SDP2_SEND"]
["PS2-16SR/FIO5","IO15","PS2-16SR_SDP2_RECEIVE"]
["PS2-16SR/FIO6","IO0","PS2-16SR_LRP_SEND"]
["PS2-16SR/FIO6","IO1","PS2-16SR_PRX_DISCHARGE"]
["PS2-16SR/FIO6","IO2","PS2-16SR_SSDP_1"]
["PS2-16SR/FIO6","IO3","PS2-16SR_SSDP_2"]
["PS2-16SR/FIO6","IO4","PS2-16SR_DDCS_3_UPPER_PE"]
["PS2-16SR/FIO6","IO5","PS2-16SR_DDCS_3_LOWER_PE"]
["PS2-16SR/FIO6","IO6","PS2-16SR_DDCS_3_UPPER_LT"]
["PS2-16SR/FIO6","IO7","PS2-16SR_DDCS_3_LOWER_LT"]
["PS2-16SR/FIO6","IO8","PS2-16SR_DDCS_3_PB1_ACK"]
["PS2-16SR/FIO6","IO9","PS2-16SR_OILER_PUMP_SIGNAL"]
["PS2-16SR/FIO6","IO10","PS2-16SR_OILER_BCN_AMBER"]
["PS2-16SR/FIO6","IO11","PS2-16SR_OILER_BCN_GREEN"]
["PS2-16SR/FIO6","IO12","PS2-16SR_BCN2_ORANGE"]
["PS2-16SR/FIO6","IO13","PS2-16SR_BCN2_BLUE"]
["PS2-16SR/FIO6","IO14","PS2-16SR_BCN2_YELLOW"]
["PS2-16SR/FIO6","IO15","PS2-16SR_BCN2_RED"]
["PS2-3/APF1","I0","PS2-3/APF1_DISC","PS2-2/DPM1"]
["PS2-3/APF1","I1","PS2-3/PE1"]
["PS2-3/APF1","I2","PS2-2/DPM(PS1 OK)"]
["PS2-3/APF1","I3","PS2-2/DPM(ENET_SW OK)"]
["PS2-3/APF1","IO0","PS2-2/PE1"]
["PS2-3/APF1","IO1"]
["PS2-3/APF1","SI0","PS2-3/SSP1(E-Stop PB)[S]"]
["PS2-3/APF1","SI1","PS2-3/SSP1(START PB)"]
["PS2-3/APF1","SI2"]
["PS2-3/APF1","SI3"]
["PS2-3/APF1","SO0"]
["UNL11-2/APF1","I0","UNL11-2/APF1_DISC"]
["UNL11-2/APF1","I1","PS2-1/JDS3"]
["UNL11-2/APF1","I2","UNL11-2/PE1"]
["UNL11-2/APF1","I3"]
["UNL11-2/APF1","IO0","UNL11-2/UCP(RUN. STAT)[IN]"]
["UNL11-2/APF1","IO1","UNL11-2/UCP(RUN COMM.)[OUT]"]
["UNL11-2/APF1","SI0","UNL11-2/SSP1(E-Stop PB)[S]"]
["UNL11-2/APF1","SI1","UNL11-2/SSP1(START PB)"]
["UNL11-2/APF1","SI2"]
["UNL11-2/APF1","SI3"]
["UNL11-2/APF1","SO0","UNL11-2/UCP (E. Stop Enable)[S]"]
["UNL12-2/APF1","I0","UNL12-2/APF1_DISC"]
["UNL12-2/APF1","I1","UNL12-2/PE1"]
["UNL12-2/APF1","I2"]
["UNL12-2/APF1","I3"]
["UNL12-2/APF1","IO0","UNL12-2/UCP(RUN. STAT)[IN]"]
["UNL12-2/APF1","IO1","UNL12-2/UCP(RUN COMM.)[OUT]"]
["UNL12-2/APF1","SI0","UNL12-2/SSP1(E-Stop PB)[S]"]
["UNL12-2/APF1","SI1","UNL12-2/SSP1(START PB)"]
["UNL12-2/APF1","SI2"]
["UNL12-2/APF1","SI3"]
["UNL12-2/APF1","SO0","UNL12-2/UCP (E. Stop Enable)[S]"]
["UNL13-2/APF1","I0","UNL13-2/APF1_DISC"]
["UNL13-2/APF1","I1","UNL13-2/PE1"]
["UNL13-2/APF1","I2"]
["UNL13-2/APF1","I3"]
["UNL13-2/APF1","IO0","UNL13-2/UCP(RUN. STAT)[IN]"]
["UNL13-2/APF1","IO1","UNL13-2/UCP(RUN COMM.)[OUT]"]
["UNL13-2/APF1","SI0","UNL13-2/SSP1(E-Stop PB)[S]"]
["UNL13-2/APF1","SI1","UNL13-2/SSP1(START PB)"]
["UNL13-2/APF1","SI2"]
["UNL13-2/APF1","SI3"]
["UNL13-2/APF1","SO0","UNL13-2/UCP (E. Stop Enable)[S]"]
["UNL14-2/APF1","I0","UNL14-2/APF1_DISC"]
["UNL14-2/APF1","I1","UNL14-2/PE1"]
["UNL14-2/APF1","I2","PS2-1/JDS2"]
["UNL14-2/APF1","I3"]
["UNL14-2/APF1","IO0","UNL14-2/UCP(RUN. STAT)[IN]"]
["UNL14-2/APF1","IO1","UNL14-2/UCP(RUN COMM.)[OUT]"]
["UNL14-2/APF1","SI0","UNL14-2/SSP1(E-Stop PB)[S]"]
["UNL14-2/APF1","SI1","UNL14-2/SSP1(START PB)"]
["UNL14-2/APF1","SI2"]
["UNL14-2/APF1","SI3"]
["UNL14-2/APF1","SO0","UNL14-2/UCP (E. Stop Enable)[S]"]
["UNL15-2/APF1","I0","UNL15-2/APF1_DISC"]
["UNL15-2/APF1","I1","UNL15-2/PE1"]
["UNL15-2/APF1","I2"]
["UNL15-2/APF1","I3"]
["UNL15-2/APF1","IO0","UNL15-2/UCP(RUN. STAT)[IN]"]
["UNL15-2/APF1","IO1","UNL15-2/UCP(RUN COMM.)[OUT]"]
["UNL15-2/APF1","SI0","UNL15-2/SSP1(E-Stop PB)[S]"]
["UNL15-2/APF1","SI1","UNL15-2/SSP1(START PB)"]
["UNL15-2/APF1","SI2"]
["UNL15-2/APF1","SI3"]
["UNL15-2/APF1","SO0","UNL15-2/UCP (E. Stop Enable)[S]"]
["PS2-4PT/APF1","I0","PS2-4PT/APF1_DISC","PS2-5/DPM1"]
["PS2-4PT/APF1","I1","PS2-4PT/PE1"]
["PS2-4PT/APF1","I2","PS2-5/DPM1(PS1 OK)"]
["PS2-4PT/APF1","I3","PS2-5/DPM1(ENET_SW OK)"]
["PS2-4PT/APF1","IO0","PS2-4PT/RBL1[OUT]"]
["PS2-4PT/APF1","IO1","PS2-4PT/HB"]
["PS2-4PT/APF1","SI0","PS2-4PT/SSP1(E-Stop PB)[S]"]
["PS2-4PT/APF1","SI1","PS2-4PT/SSP1(START PB)"]
["PS2-4PT/APF1","SI2"]
["PS2-4PT/APF1","SI3"]
["PS2-4PT/APF1","SO0"]
["PS2-5A/APF1","I0","PS2-5A/APF1_DISC"]
["PS2-5A/APF1","I1","PS2-5A/PE1"]
["PS2-5A/APF1","I2","PS2-5/VFD1_DISC"]
["PS2-5A/APF1","I3","PS2-5/PE1 "]
["PS2-5A/APF1","IO0","PS2-5A/JDS1"]
["PS2-5A/APF1","IO1"]
["PS2-5A/APF1","SI0","PS2-5A/SSP1(E-Stop PB)[S]"]
["PS2-5A/APF1","SI1","PS2-5A/SSP1(START PB)"]
["PS2-5A/APF1","SI2"]
["PS2-5A/APF1","SI3"]
["PS2-5A/APF1","SO0","PS2-5/VFD1_STO1"]
["PS2-7/APF1","I0","PS2-7/APF1_DISC"]
["PS2-7/APF1","I1","PS2-6/PE1"]
["PS2-7/APF1","I2","PS2-7/PE1"]
["PS2-7/APF1","I3","PS2-6/VFD1_DISC"]
["PS2-7/APF1","IO0","PS2-6/HB"]
["PS2-7/APF1","IO1"]
["PS2-7/APF1","SI0","PS2-7/SSP1(E.STOP PB)[S]"]
["PS2-7/APF1","SI1","PS2-7/SSP1(START PB) "]
["PS2-7/APF1","SI2","PS2-8SG/PSP1[S]"]
["PS2-7/APF1","SI3"]
["PS2-7/APF1","SO0","PS2-6/VFD1_STO"]
["PS2-8RTF-A/APF","I0","PS2-8RTF-A/APF_DISC"]
["PS2-8RTF-A/APF","I1","PS2-8RTF-A/PE1 "]
["PS2-8RTF-A/APF","I2"]
["PS2-8RTF-A/APF","I3"]
["PS2-8RTF-A/APF","IO0"]
["PS2-8RTF-A/APF","IO1"]
["PS2-8RTF-A/APF","SI0","PS2-8RTF-A/SSP1(E.STOP PB)[S]"]
["PS2-8RTF-A/APF","SI1","PS2-8RTF-A/SSP1(START PB)"]
["PS2-8RTF-A/APF","SI2"]
["PS2-8RTF-A/APF","SI3"]
["PS2-8RTF-A/APF","SO0"]
["PS2-8RTF-B/APF","I0","PS2-8RTF-B/APF_DISC"]
["PS2-8RTF-B/APF","I1","PS2-8RTF-B/PE1 "]
["PS2-8RTF-B/APF","I2"]
["PS2-8RTF-B/APF","I3"]
["PS2-8RTF-B/APF","IO0"]
["PS2-8RTF-B/APF","IO1"]
["PS2-8RTF-B/APF","SI0","PS2-8RTF-B/SSP1(E.STOP PB)[S]"]
["PS2-8RTF-B/APF","SI1","PS2-8RTF-B/SSP1(START PB)"]
["PS2-8RTF-B/APF","SI2"]
["PS2-8RTF-B/APF","SI3"]
["PS2-8RTF-B/APF","SO0"]
["PS2-10WS1/APF1","I0","PS2-10WS1/APF1_DISC","PS2-11/DPM1"]
["PS2-10WS1/APF1","I1"]
["PS2-10WS1/APF1","I2"]
["PS2-10WS1/APF1","I3"]
["PS2-10WS1/APF1","IO0"]
["PS2-10WS1/APF1","IO1"]
["PS2-10WS1/APF1","SI0"]
["PS2-10WS1/APF1","SI1"]
["PS2-10WS1/APF1","SI2"]
["PS2-10WS1/APF1","SI3"]
["PS2-10WS1/APF1","SO0"]
["PS2-10WS2/APF1","I0","PS2-10WS2/APF1_DISC"]
["PS2-10WS2/APF1","I1"]
["PS2-10WS2/APF1","I2"]
["PS2-10WS2/APF1","I3"]
["PS2-10WS2/APF1","IO0"]
["PS2-10WS2/APF1","IO1"]
["PS2-10WS2/APF1","SI0"]
["PS2-10WS2/APF1","SI1"]
["PS2-10WS2/APF1","SI2"]
["PS2-10WS2/APF1","SI3"]
["PS2-10WS2/APF1","SO0"]
["PS2-10WS3/APF1","I0","PS2-10WS3/APF1_DISC"]
["PS2-10WS3/APF1","I1"]
["PS2-10WS3/APF1","I2"]
["PS2-10WS3/APF1","I3"]
["PS2-10WS3/APF1","IO0"]
["PS2-10WS3/APF1","IO1"]
["PS2-10WS3/APF1","SI0"]
["PS2-10WS3/APF1","SI1"]
["PS2-10WS3/APF1","SI2"]
["PS2-10WS3/APF1","SI3"]
["PS2-10WS3/APF1","SO0"]
["PS2-10WS4/APF1","I0","PS2-10WS4/APF1_DISC"]
["PS2-10WS4/APF1","I1","PS2-10WS4/TPE1"]
["PS2-10WS4/APF1","I2"]
["PS2-10WS4/APF1","I3"]
["PS2-10WS4/APF1","IO0"]
["PS2-10WS4/APF1","IO1"]
["PS2-10WS4/APF1","SI0"]
["PS2-10WS4/APF1","SI1"]
["PS2-10WS4/APF1","SI2"]
["PS2-10WS4/APF1","SI3"]
["PS2-10WS4/APF1","SO0"]
["PS2-11/APF1","I0","PS2-11/APF1_DISC"]
["PS2-11/APF1","I1","PS2-11/TPE1"]
["PS2-11/APF1","I2","PS2-11/DPM(PS1 OK)"]
["PS2-11/APF1","I3","PS2-11/DPM(ENET_SW OK)"]
["PS2-11/APF1","IO0","PS2-11/ENC1"]
["PS2-11/APF1","IO1"]
["PS2-11/APF1","SI0","PS2-11/SSP1(E.STOP PB)"]
["PS2-11/APF1","SI1","PS2-11/SSP1(START PB)"]
["PS2-11/APF1","SI2"]
["PS2-11/APF1","SI3"]
["PS2-11/APF1","SO0"]
["PS2-12PT/APF1","I0","PS2-12PT/APF1_DISC"]
["PS2-12PT/APF1","I1","PS2-12PT/TPE1"]
["PS2-12PT/APF1","I2","PS2-12PT/ENC1"]
["PS2-12PT/APF1","I3","PS2-12PT/TPE2"]
["PS2-12PT/APF1","IO0"]
["PS2-12PT/APF1","IO1"]
["PS2-12PT/APF1","SI0"]
["PS2-12PT/APF1","SI1"]
["PS2-12PT/APF1","SI2"]
["PS2-12PT/APF1","SI3"]
["PS2-12PT/APF1","SO0"]
["PS2-13/APF1","I0","PS2-13/APF1_DISC"]
["PS2-13/APF1","I1","PS2-13/TPE1"]
["PS2-13/APF1","I2","PS2-13/ENC1"]
["PS2-13/APF1","I3"]
["PS2-13/APF1","IO0"]
["PS2-13/APF1","IO1"]
["PS2-13/APF1","SI0"]
["PS2-13/APF1","SI1"]
["PS2-13/APF1","SI2"]
["PS2-13/APF1","SI3"]
["PS2-13/APF1","SO0"]
["PS2-9/APF1","I0","PS2-9/APF1_DISC"]
["PS2-9/APF1","I1","PS2-9/TPE1"]
["PS2-9/APF1","I2"]
["PS2-9/APF1","I3"]
["PS2-9/APF1","IO0"]
["PS2-9/APF1","IO1"]
["PS2-9/APF1","SI0"]
["PS2-9/APF1","SI1"]
["PS2-9/APF1","SI2"]
["PS2-9/APF1","SI3"]
["PS2-9/APF1","SO0"]

{"sheet":"APF","index":3,"n_rows":29,"n_cols":13,"rows_kept":29,"cut":false,"hidden":false,"merged":[]}
["P_TAG1","I0","I1","I2","I3","IO0","IO1","SI0","SI1","SI2","SI3","SO0","DPM"]
["PS2-10WS1/APF1",null,null,null,null,null,null,null,null,null,null,null,"PS2-11/DPM1"]
["PS2-10WS2/APF1",null,null,null,null,null,null,null,null,null,null,null,"PS2-11/DPM1"]
["PS2-10WS3/APF1",null,null,null,null,null,null,null,null,null,null,null,"PS2-11/DPM1"]
["PS2-10WS4/APF1",null,"PS2-10WS4/TPE1",null,null,null,null,null,null,null,null,null,"PS2-11/DPM1"]
["PS2-11/APF1",null,"PS2-11/TPE1","PS2-11/DPM(PS1 OK)","PS2-11/DPM(ENET_SW OK)","PS2-11/ENC1",null,"PS2-11/SSP1(E.STOP PB)","PS2-11/SSP1(START PB)",null,null,null,"PS2-11/DPM1"]
["PS2-12PT/APF1",null,"PS2-12PT/TPE1","PS2-12PT/ENC1","PS2-12PT/TPE2",null,null,null,null,null,null,null,"PS2-11/DPM1"]
["PS2-13/APF1",null,"PS2-13/TPE1","PS2-13/ENC1",null,null,null,null,null,null,null,null,"PS2-11/DPM1"]
["PS2-14PT/APF1",null,"PS2-14PT/TPE1","PS214PT/ENC1 ","PS2-14PT/TPE2",null,null,"PS2-14PT/SSP1(E-Stop PB)[S]","PS2-14PT/SSP1(START PB)",null,null,null,"PS2-16SR/DPM1"]
["PS2-15/APF1",null,"PS2-15/ENC1","PS2-16SR/DPM1(PS1 OK)","PS2-16SR/DPM1(ENET_SW OK)","PS2-15/TPE1",null,"PS2-16SR/EPC1[S]","PS2-16SR/EPC1_2[S]","PS2-16SR/SSP1(E.STOP PB)[S]","PS2-16SR/SSP1(START PB)",null,"PS2-16SR/DPM1"]
["PS2-16SRDB/APF1",null,"PS2-16SRDB/PE1","PS2-16SR/DPM2(PS1 OK)","PS2-16SR/DPM2(ENET_SW OK)","PS2-16SR/TPE1","PS2-16SR/VFD1_DISC","PS2-16SR/SSP2(E.STOP PB)[S]","PS2-16SR/SSP2(START PB)","PS2-16SR/EPC2_1","PS2-16SR/EPC2_2","PS2-16SR/VFD1_STO","PS2-16SR/DPM2"]
["PS2-17/APF1",null,"PS2-17/JDS1",null,null,null,null,"PS2-17/SSP1(E-Stop PB)[S]","PS2-17/SSP1(START PB)","PS2-16SR/SSP3(E-Stop PB)[S]","PS2-16SR/SSP3(START PB)",null,"PS2-16SR/DPM2"]
["PS2-3/APF1",null,"PS2-3/PE1","PS2-2/DPM(PS1 OK)","PS2-2/DPM(ENET_SW OK)","PS2-2/PE1",null,"PS2-3/SSP1(E-Stop PB)[S]","PS2-3/SSP1(START PB)",null,null,null,"PS2-2/DPM1"]
["PS2-4PT/APF1",null,"PS2-4PT/PE1","PS2-5/DPM1(PS1 OK)","PS2-5/DPM1(ENET_SW OK)","PS2-4PT/RBL1[OUT]","PS2-4PT/HB","PS2-4PT/SSP1(E-Stop PB)[S]","PS2-4PT/SSP1(START PB)",null,null,null,"PS2-5/DPM1"]
["PS2-5A/APF1",null,"PS2-5A/PE1","PS2-5/VFD1_DISC","PS2-5/PE1 ","PS2-5A/JDS1",null,"PS2-5A/SSP1(E-Stop PB)[S]","PS2-5A/SSP1(START PB)",null,null,"PS2-5/VFD1_STO1","PS2-5/DPM1"]
["PS2-7/APF1",null,"PS2-6/PE1","PS2-7/PE1","PS2-6/VFD1_DISC","PS2-6/HB",null,"PS2-7/SSP1(E.STOP PB)[S]","PS2-7/SSP1(START PB) ","PS2-8SG/PSP1[S]",null,"PS2-6/VFD1_STO","PS2-5/DPM1"]
["PS2-8RTF-A/APF",null,"PS2-8RTF-A/PE1 ",null,null,null,null,"PS2-8RTF-A/SSP1(E.STOP PB)[S]","PS2-8RTF-A/SSP1(START PB)",null,null,null,"PS2-5/DPM1"]
["PS2-8RTF-B/APF",null,"PS2-8RTF-B/PE1 ",null,null,null,null,"PS2-8RTF-B/SSP1(E.STOP PB)[S]","PS2-8RTF-B/SSP1(START PB)",null,null,null,"PS2-5/DPM1"]
["PS2-9/APF1",null,"PS2-9/TPE1",null,null,null,null,null,null,null,null,null,"PS2-11/DPM1"]
["UNL11-2/APF1",null,"PS2-1/JDS3","UNL11-2/PE1",null,"UNL11-2/UCP(RUN. STAT)[IN]","UNL11-2/UCP(RUN COMM.)[OUT]","UNL11-2/SSP1(E-Stop PB)[S]","UNL11-2/SSP1(START PB)",null,null,"UNL11-2/UCP (E. Stop Enable)[S]","PS2-2/DPM1"]
["UNL12-2/APF1",null,"UNL12-2/PE1",null,null,"UNL12-2/UCP(RUN. STAT)[IN]","UNL12-2/UCP(RUN COMM.)[OUT]","UNL12-2/SSP1(E-Stop PB)[S]","UNL12-2/SSP1(START PB)",null,null,"UNL12-2/UCP (E. Stop Enable)[S]","PS2-2/DPM1"]
["UNL13-2/APF1",null,"UNL13-2/PE1",null,null,"UNL13-2/UCP(RUN. STAT)[IN]","UNL13-2/UCP(RUN COMM.)[OUT]","UNL13-2/SSP1(E-Stop PB)[S]","UNL13-2/SSP1(START PB)",null,null,"UNL13-2/UCP (E. Stop Enable)[S]","PS2-2/DPM1"]
["UNL14-2/APF1",null,"UNL14-2/PE1","PS2-1/JDS2",null,"UNL14-2/UCP(RUN. STAT)[IN]","UNL14-2/UCP(RUN COMM.)[OUT]","UNL14-2/SSP1(E-Stop PB)[S]","UNL14-2/SSP1(START PB)",null,null,"UNL14-2/UCP (E. Stop Enable)[S]","PS2-2/DPM1"]
["UNL15-2/APF1",null,"UNL15-2/PE1",null,null,"UNL15-2/UCP(RUN. STAT)[IN]","UNL15-2/UCP(RUN COMM.)[OUT]","UNL15-2/SSP1(E-Stop PB)[S]","UNL15-2/SSP1(START PB)",null,null,"UNL15-2/UCP (E. Stop Enable)[S]","PS2-2/DPM1"]
["UNL16-2/APF1",null,"UNL16-2/PE1","PS2-1/DPM1(PS1 OK)","PS2-1/DPM1(ENET_SW OK)","UNL16-2/UCP(RUN. STAT)[IN]","UNL16-2/UCP(RUN COMM.)[OUT]","UNL16-2/SSP1(E-Stop PB)[S]","UNL16-2/SSP1(START PB)",null,null,"UNL16-2/UCP (E. Stop Enable)[S]","PS2-1/DPM1"]
["UNL17-2/APF1",null,"PS2-1/JDS1","UNL17-2/PE1",null,"UNL17-2/UCP(RUN. STAT)[IN]","UNL17-2/UCP(RUN COMM.)[OUT]","UNL17-2/SSP1(E-Stop PB)[S]","UNL17-2/SSP1(START PB)",null,null,"UNL17-2/UCP (E. Stop Enable)[S]","PS2-1/DPM1"]
["UNL18-2/APF1",null,"UNL18-2/PE1",null,null,"UNL18-2/UCP(RUN. STAT)[IN]","UNL18-2/UCP(RUN COMM.)[OUT]","UNL18-2/SSP1(E-Stop PB)[S]","UNL18-2/SSP1(START PB)",null,null,"UNL18-2/UCP (E. Stop Enable)[S]","PS2-1/DPM1"]
["UNL19-2/APF1",null,"UNL19-2/PE1",null,null,"UNL19-2/UCP(RUN. STAT)[IN]","UNL19-2/UCP(RUN COMM.)[OUT]","UNL19-2/SSP1(E-Stop PB)[S]","UNL19-2/SSP1(START PB)",null,null,"UNL19-2/UCP (E. Stop Enable)[S]","PS2-1/DPM1"]
["UNL20-2/APF1",null,"UNL20-2/PE1",null,null,"UNL20-2/UCP(RUN. STAT)[IN]","UNL20-2/UCP(RUN COMM.)[OUT]","UNL20-2/SSP1(E-Stop PB)[S]","UNL20-2/SSP1(START PB)",null,null,"UNL20-2/UCP (E. Stop Enable)[S]","PS2-1/DPM1"]

{"sheet":"SIO","index":4,"n_rows":2,"n_cols":18,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
["P_TAG1","SI0","SI1","SI2","SI3","SI4","SI5","SI6","SI7","SO0","SO1","SO2","SO3","SO4","SO5","SO6","SO7","DPM"]
["PS2-1/SIO1","PS2-1/SSP1(E.STOP PB)[S]","PS2-1/SSP1(START PB)","PS2-1/PE1","PS2-1/VFD1_DISC","PS2-2/VFD1_DISC",null,null,null,"PS2-1/STO1",null,"PS2-2/STO1",null,"PS2-1/HB",null,null,null,"PS2-1/DPM1"]

{"sheet":"NETWORK","index":5,"n_rows":49,"n_cols":11,"rows_kept":49,"cut":false,"hidden":false,"merged":[[9,3,16,3],[9,4,16,4],[1,3,8,3],[1,4,8,4],[17,3,24,3],[17,4,24,4],[41,3,48,3],[41,4,48,4],[25,3,32,3],[25,4,32,4],[33,3,40,3],[33,4,40,4]]}
[null,"MCP(PS1)",null,"DPM","IP","NAME","VFD PART NUMBER","IP","HP","DPM PORT","ZONE"]
["SLOT0","1756-L84ES",null,"PS2-2/DPM1","192.168.1.11","UNL11-2/APF1","35S-6D3-P111","192.168.1.41","3HP","PS2-1/DPM1_P1"]
["SLOT1","1756-L84ES",null,null,null,"UNL12-2/APF1","35S-6D3-P111","192.168.1.42","3 HP","PS2-1/DPM1_P2"]
["SLOT2","1756-EN4TR",null,null,null,"UNL13-2/APF1","35S-6D3-P111","192.168.1.43","3HP","PS2-1/DPM1_P3"]
["SLOT3","1756-EN4TR",null,null,null,"UNL14-2/APF1","35S-6D3-P111","192.168.1.44","3HP","PS2-1/DPM1_P4"]
["SLOT4","1756-EN4TR",null,null,null,"UNL15-2/APF1","35S-6D3-P111","192.168.1.45","3HP","PS2-1/DPM1_P5"]
["SLOT5","1756-N2",null,null,null,"PS2-2/VFD1","26G11FD027JA4NNNNB-M1-IN2-SB-E41-N","192.168.1.46","15HP","PS2-1/DPM1_P6"]
["SLOT6","1756-N2",null,null,null,"PS2-3/APF1","35S-6D4-P111","192.168.1.47","5HP","PS2-1/DPM1_P7"]
[null,null,null,null,null,"SPARE",null,"192.168.1.48",null,"PS2-1/DPM1_P8"]
[null,"RACK-02",null,"PS2-1/DPM1","192.168.1.12","UNL16-2/APF1","35S-6D3-P111","192.168.1.49","3HP","PS2-2/DPM1_P1"]
["SLOT0","AB 1734-AENT",null,null,null,"UNL17-2/APF1","35S-6D3-P111","192.168.1.50","3HP","PS2-2/DPM1_P2"]
["SLOT1","1734-IB8",null,null,null,"UNL18-2/APF1","35S-6D3-P111","192.168.1.51","3HP","PS2-2/DPM1_P3"]
["SLOT2","1734-IB8",null,null,null,"UNL19-2/APF1","35S-6D3-P111","192.168.1.52","3HP","PS2-2/DPM1_P4"]
["SLOT3","1734-IB8S",null,null,null,"UNL20-2/APF1","35S-6D3-P111","192.168.1.53","3HP","PS2-2/DPM1_P5"]
["SLOT4","1734-OB8E",null,null,null,"PS2-1/SIO1","1732ES-IB8XOBV4","192.168.1.54",null,"PS2-2/DPM1_P6"]
["SLOT5","1734-OB8S",null,null,null,"PS2-1/VFD1","26G11FD027JA4NNNNB-M1-IN2-SB-E41-N","192.168.1.55","15HP","PS2-2/DPM1_P7"]
[null,null,null,null,null,"SPARE",null,"192.168.1.56",null,"PS2-2/DPM1_P8"]
[null,null,null,"PS2-5/DPM1","192.168.1.13","PS2-4PT/APF1","35S-6D4-P111","192.168.1.57","5HP","PS2-5/DPM1_P1"]
[null,null,null,null,null,"PS2-5/VFD1","26G11FD027JA4NNNNB-M1-IN2-SB-E41-N","192.168.1.58","15HP","PS2-5/DPM1_P2"]
["DPM COUNT",{"$f":"COUNTIF(NETWORK!D10:D1053, \"*DPM*\")","v":5},null,null,null,"PS2-5A/APF1","35S-6D4-P111","192.168.1.59","5HP","PS2-5/DPM1_P3"]
["FIO COUNT ",{"$f":"COUNTIF(NETWORK!F:F, \"*FIO*\")","v":7},null,null,null,"PS2-6/VFD1","26G11FD034JA4NNNNB-M1-IN2-SB-E41-N","192.168.1.60","20HP","PS2-5/DPM1_P4"]
["APF COUNT",{"$f":"COUNTIF(NETWORK!F:F, \"*APF*\")","v":28},null,null,null,"PS2-7/APF1","35S-6D3-P111","192.168.1.61","3HP","PS2-5/DPM1_P5"]
["SIO COUNT",{"$f":"COUNTIF(NETWORK!F:F, \"*SIO*\")","v":1},null,null,null,"PS2-8RTF-A/APF","35S-6D3-P111","192.168.1.62","3HP","PS2-5/DPM1_P6"]
["VFD COUNT",{"$f":"COUNTIF(NETWORK!F:F, \"*VFD*\")","v":5},null,null,null,"PS2-8RTF-B/APF","35S-6D3-P111","192.168.1.63","3HP","PS2-5/DPM1_P7"]
["E-TAP COUNT",{"$f":"COUNTIF(NETWORK!F:F, \"*E-TAP*\")","v":0},null,null,null,"SPARE",null,"192.168.1.64",null,"PS2-5/DPM1_P8"]
[null,null,null,"PS2-11/DPM1","192.168.1.14","PS2-9/APF1","35S-6D3-P111","192.168.1.65","3HP","PS2-11/DPM1_P1"]
[null,null,null,null,null,"PS2-10WS1/APF1","35S-6D1-P111","192.168.1.66","1HP","PS2-11/DPM1_P2"]
[null,null,null,null,null,"PS2-10WS2/APF1","35S-6D1-P111","192.168.1.67","1HP","PS2-11/DPM1_P3"]
[null,null,null,null,null,"PS2-10WS3/APF1","35S-6D1-P111","192.168.1.68","1HP","PS2-11/DPM1_P4"]
[null,null,null,null,null,"PS2-10WS4/APF1","35S-6D1-P111","192.168.1.69","1HP","PS2-11/DPM1_P5"]
[null,null,null,null,null,"PS2-11/APF1","35S-6D4-P111","192.168.1.70","5HP","PS2-11/DPM1_P6"]
[null,null,null,null,null,"PS2-12PT/APF1","35S-6D4-P111","192.168.1.71","5HP","PS2-11/DPM1_P7"]
[null,null,null,null,null,"PS2-13/APF1","35S-6D3-P111","192.168.1.72","3HP","PS2-11/DPM1_P8"]
[null,null,null,"PS2-16SR/DPM1","192.168.1.15","PS2-14PT/APF1","35S-6D4-P111","192.168.1.73","5HP","PS2-16SR/DPM1_P1"]
[null,null,null,null,null,"PS2-15/APF1","35S-6D3-P111","192.168.1.74","3HP","PS2-16SR/DPM1_P2"]
[null,null,null,null,null,"PS2-16SR/FIO1","5032-CFGB16M12DR","192.168.1.75",null,"PS2-16SR/DPM1_P3"]
[null,null,null,null,null,"PS2-16SR/FIO2","5032-CFGB16M12DR","192.168.1.76",null,"PS2-16SR/DPM1_P4"]
[null,null,null,null,null,"PS2-16SR/FIO3","5032-CFGB16M12DR","192.168.1.77",null,"PS2-16SR/DPM1_P5"]
[null,null,null,null,null,"PS2-16SR/FIO4","5032-CFGB16M12DR","192.168.1.78",null,"PS2-16SR/DPM1_P6"]
[null,null,null,null,null,"SPARE",null,"192.168.1.79",null,"PS2-16SR/DPM1_P7"]
[null,null,null,null,null,"SPARE",null,"192.168.1.80",null,"PS2-16SR/DPM1_P8"]
[null,null,null,"PS2-16SR/DPM2","192.168.1.16","EPZ-PS2/FIO1","5032-CFGB16M12DR","192.168.1.81",null,"PS2-16SR/DPM2_P1"]
[null,null,null,null,null,"PS2-16SR/FIO5","5032-CFGB16M12DR","192.168.1.82",null,"PS2-16SR/DPM2_P2"]
[null,null,null,null,null,"PS2-16SR/FIO6","5032-CFGB16M12DR","192.168.1.83",null,"PS2-16SR/DPM2_P3"]
[null,null,null,null,null,"PS2-16SR/VFD1","24G11HD052JA6NNNNN-ND-B0 F1-IA-L1-LK24-MT-P3-PS1","192.168.1.84","40HP","PS2-16SR/DPM2_P4"]
[null,null,null,null,null,"PS2-16SRDB/APF1","35S-6D2-P111","192.168.1.85","2HP","PS2-16SR/DPM2_P5"]
[null,null,null,null,null,"PS2-17/APF1","35S-6D5-P111","192.168.1.86","7.5 HP","PS2-16SR/DPM2_P6"]
[null,null,null,null,null,"SPARE",null,"192.168.1.87",null,"PS2-16SR/DPM2_P7"]
[null,null,null,null,null,"SPARE",null,"192.168.1.88",null,"PS2-16SR/DPM2_P8"]